## Measurements
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 2 cm² | 0.572 | 0.38727 | -0.018706 | 0 | -0.0073739 | 1 | 2 | 96.9
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.8 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.1911 | 0.1512 | 0.161 | 0.2262 | 0.1575 | 0.1596 | 0.2175
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 4.75784 201.711 358.252 588.927 851.19 1062.43 1252.37 1365.43 | 0.181028 227.625 384.88 589.265 811.095 1001.86 1203.08 1400.96 | 0
SysObs | SysObs | SysObs | SysObs | SysObs | SysObs | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Leak | Leak | Leak | Leak | Leak | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrStats | FlrStats | FlrStats | FlrStats | FlrStats | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | averaging | TIME | E | Emm | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Leak | LeakPct | CorrFact | CorrFactPct | Fan | DarkAdaptedID | Qmax_d | Fo | Fm | Fv/Fm | A_dark | LightAdaptedID | Qmax | Fs | Fm' | PhiPS2 | PS2/1 | Qabs_fs | A_fs | ETR | PhiCO2 | NPQ | alt._Fo' | DarkPulseID | Fmin | Fo' | Fv'/Fm' | qP | qN | qP_Fo | qN_Fo | qL | 1-qL | ID | P1_dur | P1_Fmax | T@P1_Fmax | Q@P1_Fmax | P1_PredF | P1_ΔF | P2_dur | P2_ramp | P2_int | P2_int_se | P2_slp | P2_slp_se | P2_R2 | P2_dQdt | P3_dur | P3_Fmax | T@P3_Fmax | Q@P3_Fmax | P3_PredF | P3_ΔF | ID | Dur | DCo | InitSlope | Fo | F1 | T@F1 | T@HIR | F2 | T@F2 | DCmax | T@DCmax | PhiPS2_dc | Qin | Qabs | alpha | convert | S | K | Geometry | Custom | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | F_avg | dF/dt | dF_dc/dt | F_dc_avg | period | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | A:MN | A:SLP | A:SD | A:OK | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | F:MN | F:SLP | F:SD | F:OK | Stable | Total | State | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | CO2_f | CO2_f_s | Pump_f | Pump_f_s | Pump_p | Pump_p_s | Tboard | V_system | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s | s | mol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol s⁻¹ | % |  | % | µmol s⁻¹ | [5 empty] | µmol m⁻² s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol µmol⁻¹ | [13 empty] | ms |  | ms | µmol m⁻² s⁻¹ |  |  | ms | % |  |  | centimol m⁻² s⁻¹ | centimol m⁻² s⁻¹ |  | mol m⁻² s⁻² | ms |  | ms | µmol m⁻² s⁻¹ |  |  |  | ms |  | s⁻¹ |  |  | ms | ms |  | ms |  | ms |  | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | mol m⁻² s⁻¹ | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  |  | min⁻¹ | min⁻¹ |  | s | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ min⁻¹ | µmol m⁻² s⁻¹ |  | µmol mol⁻¹ | µmol mol⁻¹ min⁻¹ | µmol mol⁻¹ |  |  | min⁻¹ | [5 empty] | % | % | µmol/mol | mmol/mol | µmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min | V | V | V | V | V | V | °C | V |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | %
1 | 1791594113 | 0 | 20261010 10:01:53 | 10:01:53 | 5 | 1791594104.5 | 0.0057485 | 5.7485 | 28.3771 | 387.7544 | 272.8403 | 27.696 | 39.3609 | 0.4512 | 3.0349 | 0.41697 | 0.26346 | 241.7464 | 25.5219 | 24.9865 | 3.1771 | 55.0265 | 1.8121 | 3.2931 | 1.3651 | -253.5093 | 98.5805 | 6.8907 | 93.7083 | 0 | 0 | 1 | 0 | 53894.6341 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2555 | 28.3771 | #DIV/0! | 0.022499 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.0525 | 1261.2555 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791594104.5 | 387.7544 | 399.9964 | 17.8511 | 15.5928 | 388.567 | 18.0475 | 500.0155 | 101.4099 | 0.099966 | 25.589 | 24.9865 | 999.9 | 0 | 0 | 10003.5875 | 0 | 8.4701 | 1500.0525 | 0.97299 | 0.027007 | 0 | 265.2304 | 5 | 3920.075 | 14883.0812 | 36.6949 | 38.312 | 37.2655 | 37.812 | 38.375 | 1454.6725 | 40.38 | 0 | 1791594113.3 | 0 | 265.2113 | 3.0239 | 5.5146 | 3920.0412 | 15 | 1791594053 | 10:00:53 | 1791594051 | 1791594053 | 2 | 0.016 | 0 | -0.797 | -0.203 | 400 | 16 | 0.11 | 0.05 | 28.3508 | 0.33999 | 0.077723 | 1 | -12.2314 | -0.18946 | 0.033883 | 1 | 265.1193 | 0.56613 | 0.45061 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.813 | -0.1964 | -1.222 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.047804 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1 | 1 | 1.0376 | 2.6123 | 1.6516 | 2.2803 | 1.5979 | 2.4329 | 32.9315 | 15.4367 | 18 | 503.398 | 549.371 | 22.3519 | 29.1986 | 30.0001 | 29.303 | 29.3549 | 20.7489 | 34.4155 | 45.3711 | 22.3495 | 400 | 15.6258 | 98.2237 | 94.7466
2 | 1791594234 | 121 | 20261010 10:03:54 | 10:03:54 | 5 | 1791594225.5 | 0.006099 | 6.099 | 21.4941 | 290.6807 | 208.916 | 21.2069 | 29.5068 | 0.48443 | 3.0344 | 0.4452 | 0.28151 | 241.7323 | 25.4931 | 24.9806 | 3.176 | 55.0606 | 1.8196 | 3.3047 | 1.3564 | -268.9649 | 109.2936 | 7.6428 | 89.7038 | 0 | 0 | 1 | 0 | 53868.9588 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1815 | 21.4941 | #DIV/0! | 0.017043 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.9644 | 1261.1815 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791594225.5 | 290.6807 | 299.9874 | 17.9256 | 15.5298 | 291.4369 | 18.1212 | 500.0046 | 101.4092 | 0.099994 | 25.6487 | 24.9806 | 999.9 | 0 | 0 | 10000.7787 | 0 | 8.4701 | 1499.9644 | 0.97299 | 0.027009 | 0 | 254.3223 | 5 | 3758.2537 | 14882.1938 | 36.7106 | 38.312 | 37.2616 | 37.7849 | 38.375 | 1454.5844 | 40.38 | 0 | 1791594234.5 | 0 | 254.1296 | -1.4525 | -21.0415 | 3757.9392 | 15 | 1791594186 | 10:03:06 | 1791594185 | 1791594186 | 3 | 0.178 | 0 | -0.745 | -0.203 | 300 | 16 | 0.13 | 0.04 | 21.482 | 0.20367 | 0.076494 | 1 | -9.3036 | -0.023171 | 0.027746 | 1 | 254.2841 | -2.0799 | 0.47001 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.756 | -0.1957 | -1.0437 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.047296 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 0.8 | 0.8 | 0.82886 | 2.6147 | 1.6516 | 2.2803 | 1.5979 | 2.6245 | 32.976 | 15.4192 | 18 | 503.438 | 548.646 | 22.3656 | 29.2036 | 29.9999 | 29.3155 | 29.3674 | 16.5661 | 33.7138 | 43.5028 | 22.3926 | 300 | 15.6016 | 98.2213 | 94.7458
3 | 1791594355 | 242 | 20261010 10:05:55 | 10:05:55 | 5 | 1791594346.5 | 0.0064189 | 6.4189 | 13.4655 | 194.1103 | 145.3804 | 14.7574 | 19.704 | 0.51637 | 3.0329 | 0.47204 | 0.29869 | 241.7451 | 25.4799 | 24.9729 | 3.1745 | 55.1 | 1.8282 | 3.318 | 1.3463 | -283.0739 | 121.5122 | 8.5041 | 88.6875 | 0 | 0 | 1 | 0 | 53809.3587 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2487 | 13.4655 | #DIV/0! | 0.010676 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.0444 | 1261.2487 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791594346.5 | 194.1103 | 199.9946 | 18.0102 | 15.4891 | 194.8653 | 18.2056 | 500.0303 | 101.4091 | 0.10004 | 25.716 | 24.9729 | 999.9 | 0 | 0 | 9991.5981 | 0 | 8.4701 | 1500.0444 | 0.97299 | 0.027007 | 0 | 244.4753 | 5 | 3621.9531 | 14882.9813 | 36.7382 | 38.312 | 37.2694 | 37.7965 | 38.375 | 1454.6644 | 40.38 | 0 | 1791594355.1 | 0 | 244.5844 | 0.8027 | -17.2424 | 3621.5962 | 15 | 1791594307 | 10:05:07 | 1791594300 | 1791594307 | 4 | 0.11 | 0 | -0.749 | -0.203 | 200 | 16 | 0.35 | 0.02 | 13.4306 | 0.58466 | 0.078648 | 1 | -5.8729 | -0.23765 | 0.031323 | 1 | 244.7659 | -2.3819 | 0.57717 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.755 | -0.1954 | -0.93375 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.047484 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 0.9 | 0.8 | 0.60913 | 2.6318 | 1.6516 | 2.2803 | 1.5979 | 2.5098 | 33.0429 | 15.3841 | 18 | 503.407 | 547.915 | 22.5803 | 29.2144 | 30 | 29.3288 | 29.3812 | 12.1787 | 33.4441 | 41.6117 | 22.5992 | 200 | 15.4803 | 98.2163 | 94.748
4 | 1791594476 | 363 | 20261010 10:07:56 | 10:07:56 | 5 | 1791594468 | 0.006734 | 6.734 | 4.2481 | 98.0261 | 82.6077 | 8.3854 | 9.9505 | 0.54687 | 3.0345 | 0.49744 | 0.31497 | 241.7404 | 25.4849 | 24.9996 | 3.1796 | 55.1616 | 1.8394 | 3.3346 | 1.3402 | -296.97 | 130.9886 | 9.1676 | 84.9267 | 0 | 0 | 1 | 0 | 53843.7503 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2243 | 4.2481 | #DIV/0! | 0.0033682 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.0153 | 1261.2243 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791594468 | 98.0261 | 99.9894 | 18.1208 | 15.4759 | 98.6931 | 18.3189 | 499.994 | 101.4086 | 0.099967 | 25.8003 | 24.9996 | 999.9 | 0 | 0 | 10001.25 | 0 | 8.4739 | 1500.0153 | 0.97299 | 0.027007 | 0 | 242.8575 | 5 | 3593.126 | 14882.7 | 36.6996 | 38.2955 | 37.25 | 37.8037 | 38.3833 | 1454.6353 | 40.38 | 0 | 1791594476.3 | 0 | 242.883 | -1.7699 | -0.43077 | 3593.0538 | 15 | 1791594429 | 10:07:09 | 1791594423 | 1791594429 | 5 | 0.183 | -0.003 | -0.665 | -0.206 | 100 | 15 | 0.27 | 0.03 | 4.2449 | 0.16618 | 0.047292 | 1 | -1.9632 | -0.018081 | 0.018853 | 1 | 242.9499 | -1.3084 | 0.43626 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.667 | -0.1982 | -0.75046 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.050865 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 0.9 | 0.8 | 0.38208 | 2.6428 | 1.6516 | 2.2803 | 1.5979 | 2.4756 | 33.1099 | 15.3579 | 18 | 503.506 | 546.918 | 22.5896 | 29.2262 | 30 | 29.343 | 29.395 | 7.6296 | 32.8901 | 40.1072 | 22.6232 | 100 | 15.4609 | 98.2146 | 94.7527
5 | 1791594597 | 484 | 20261010 10:09:57 | 10:09:57 | 5 | 1791594589 | 0.00713 | 7.13 | -0.53513 | 50.0693 | 50.5965 | 5.1359 | 5.0824 | 0.58354 | 3.0342 | 0.52761 | 0.33434 | 241.7393 | 25.4352 | 24.9872 | 3.1773 | 54.9983 | 1.8394 | 3.3445 | 1.3378 | -314.4331 | 141.2048 | 9.8856 | 78.3965 | 0 | 0 | 1 | 0 | 53824.548 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2181 | -0.53513 | #DIV/0! | -0.00042429 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.008 | 1261.2181 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791594589 | 50.0693 | 49.998 | 18.1212 | 15.3212 | 50.7524 | 18.3187 | 500.0475 | 101.4065 | 0.10006 | 25.8504 | 24.9872 | 999.9 | 0 | 0 | 9999.4933 | 0 | 8.5238 | 1500.008 | 0.97299 | 0.027008 | 0 | 246.4364 | 5 | 3644.6253 | 14882.6267 | 36.7374 | 38.3079 | 37.2583 | 37.812 | 38.4287 | 1454.628 | 40.38 | 0 | 1791594597.5 | 0 | 246.5668 | 0.77026 | 14.6711 | 3644.705 | 15 | 1791594540 | 10:09:00 | 1791594533 | 1791594540 | 6 | 0.026 | 0.001 | -0.683 | -0.206 | 50 | 15 | 0.31 | 0.05 | -0.53047 | -0.0049478 | 0.06135 | 1 | 0.065759 | 0.084677 | 0.022011 | 1 | 246.4947 | 0.64316 | 0.45036 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.683 | -0.1975 | -0.72415 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.050084 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.1 | 0.9 | 0.26977 | 2.6758 | 1.6516 | 2.2803 | 1.5979 | 2.5085 | 33.1769 | 15.3316 | 18 | 503.658 | 546.229 | 22.7583 | 29.2362 | 30.0001 | 29.3526 | 29.4051 | 5.3762 | 32.6345 | 38.6348 | 22.7694 | 50 | 15.384 | 98.2107 | 94.7531
6 | 1791594746 | 633 | 20261010 10:12:26 | 10:12:26 | 5 | 1791594738 | 0.0072763 | 7.2763 | 28.6567 | 387.396 | 296.7893 | 30.125 | 39.3219 | 0.60151 | 3.0334 | 0.54226 | 0.34375 | 241.7449 | 25.5175 | 24.9881 | 3.1774 | 54.8995 | 1.8491 | 3.3682 | 1.3283 | -320.8853 | 160.5181 | 11.2471 | 92.6248 | 0 | 0 | 1 | 0 | 53780.6297 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2478 | 28.6567 | #DIV/0! | 0.022721 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.0433 | 1261.2478 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791594738 | 387.396 | 399.9863 | 18.2174 | 15.3599 | 388.1101 | 18.4153 | 499.9968 | 101.4031 | 0.099982 | 25.9696 | 24.9881 | 999.9 | 0 | 0 | 9995.4967 | 0 | 8.5266 | 1500.0433 | 0.97299 | 0.027007 | 0 | 244.8722 | 5 | 3631.6247 | 14882.9933 | 36.7458 | 38.312 | 37.2872 | 37.812 | 38.437 | 1454.6633 | 40.38 | 0 | 1791594746.3 | 0 | 245.0116 | 9.3056 | 110.0899 | 3632.4473 | 15 | 1791594663 | 10:11:03 | 1791594663 | 1791594663 | 7 | -0.399 | -0.001 | -0.697 | -0.207 | 400 | 15 | 0.09 | 0.02 | 28.614 | 0.45651 | 0.077152 | 1 | -12.5743 | -0.21464 | 0.032543 | 1 | 244.5579 | 8.4474 | 0.94245 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.714 | -0.198 | -1.1228 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.051061 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.4 | 1.4 | 1.0388 | 2.6135 | 1.6516 | 2.279 | 1.5979 | 2.616 | 33.244 | 15.3053 | 18 | 504.234 | 546.274 | 22.9754 | 29.2488 | 30.0002 | 29.3656 | 29.4177 | 20.7885 | 31.781 | 36.7473 | 22.9812 | 400 | 15.4238 | 98.2081 | 94.7466
7 | 1791594867 | 754 | 20261010 10:14:27 | 10:14:27 | 5 | 1791594858.5 | 0.0073507 | 7.3507 | 29.7351 | 386.9733 | 294.6239 | 29.9046 | 39.2782 | 0.61178 | 3.0337 | 0.5506 | 0.34911 | 241.7388 | 25.515 | 25.0019 | 3.18 | 55.1281 | 1.8586 | 3.3714 | 1.3214 | -324.1645 | 160.9222 | 11.2762 | 89.7727 | 0 | 0 | 1 | 0 | 53785.3007 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2156 | 29.7351 | #DIV/0! | 0.023577 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.005 | 1261.2156 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791594858.5 | 386.9733 | 400.0046 | 18.3112 | 15.4248 | 387.7113 | 18.5072 | 500.02 | 101.4009 | 0.1 | 25.9858 | 25.0019 | 999.9 | 0 | 0 | 9997.1844 | 0 | 8.5266 | 1500.005 | 0.97299 | 0.027008 | 0 | 255.2146 | 5 | 3778.6106 | 14882.6 | 36.75 | 38.3317 | 37.312 | 37.812 | 38.437 | 1454.625 | 40.38 | 0 | 1791594867.5 | 0 | 255.2328 | 2.2354 | 40.6516 | 3779.3546 | 15 | 1791594801 | 10:13:21 | 1791594797 | 1791594801 | 8 | -0.023 | 0.001 | -0.721 | -0.205 | 400 | 15 | 0.07 | 0.02 | 29.7303 | 0.17299 | 0.038928 | 1 | -13.0309 | -0.052909 | 0.015208 | 1 | 255.1035 | 2.3872 | 0.39718 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.738 | -0.1961 | -1.1461 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.04965 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.2 | 1.1 | 1.04 | 2.6294 | 1.6516 | 2.279 | 1.5979 | 2.4316 | 33.2887 | 15.2703 | 18 | 503.894 | 546.05 | 22.8486 | 29.2614 | 29.9999 | 29.3764 | 29.4302 | 20.7911 | 31.0978 | 35.7238 | 22.8537 | 400 | 15.4228 | 98.2042 | 94.7445
8 | 1791594989.1 | 876.1 | 20261010 10:16:29 | 10:16:29 | 5 | 1791594980.6 | 0.0074438 | 7.4438 | 38.7291 | 682.4886 | 559.7269 | 56.8111 | 69.2712 | 0.61951 | 3.0345 | 0.55687 | 0.35314 | 241.7372 | 25.5003 | 25.0233 | 3.1841 | 55.1736 | 1.8611 | 3.3731 | 1.323 | -328.2703 | 158.8723 | 11.1313 | 83.4705 | 0 | 0 | 1 | 0 | 53808.3687 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2072 | 38.7291 | #DIV/0! | 0.030708 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.995 | 1261.2072 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791594980.6 | 682.4886 | 700.0113 | 18.3362 | 15.4135 | 682.7827 | 18.5317 | 500.031 | 101.3979 | 0.10002 | 25.9944 | 25.0233 | 999.9 | 0 | 0 | 10002.2719 | 0 | 8.5266 | 1499.995 | 0.97299 | 0.027008 | 0 | 251.7337 | 5 | 3734.0875 | 14882.4937 | 36.75 | 38.312 | 37.312 | 37.812 | 38.437 | 1454.615 | 40.38 | 0 | 1791594989.3 | 0 | 251.7307 | -1.5899 | -63.0938 | 3732.9428 | 15 | 1791594946 | 10:15:46 | 1791594936 | 1791594946 | 9 | 0.007 | 0 | -0.265 | -0.205 | 700 | 15 | 0.16 | 0.03 | 38.7356 | -0.47328 | 0.16884 | 1 | -17.5282 | 0.29469 | 0.072369 | 1 | 251.9815 | -3.7188 | 0.57699 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.294 | -0.1955 | -1.1395 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.049274 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 0.9 | 0.7 | 1.6248 | 2.6208 | 1.6516 | 2.279 | 1.5979 | 2.6245 | 33.3559 | 15.2528 | 18 | 503.975 | 545.917 | 22.6927 | 29.2754 | 30 | 29.3882 | 29.4403 | 32.4753 | 30.6383 | 34.3078 | 22.6762 | 700 | 15.44 | 98.1988 | 94.7418
9 | 1791595112.1 | 999.1 | 20261010 10:18:32 | 10:18:32 | 5 | 1791595104.1 | 0.0073716 | 7.3716 | 38.2741 | 981.8284 | 852.0829 | 86.4806 | 99.6488 | 0.60788 | 3.035 | 0.54746 | 0.34709 | 241.7357 | 25.4142 | 25.0167 | 3.1828 | 55.1881 | 1.8501 | 3.3524 | 1.3327 | -325.0866 | 142.9248 | 10.0065 | 69.5803 | 0 | 0 | 1 | 0 | 53844.7004 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1991 | 38.2741 | #DIV/0! | 0.030347 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.9853 | 1261.1991 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791595104.1 | 981.8284 | 1000.0321 | 18.229 | 15.3343 | 981.6718 | 18.4278 | 500.0266 | 101.3931 | 0.10006 | 25.8901 | 25.0167 | 999.9 | 0 | 0 | 10006.168 | 0 | 8.5266 | 1499.9853 | 0.97299 | 0.027008 | 0 | 246.4709 | 5 | 3653.7327 | 14882.42 | 36.75 | 38.3204 | 37.312 | 37.812 | 38.4496 | 1454.6053 | 40.38 | 0 | 1791595112.3 | 0 | 246.4854 | -9.4117 | -124.1169 | 3653.2354 | 15 | 1791595061.1 | 10:17:41 | 1791595057.1 | 1791595061.1 | 10 | -0.077 | -0.003 | 0.191 | -0.208 | 1000 | 15 | 0.1 | 0.03 | 38.1795 | 0.22054 | 0.21757 | 1 | -18.1736 | -0.46291 | 0.086672 | 1 | 247.2968 | -12.1244 | 1.278 | -1 | 2 | 2 | 2/2 | 100 | 100 | 0.156 | -0.199 | -1.2161 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.052032 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 0.9 | 0.8 | 2.168 | 2.6038 | 1.6516 | 2.279 | 1.5979 | 2.5513 | 33.4008 | 15.2265 | 18 | 504.146 | 545.804 | 22.2931 | 29.289 | 30.0001 | 29.3982 | 29.4504 | 43.3345 | 30.1704 | 33.3872 | 22.2914 | 1000 | 15.4043 | 98.1986 | 94.7419
10 | 1791595256.1 | 1143.1 | 20261010 10:20:56 | 10:20:56 | 5 | 1791595247.6 | 0.0070551 | 7.0551 | 39.9029 | 1180.7175 | 1035.7514 | 105.1179 | 119.8305 | 0.57378 | 3.0335 | 0.5196 | 0.32919 | 241.7403 | 25.3254 | 24.9946 | 3.1787 | 55.2761 | 1.8347 | 3.3191 | 1.344 | -311.1295 | 118.9323 | 8.323 | 57.8661 | 0 | 0 | 1 | 0 | 53826.9685 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2235 | 39.9029 | #DIV/0! | 0.031638 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.0144 | 1261.2235 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791595247.6 | 1180.7175 | 1200.0094 | 18.0775 | 15.3067 | 1180.2244 | 18.2756 | 500.0342 | 101.3895 | 0.10003 | 25.7218 | 24.9946 | 999.9 | 0 | 0 | 9997.2256 | 0 | 8.5266 | 1500.0144 | 0.97299 | 0.027007 | 0 | 243.9995 | 5 | 3618.3556 | 14882.6875 | 36.75 | 38.3238 | 37.312 | 37.812 | 38.437 | 1454.6344 | 40.38 | 0 | 1791595256.3 | 0 | 243.9578 | 0.40451 | -24.026 | 3618.0092 | 15 | 1791595184.1 | 10:19:44 | 1791595178.1 | 1791595184.1 | 11 | -0.05 | 0.001 | 0.532 | -0.206 | 1200 | 15 | 0.12 | 0.02 | 39.8722 | 0.58003 | 0.2011 | 1 | -19.3062 | 0.16823 | 0.054326 | 1 | 244.1327 | -1.3091 | 0.49821 | -1 | 2 | 2 | 2/2 | 100 | 100 | 0.5 | -0.1981 | -1.2648 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.050588 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.3 | 1.2 | 2.5134 | 2.6135 | 1.6516 | 2.2778 | 1.5979 | 2.4438 | 33.4681 | 15.1915 | 18 | 504.328 | 545.642 | 22.2903 | 29.3066 | 30 | 29.4133 | 29.4654 | 50.2535 | 29.8068 | 32.2546 | 22.2594 | 1200 | 15.3076 | 98.1937 | 94.7407
11 | 1791595407.1 | 1294.1 | 20261010 10:23:27 | 10:23:27 | 5 | 1791595398.6 | 0.0066811 | 6.6811 | 39.7021 | 1480.1444 | 1320.1851 | 133.9805 | 150.2141 | 0.53133 | 3.033 | 0.48451 | 0.30668 | 241.7278 | 25.308 | 25.0189 | 3.1833 | 55.147 | 1.8183 | 3.2972 | 1.3649 | -294.6356 | 96.7136 | 6.7662 | 50.5719 | 0 | 0 | 1 | 0 | 53832.5136 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1579 | 39.7021 | #DIV/0! | 0.031481 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.9362 | 1261.1579 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791595398.6 | 1480.1444 | 1499.9794 | 17.917 | 15.2927 | 1479.0631 | 18.1178 | 500.0358 | 101.3861 | 0.10007 | 25.6104 | 25.0189 | 999.9 | 0 | 0 | 9994.7638 | 0 | 8.5266 | 1499.9362 | 0.97299 | 0.027009 | 0 | 241.9925 | 5 | 3588.5669 | 14881.9062 | 36.75 | 38.312 | 37.312 | 37.812 | 38.437 | 1454.5563 | 40.38 | 0 | 1791595407.5 | 0 | 241.9181 | 0.41771 | 21.9819 | 3589.1842 | 15 | 1791595321.1 | 10:22:01 | 1791595321.1 | 1791595316.1 | 12 | -0.028 | -0.002 | 1.124 | -0.208 | 1500 | 15 | 0.14 | 0.03 | 39.6717 | 1.4913 | 0.22652 | 0 | -19.8312 | -0.32339 | 0.086703 | 1 | 241.9296 | -0.24506 | 0.45663 | -1 | 1 | 2 | 1/2 | 100 | 100 | 1.08 | -0.2007 | -1.2905 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.052467 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.4 | 1.5 | 3.0139 | 2.6062 | 1.6516 | 2.2778 | 1.5979 | 2.4695 | 33.513 | 15.1652 | 18 | 504.276 | 545.783 | 21.968 | 29.3167 | 30.0001 | 29.4259 | 29.4781 | 60.2461 | 29.5216 | 30.7458 | 21.9627 | 1500 | 15.2868 | 98.1875 | 94.7384
12 | 1791595528.1 | 1415.1 | 20261010 10:25:28 | 10:25:28 | 5 | 1791595519.6 | 0.0064983 | 6.4983 | 38.9663 | 1779.7963 | 1610.9598 | 163.4857 | 180.6199 | 0.51143 | 3.0339 | 0.46791 | 0.29605 | 241.7385 | 25.2367 | 24.9966 | 3.179 | 55.103 | 1.8043 | 3.2743 | 1.3748 | -286.5746 | 81.1803 | 5.6739 | 42.0182 | 0 | 0 | 1 | 0 | 53879.8159 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.214 | 38.9663 | #DIV/0! | 0.030896 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.0031 | 1261.214 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791595519.6 | 1779.7963 | 1800.0081 | 17.7788 | 15.2258 | 1778.255 | 17.9773 | 500.0227 | 101.3834 | 0.10001 | 25.4929 | 24.9966 | 999.9 | 0 | 0 | 10000.0875 | 0 | 8.5769 | 1500.0031 | 0.97299 | 0.027008 | 0 | 241.7575 | 5 | 3582.7206 | 14882.5812 | 36.687 | 38.2578 | 37.25 | 37.75 | 38.375 | 1454.6231 | 40.38 | 0 | 1791595528.7 | 0 | 241.6719 | -2.6984 | -26.7942 | 3582.2681 | 15 | 1791595466.1 | 10:24:26 | 1791595464.1 | 1791595466.1 | 13 | -0.176 | 0.003 | 1.585 | -0.205 | 1800 | 15 | 0.12 | 0.04 | 38.9799 | 0.17486 | 0.14148 | 1 | -20.2267 | 0.099438 | 0.053406 | 1 | 241.8383 | -1.9775 | 0.47825 | -1 | 2 | 2 | 2/2 | 100 | 100 | 1.54 | -0.1986 | -1.4655 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.049643 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.1 | 1 | 3.4888 | 2.6038 | 1.6516 | 2.2778 | 1.5979 | 2.6331 | 33.558 | 15.1565 | 18 | 504.499 | 545.851 | 21.9642 | 29.3167 | 30.0004 | 29.4309 | 29.4831 | 69.7479 | 29.346 | 30.0451 | 21.9488 | 1800 | 15.2746 | 98.1879 | 94.7382

## Remarks
File opened | 2026-10-10 09:45:21
Console s/n | 68C-812153
Console ver | Bluestem v.2.1.13
Scripts ver | 2024.01 2.1.13, Apr 2024
Head s/n | 68H-982143
Head ver | 1.4.23
Head cal | {"co2bzero": "0.953041", "co2aspan2a": "0.106022", "h2oazero": "1.03097", "chamberpressurezero": "2.71033", "h2oaspan2a": "0.0964052", "oxygen": "21", "ssb_ref": "36242.9", "co2bspan2": "-0.00857283", "co2aspanconc1": "437.6", "co2aspan2b": "0.105998", "h2obspanconc2": "0", "flowazero": "0.276", "h2obspan1": "1.01044", "h2oaspan2b": "0.0986302", "h2oaspanconc2": "0", "tazero": "0.15448", "co2bspan2b": "0.105618", "h2oaspan2": "0", "ssa_ref": "37830.5", "co2bspanconc2": "1516", "co2bspanconc1": "437.6", "co2bspan1": "1.00005", "h2obspan2a": "0.0961931", "co2bspan2a": "0.105708", "flowmeterzero": "2.483", "co2aspan2": "-0.00988168", "h2oaspanconc1": "17.96", "tbzero": "0.143742", "co2azero": "0.931334", "h2obspanconc1": "17.96", "co2aspan1": "1.00082", "h2oaspan1": "1.02308", "h2obspan2b": "0.0971974", "h2obspan2": "0", "co2aspanconc2": "1516", "h2obzero": "1.01897", "flowbzero": "0.30473"}
Factory cal date | 14 Dec 2023
CO2 rangematch | Mon Sep 14 10:06
H2O rangematch | Mon Sep 14 10:14
Chamber type | 6800-01A
Chamber s/n | MPF-742752
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-742752
Flr. Version | 1.4.23
09:45:21 | Stability Definition: F (FlrLS): Per=20 A (GasEx): Slp<0.6 Per=20 ΔCO2 (Meas2): Slp<0.5 Per=20