## Measurements
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 2 cm² | 0.572 | 0.38727 | -0.018706 | 0 | -0.0073739 | 1 | 2 | 96.9
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.8 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.1911 | 0.1512 | 0.161 | 0.2262 | 0.1575 | 0.1596 | 0.2175
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 4.38209 210.944 349.831 586.709 869.356 1077.05 1247.6 1358.57 | 0.620429 237.749 373.713 581.984 811.989 1001.17 1203.08 1400.83 | 0
SysObs | SysObs | SysObs | SysObs | SysObs | SysObs | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Leak | Leak | Leak | Leak | Leak | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrStats | FlrStats | FlrStats | FlrStats | FlrStats | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | averaging | TIME | E | Emm | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Leak | LeakPct | CorrFact | CorrFactPct | Fan | DarkAdaptedID | Qmax_d | Fo | Fm | Fv/Fm | A_dark | LightAdaptedID | Qmax | Fs | Fm' | PhiPS2 | PS2/1 | Qabs_fs | A_fs | ETR | PhiCO2 | NPQ | alt._Fo' | DarkPulseID | Fmin | Fo' | Fv'/Fm' | qP | qN | qP_Fo | qN_Fo | qL | 1-qL | ID | P1_dur | P1_Fmax | T@P1_Fmax | Q@P1_Fmax | P1_PredF | P1_ΔF | P2_dur | P2_ramp | P2_int | P2_int_se | P2_slp | P2_slp_se | P2_R2 | P2_dQdt | P3_dur | P3_Fmax | T@P3_Fmax | Q@P3_Fmax | P3_PredF | P3_ΔF | ID | Dur | DCo | InitSlope | Fo | F1 | T@F1 | T@HIR | F2 | T@F2 | DCmax | T@DCmax | PhiPS2_dc | Qin | Qabs | alpha | convert | S | K | Geometry | Custom | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | ΔCO2 | CO2_s_d | CO2_r_d | ΔH2O | CO2_b | H2O_b | e_s | e_r | Td_s | Td_r | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | F_avg | dF/dt | dF_dc/dt | F_dc_avg | period | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | A:MN | A:SLP | A:SD | A:OK | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | F:MN | F:SLP | F:SD | F:OK | Stable | Total | State | Vflow | VPchamber | abs_c_a | abs_c_b | abs_h_a | abs_h_b | Wc_s | Wc_r | Wco_s | Wco_r | Ww_s | Ww_r | Wwo_s | Wwo_r | Flow_s_v | Flow_r_v | Tleaf_mv | Tleaf2_mv | Tleaf_j | Tleaf2_j | Console_RH | Console_T | Console_H2O | Fan_% | Flow_% | Pump | Tchp_pwm | Txchg_pwm | diag_20v | diag_5_4v | diag_12v | diag_5va | diag_3_3vf | AccH2O_des | AccH2O_hum | CO2_hrs | AccCO2_soda | ADC_CH1 | ADC_CH2 | ADC_CH3 | ADC_CH4 | ADC_CH5 | ADC_CH6 | ADC_CH7 | ADC_CH8 | DAC_1 | DAC_2 | DAC_3 | DAC_4 | GPIO | GPIO_dir | excit_5v | power_12v | power_5v | ch1_pullup | AuxPower | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | CO2_f | CO2_f_s | Pump_f | Pump_f_s | Pump_p | Pump_p_s | Tboard | V_system | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s | s | mol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol s⁻¹ | % |  | % | µmol s⁻¹ | [5 empty] | µmol m⁻² s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol µmol⁻¹ | [13 empty] | ms |  | ms | µmol m⁻² s⁻¹ |  |  | ms | % |  |  | centimol m⁻² s⁻¹ | centimol m⁻² s⁻¹ |  | mol m⁻² s⁻² | ms |  | ms | µmol m⁻² s⁻¹ |  |  |  | ms |  | s⁻¹ |  |  | ms | ms |  | ms |  | ms |  | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | mol m⁻² s⁻¹ | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | kPa | kPa | °C | °C | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  |  | min⁻¹ | min⁻¹ |  | s | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ min⁻¹ | µmol m⁻² s⁻¹ |  | µmol mol⁻¹ | µmol mol⁻¹ min⁻¹ | µmol mol⁻¹ |  |  | min⁻¹ | [5 empty] | V | V | [12 empty] | V | V | mV | mV | °C | °C | % | °C | mmol mol⁻¹ | % | % |  | V | V | V | V | V | V | V | mg | mg | hrs | mg | [18 empty] | V | % | % | µmol/mol | mmol/mol | µmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min | V | V | V | V | V | V | °C | V |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | % | bar: ADC_CH1 to DAC_4
1 | 1791604522.1 | 0 | 20261010 12:55:22 | 12:55:22 | 5 | 1791604518.6 | 0.002461 | 2.461 | 15.3723 | 393.4533 | 240.8323 | 24.4043 | 39.8698 | 0.17395 | 3.0328 | 0.16859 | 0.10584 | 241.7334 | 25.6165 | 24.9947 | 3.1787 | 55.0503 | 1.7353 | 3.1523 | 1.4433 | -108.5297 | -22.8658 | -1.5936 | 108.7444 | 0 | 0 | 1 | 0 | 53956.7137 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1926 | 15.3723 | #DIV/0! | 0.012189 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.9783 | 1261.1926 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791604518.6 | 393.4533 | 399.99 | 17.1251 | 16.1575 | 392.5022 | 17.2746 | 499.968 | 101.2332 | 0.099792 | 24.8549 | 24.9947 | 999.9 | 0 | 0 | 10008.1167 | 0 | 7.5475 | -6.5366 | 400.3087 | 406.5592 | 0.9676 | 399.99 | 16.1575 | 1.7336 | 1.6357 | 15.2009 | 14.2991 | 1499.9783 | 0.97301 | 0.026995 | 0 | 360.8652 | 5.0006 | 5566.3983 | 15438.9833 | 40.7185 | 41.437 | 41.062 | 41.104 | 42.25 | 1454.6183 | 40.36 | 0 | 1791604522.5 | 0 | 360.8909 | 0.41911 | -0.21607 | 5566.4269 | 15 | 1791604464.1 | 12:54:24 | 1791604463.1 | 1791604464.1 | 41 | 0.019 | -0.001 | 0.955 | -0.173 | 400 | 16 | 0.22 | 0.07 | 15.3835 | 0.56818 | 0.11383 | 1 | -6.5418 | -0.13805 | 0.044198 | 1 | 360.9197 | -0.35328 | 0.19786 | -1 | 2 | 2 | 2/2 | 3.1233 | 2.7653 | 0.086612 | 0.090044 | 0.092092 | 0.091218 | 17785.9 | 26713.4 | 22754.8 | 30082.7 | 33894 | 34057.3 | 43060.6 | 42844.3 | 1.9686 | 1.8011 | 0.082198 | 0 | 23.6458 | 999.9 | 39.049 | 33.596 | 20.1491 | 63.3772 | 34.5433 | 1 | 0.094281 | 2.4158 | 20.2027 | 5.2333 | 11.962 | 4.9691 | 3.2955 | 9999 | 9999 | 999.9 | 9999 | 4.9687 | 1.8635 | 1.8651 | 1.8668 | 1.8639 | 1.8675 | 1.8643 | 1.8661 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.951 | -0.1496 | 0.55656 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.073188 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1 | 1 | 1.0535 | 2.5488 | 1.3464 | 2.2595 | 1.5503 | 2.7319 | 39.6418 | 16.1546 | 18 | 501.2 | 470.368 | 21.216 | 28.4098 | 30.0004 | 28.3967 | 28.41 | 21.0977 | 26.365 | 37.4576 | 21.2124 | 400 | 16.1502 | 101.671 | 97.2906
2 | 1791604643.1 | 121 | 20261010 12:57:23 | 12:57:23 | 5 | 1791604640.1 | 0.00247 | 2.47 | 11.4677 | 295.134 | 181.5358 | 18.3954 | 29.9066 | 0.17444 | 3.0392 | 0.16906 | 0.10613 | 241.7324 | 25.606 | 25.0115 | 3.1819 | 55.136 | 1.7373 | 3.151 | 1.4445 | -108.9263 | -26.7825 | -1.8627 | 104.1609 | 0 | 0 | 1 | 0 | 54158.3456 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1873 | 11.4677 | #DIV/0! | 0.0090928 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.972 | 1261.1873 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791604640.1 | 295.134 | 300.0122 | 17.1449 | 16.1739 | 294.4306 | 17.2973 | 500.0488 | 101.2324 | 0.09974 | 24.8481 | 25.0115 | 999.9 | 0 | 0 | 10046.98 | 0 | 7.5839 | -4.878 | 300.2824 | 304.9442 | 0.97097 | 300.0122 | 16.1739 | 1.7356 | 1.6373 | 15.2187 | 14.3146 | 1499.972 | 0.97301 | 0.026995 | 0 | 361.1512 | 5.0006 | 5569.808 | 15438.98 | 40.7872 | 41.5 | 41.125 | 41.1622 | 42.2872 | 1454.612 | 40.36 | 0 | 1791604643.7 | 0 | 361.0738 | 0.040479 | 10.7419 | 5568.8808 | 15 | 1791604588.1 | 12:56:28 | 1791604588.1 | 1791604583.1 | 42 | -0.187 | -0.003 | 0.707 | -0.176 | 300 | 16 | 0.31 | 0.09 | 11.3735 | 0.12717 | 0.079614 | 1 | -4.8418 | -0.13468 | 0.031744 | 1 | 361.0851 | 0.37144 | 0.17351 | -1 | 2 | 2 | 2/2 | 3.1237 | 2.7655 | 0.069043 | 0.071813 | 0.092183 | 0.091276 | 18127.1 | 27246.9 | 22753.7 | 30080.8 | 33888 | 34052.1 | 43058.6 | 42841.9 | 1.9681 | 1.8 | 0.080138 | 0 | 23.6994 | 999.9 | 38.963 | 33.627 | 20.139 | 61.9272 | 34.0505 | 1 | 0.097096 | 2.5176 | 20.2067 | 5.2336 | 11.962 | 4.969 | 3.2953 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8631 | 1.8646 | 1.8665 | 1.8634 | 1.8672 | 1.8639 | 1.8658 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.704 | -0.1523 | 0.3698 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.076593 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 0.9 | 1 | 0.84595 | 2.5562 | 1.3464 | 2.2595 | 1.5503 | 2.7344 | 39.2671 | 16.0671 | 18 | 501.184 | 469.881 | 21.0719 | 28.4504 | 30 | 28.4275 | 28.4389 | 16.9626 | 26.332 | 37.0869 | 21.0746 | 300 | 16.1391 | 101.666 | 97.2851
3 | 1791604764.1 | 242 | 20261010 12:59:24 | 12:59:24 | 5 | 1791604761.1 | 0.0027111 | 2.7111 | 6.8224 | 197.0686 | 134.932 | 13.6731 | 19.9696 | 0.19293 | 3.026 | 0.18635 | 0.11704 | 241.7317 | 25.5582 | 24.9797 | 3.1758 | 55.1018 | 1.7373 | 3.1529 | 1.4385 | -119.56 | -19.8182 | -1.3842 | 100.9693 | 0 | 0 | 1 | 0 | 53745.9223 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1839 | 6.8224 | #DIV/0! | 0.0054095 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.968 | 1261.1839 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791604761.1 | 197.0686 | 200.0108 | 17.1445 | 16.0788 | 196.5258 | 17.2981 | 500.081 | 101.233 | 0.10003 | 24.8582 | 24.9797 | 999.9 | 0 | 0 | 9967.5 | 0 | 7.5839 | -2.9422 | 200.5064 | 203.2796 | 1.0657 | 200.0108 | 16.0788 | 1.7356 | 1.6277 | 15.2184 | 14.2236 | 1499.968 | 0.97301 | 0.026995 | 0 | 361.4534 | 5.0006 | 5572.588 | 15438.9 | 40.812 | 41.562 | 41.1622 | 41.187 | 42.312 | 1454.608 | 40.36 | 0 | 1791604764.9 | 0 | 361.5355 | -0.65832 | -5.5535 | 5573.3169 | 15 | 1791604709.1 | 12:58:29 | 1791604709.1 | 1791604707.1 | 43 | -0.078 | -0.001 | 0.546 | -0.177 | 200 | 16 | 0.22 | 0.05 | 6.7817 | -0.035912 | 0.050795 | 1 | -2.9248 | -0.024041 | 0.022235 | 1 | 361.5614 | -0.309 | 0.18285 | -1 | 2 | 2 | 2/2 | 3.1235 | 2.765 | 0.049103 | 0.0511 | 0.092166 | 0.090865 | 18514.3 | 27853.8 | 22752.6 | 30079.6 | 33885.6 | 34065.2 | 43056.2 | 42840.8 | 1.9678 | 1.7992 | 0.077881 | 0 | 23.7107 | 999.9 | 38.823 | 33.637 | 20.0784 | 63.5072 | 34.0986 | 1 | 0.099619 | 2.4853 | 20.2087 | 5.229 | 11.9622 | 4.9688 | 3.2953 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.863 | 1.8645 | 1.8663 | 1.8633 | 1.8671 | 1.8638 | 1.8657 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.543 | -0.1537 | 0.29191 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.077873 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 0.9 | 0.9 | 0.6311 | 2.5635 | 1.3464 | 2.2583 | 1.5503 | 2.6904 | 38.8951 | 16.0408 | 18 | 501.242 | 469.569 | 21.1457 | 28.4924 | 30.0002 | 28.4614 | 28.4703 | 12.6579 | 26.3573 | 36.343 | 21.1606 | 200 | 16.0598 | 101.661 | 97.282
4 | 1791604885.1 | 363 | 20261010 13:01:25 | 13:01:25 | 5 | 1791604882.1 | 0.0029361 | 2.9361 | 2.0181 | 99.0695 | 81.0467 | 8.2123 | 10.0385 | 0.20927 | 3.0309 | 0.20156 | 0.12664 | 241.7464 | 25.5328 | 24.984 | 3.1766 | 54.9661 | 1.7364 | 3.159 | 1.4403 | -129.4841 | -15.2716 | -1.0651 | 95.9256 | 0 | 0 | 1 | 0 | 53892.6259 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2612 | 2.0181 | #DIV/0! | 0.0016 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.06 | 1261.2612 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791604882.1 | 99.0695 | 99.9928 | 17.1361 | 15.9821 | 98.8707 | 17.2907 | 500.1616 | 101.2282 | 0.099995 | 24.8905 | 24.984 | 999.9 | 0 | 0 | 9997.48 | 0 | 7.5839 | -0.92337 | 100.7968 | 101.6168 | 1.154 | 99.9928 | 15.9821 | 1.7347 | 1.6178 | 15.2101 | 14.1298 | 1500.06 | 0.97301 | 0.026993 | 0 | 362.2106 | 5.0006 | 5585.482 | 15439.84 | 40.812 | 41.562 | 41.187 | 41.187 | 42.375 | 1454.7 | 40.36 | 0 | 1791604885.5 | 0 | 362.333 | -0.81446 | -7.32 | 5585.982 | 15 | 1791604832.1 | 13:00:32 | 1791604832.1 | 1791604826.1 | 44 | -0.235 | -0.001 | 0.2 | -0.179 | 100 | 16 | 0.34 | 0.07 | 2.0594 | -0.1158 | 0.069191 | 1 | -0.93795 | 0.0062718 | 0.026029 | 1 | 362.3709 | -0.56775 | 0.22592 | -1 | 2 | 2 | 2/2 | 3.1233 | 2.7651 | 0.026245 | 0.027243 | 0.092114 | 0.090482 | 18958.4 | 28552.8 | 22751.4 | 30078.2 | 33885.2 | 34076.9 | 43054.8 | 42839.3 | 1.9673 | 1.7989 | 0.076011 | 0 | 23.7213 | 999.9 | 38.738 | 33.657 | 20.0597 | 63.3172 | 34.2588 | 1 | 0.10112 | 2.4238 | 20.2106 | 5.235 | 11.962 | 4.9691 | 3.2955 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8629 | 1.8645 | 1.8663 | 1.8633 | 1.867 | 1.8637 | 1.8656 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.199 | -0.1548 | 0.056696 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.078682 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 0.9 | 1 | 0.41016 | 2.5781 | 1.3464 | 2.2583 | 1.5503 | 2.5854 | 38.575 | 16.0233 | 18 | 501.2 | 469.592 | 21.2158 | 28.5143 | 30.0001 | 28.4856 | 28.4948 | 8.2292 | 26.755 | 35.9727 | 21.22 | 100 | 16.0334 | 101.657 | 97.2781
5 | 1791605006.1 | 484 | 20261010 13:03:26 | 13:03:26 | 5 | 1791605003.1 | 0.0031136 | 3.1136 | -0.50962 | 50.1035 | 52.6833 | 5.3382 | 5.0768 | 0.22443 | 3.0343 | 0.2156 | 0.13551 | 241.7273 | 25.5315 | 24.9587 | 3.1719 | 55.0627 | 1.744 | 3.1673 | 1.4278 | -137.31 | -3.9097 | -0.2724 | 100.2351 | 0 | 0 | 1 | 0 | 53991.6695 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1604 | -0.50962 | #DIV/0! | -0.00040408 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.94 | 1261.1604 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791605003.1 | 50.1035 | 49.9621 | 17.212 | 15.988 | 49.992 | 17.3676 | 500.0186 | 101.2264 | 0.09987 | 24.9348 | 24.9587 | 999.9 | 0 | 0 | 10018.38 | 0 | 7.5948 | 0.14144 | 50.981 | 50.7739 | 1.224 | 49.9621 | 15.988 | 1.7423 | 1.6184 | 15.2786 | 14.1352 | 1499.94 | 0.973 | 0.026995 | 0 | 364.714 | 5.0006 | 5621.74 | 15438.6 | 40.8372 | 41.562 | 41.187 | 41.187 | 42.375 | 1454.58 | 40.36 | 0 | 1791605006.7 | 0 | 364.8888 | -1.5204 | -9.3246 | 5622.9872 | 15 | 1791604945.1 | 13:02:25 | 1791604945.1 | 1791604943.1 | 45 | -0.021 | -0.003 | 0.111 | -0.184 | 50 | 16 | 0.21 | 0.06 | -0.49654 | -0.50675 | 0.10426 | 1 | 0.13766 | 0.11574 | 0.04191 | 1 | 364.8986 | 0.013965 | 0.20351 | -1 | 2 | 2 | 2/2 | 3.1234 | 2.7653 | 0.013624 | 0.014012 | 0.092434 | 0.090498 | 19202.8 | 28939.3 | 22749.8 | 30076.3 | 33869.8 | 34073.5 | 43051.7 | 42837 | 1.9673 | 1.7988 | 0.075012 | 0 | 23.7213 | 999.9 | 38.622 | 33.657 | 19.9981 | 63.2472 | 34.2748 | 1 | 0.10228 | 2.2615 | 20.2129 | 5.2308 | 11.962 | 4.9681 | 3.2947 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8628 | 1.8644 | 1.8663 | 1.8632 | 1.8669 | 1.8637 | 1.8655 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.111 | -0.1556 | 0.035317 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.081681 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1 | 1.1 | 0.29785 | 2.5928 | 1.3464 | 2.2583 | 1.5503 | 2.6904 | 38.3301 | 16.0146 | 18 | 501.366 | 469.697 | 21.4012 | 28.5314 | 30.0001 | 28.5085 | 28.5187 | 5.9839 | 26.385 | 35.5993 | 21.4053 | 50 | 15.9536 | 101.65 | 97.2724
6 | 1791605138.1 | 616 | 20261010 13:05:38 | 13:05:38 | 5 | 1791605134.6 | 0.0032488 | 3.2488 | 16.7562 | 392.7898 | 266.5294 | 27.0052 | 39.7981 | 0.2342 | 3.0288 | 0.22458 | 0.14119 | 241.7374 | 25.5899 | 25.0231 | 3.1841 | 55.0785 | 1.7541 | 3.1847 | 1.43 | -143.2704 | 0.5198 | 0.036311 | 99.0231 | 0 | 0 | 1 | 0 | 53801.0677 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2136 | 16.7562 | #DIV/0! | 0.013286 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.0033 | 1261.2136 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791605134.6 | 392.7898 | 400.0032 | 17.3119 | 16.0348 | 391.7578 | 17.4591 | 499.9705 | 101.2215 | 0.10008 | 25.0263 | 25.0231 | 999.9 | 0 | 0 | 9985.2067 | 0 | 7.5839 | -7.213 | 399.7098 | 406.5217 | 1.2771 | 400.0032 | 16.0348 | 1.7523 | 1.6231 | 15.368 | 14.1796 | 1500.0033 | 0.97301 | 0.026994 | 0 | 354.3993 | 5.0006 | 5471.3667 | 15439.25 | 40.854 | 41.5725 | 41.187 | 41.208 | 42.375 | 1454.6433 | 40.36 | 0 | 1791605138.7 | 0 | 354.0593 | 5.6939 | 80.8915 | 5466.5176 | 15 | 1791605068.1 | 13:04:28 | 1791605065.1 | 1791605068.1 | 46 | 0.602 | 0.006 | 1.036 | -0.181 | 400 | 16 | 0.12 | 0.08 | 16.7623 | 0.11288 | 0.088955 | 1 | -7.216 | 0.0017725 | 0.036814 | 1 | 353.5733 | 6.3501 | 0.64381 | -1 | 2 | 2 | 2/2 | 3.1236 | 2.7656 | 0.086435 | 0.090005 | 0.092775 | 0.09065 | 17783.7 | 26706.5 | 22748.2 | 30074.1 | 33859.5 | 34070.6 | 43049.5 | 42833.9 | 1.9676 | 1.7995 | 0.077181 | 0 | 23.7633 | 999.9 | 38.487 | 33.637 | 19.9077 | 63.3973 | 34.395 | 1 | 0.10451 | 2.3595 | 20.212 | 5.2332 | 11.962 | 4.9686 | 3.2955 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8628 | 1.8644 | 1.8662 | 1.8632 | 1.8669 | 1.8637 | 1.8655 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 1.032 | -0.1472 | 0.6378 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.075675 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1.2 | 1.2 | 1.0535 | 2.5671 | 1.3464 | 2.2583 | 1.5503 | 2.7283 | 38.135 | 15.997 | 18 | 501.754 | 470.426 | 21.4654 | 28.5533 | 30.0002 | 28.5316 | 28.5433 | 21.0992 | 26.3065 | 35.228 | 21.4406 | 400 | 15.9608 | 101.644 | 97.2654
7 | 1791605259.1 | 737 | 20261010 13:07:39 | 13:07:39 | 5 | 1791605255.6 | 0.0032571 | 3.2571 | 17.2089 | 392.6347 | 263.5099 | 26.6994 | 39.7826 | 0.2348 | 3.0304 | 0.22514 | 0.14155 | 241.7363 | 25.5728 | 25.0149 | 3.1825 | 55.0733 | 1.7524 | 3.1819 | 1.4301 | -143.6402 | -0.54459 | -0.038017 | 97.5135 | 0 | 0 | 1 | 0 | 53855.255 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.208 | 17.2089 | #DIV/0! | 0.013645 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.9967 | 1261.208 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791605255.6 | 392.6347 | 400.0282 | 17.2949 | 16.0148 | 391.6697 | 17.4404 | 500.1078 | 101.2223 | 0.099959 | 25.0115 | 25.0149 | 999.9 | 0 | 0 | 9995.0883 | 0 | 7.6207 | -7.3936 | 399.5448 | 406.5388 | 1.28 | 400.0282 | 16.0148 | 1.7506 | 1.6211 | 15.3528 | 14.1605 | 1499.9967 | 0.97301 | 0.026994 | 0 | 355.2625 | 5.0006 | 5485.5467 | 15439.2 | 40.875 | 41.562 | 41.187 | 41.2395 | 42.375 | 1454.6367 | 40.36 | 0 | 1791605259.9 | 0 | 355.3241 | -0.15462 | -14.8023 | 5486.318 | 15 | 1791605193.1 | 13:06:33 | 1791605192.1 | 1791605193.1 | 47 | -0.067 | 0.002 | 0.969 | -0.177 | 400 | 16 | 0.19 | 0.04 | 17.3052 | 0.046327 | 0.094073 | 1 | -7.4195 | -0.00438 | 0.037932 | 1 | 355.3373 | -0.045225 | 0.23035 | -1 | 2 | 2 | 2/2 | 3.1234 | 2.7653 | 0.086431 | 0.089993 | 0.092637 | 0.090556 | 17783.8 | 26706.2 | 22748.3 | 30073.4 | 33865.1 | 34073.4 | 43049.9 | 42833 | 1.967 | 1.7997 | 0.07569 | 0 | 23.7678 | 999.9 | 38.42 | 33.627 | 19.8613 | 63.5073 | 33.9704 | 1 | 0.10641 | 2.5321 | 20.2095 | 5.2329 | 11.962 | 4.9695 | 3.2951 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8628 | 1.8643 | 1.8662 | 1.8632 | 1.8669 | 1.8637 | 1.8655 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.965 | -0.1459 | 0.57056 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.073448 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1.1 | 1.1 | 1.0535 | 2.572 | 1.3464 | 2.2583 | 1.5503 | 2.7185 | 38.0134 | 15.9883 | 18 | 501.562 | 470.742 | 21.3218 | 28.5704 | 30.0003 | 28.5511 | 28.5638 | 21.0987 | 25.9841 | 34.8562 | 21.308 | 400 | 16.0149 | 101.645 | 97.2633
8 | 1791605388.1 | 866 | 20261010 13:09:48 | 13:09:48 | 5 | 1791605385.1 | 0.0030552 | 3.0552 | 24.0857 | 689.4868 | 494.691 | 50.1203 | 69.8563 | 0.22002 | 3.0293 | 0.21151 | 0.13293 | 241.7325 | 25.6102 | 24.9906 | 3.1779 | 55.0453 | 1.75 | 3.1793 | 1.4279 | -134.7336 | 1.1693 | 0.081646 | 108.2498 | 0 | 0 | 1 | 0 | 53823.1338 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1888 | 24.0857 | #DIV/0! | 0.019098 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.974 | 1261.1888 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791605385.1 | 689.4868 | 699.964 | 17.2729 | 16.0719 | 688.329 | 17.4166 | 499.9854 | 101.2164 | 0.10001 | 24.9978 | 24.9906 | 999.9 | 0 | 0 | 9989.004 | 0 | 7.5839 | -10.4774 | 701.6054 | 711.3976 | 1.201 | 699.964 | 16.0719 | 1.7483 | 1.6267 | 15.3321 | 14.2145 | 1499.974 | 0.97301 | 0.026994 | 0 | 346.825 | 5.0006 | 5361.942 | 15439 | 40.875 | 41.562 | 41.187 | 41.2374 | 42.375 | 1454.614 | 40.356 | 0 | 1791605388.9 | 0 | 346.9792 | -1.4004 | -13.3627 | 5362.4838 | 15 | 1791605317.1 | 13:08:37 | 1791605317.1 | 1791605317.1 | 48 | 0.09 | 0.002 | 1.16 | -0.174 | 700 | 16 | 0.12 | 0.03 | 24.2296 | 0.097622 | 0.11115 | 1 | -10.5408 | 0.15362 | 0.04763 | 1 | 347.0718 | -1.0651 | 0.21503 | -1 | 2 | 2 | 2/2 | 3.1234 | 2.7653 | 0.12978 | 0.13458 | 0.09258 | 0.090811 | 16938.4 | 25396.6 | 22746.4 | 30072.4 | 33867.8 | 34066.3 | 43047.1 | 42832.3 | 1.9668 | 1.8007 | 0.075437 | 0 | 23.7566 | 999.9 | 38.323 | 33.616 | 19.8027 | 63.4473 | 34.5032 | 1 | 0.10677 | 2.3251 | 20.2128 | 5.2311 | 11.962 | 4.9692 | 3.2953 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8628 | 1.8643 | 1.8661 | 1.8632 | 1.8669 | 1.8636 | 1.8655 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 1.157 | -0.1437 | 0.66055 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.070987 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1.2 | 1.2 | 1.6382 | 2.5769 | 1.3477 | 2.2583 | 1.5503 | 2.4414 | 37.8679 | 15.962 | 18 | 501.604 | 471.57 | 21.3854 | 28.5851 | 30 | 28.5705 | 28.5817 | 32.7916 | 25.5784 | 34.4859 | 21.3929 | 700 | 16.0368 | 101.637 | 97.261
9 | 1791605539.1 | 1017 | 20261010 13:12:19 | 13:12:19 | 5 | 1791605536.1 | 0.0020958 | 2.0958 | 25.8923 | 988.7374 | 681.0855 | 69.0054 | 100.1757 | 0.14707 | 3.0324 | 0.14322 | 0.089849 | 241.7352 | 25.7615 | 25.0247 | 3.1844 | 54.9539 | 1.7378 | 3.1622 | 1.4466 | -92.4234 | -19.1337 | -1.3342 | 128.8438 | 0 | 0 | 1 | 0 | 53934.1639 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2024 | 25.8923 | #DIV/0! | 0.02053 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.99 | 1261.2024 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791605536.1 | 988.7374 | 999.9236 | 17.1518 | 16.3278 | 987.5504 | 17.2952 | 499.9814 | 101.217 | 0.099772 | 24.9077 | 25.0247 | 999.9 | 0 | 0 | 10007.27 | 0 | 7.6379 | -11.1862 | 1005.992 | 1016.522 | 0.82396 | 999.9236 | 16.3278 | 1.736 | 1.6526 | 15.2226 | 14.4587 | 1499.99 | 0.97301 | 0.026994 | 0 | 348.3874 | 5.0006 | 5382.162 | 15439.1 | 40.812 | 41.5 | 41.1374 | 41.1746 | 42.312 | 1454.63 | 40.36 | 0 | 1791605539.5 | 0 | 348.3493 | 1.5599 | 10.2315 | 5381.6996 | 15 | 1791605448.1 | 13:10:48 | 1791605448.1 | 1791605446.1 | 49 | -0.055 | 0.003 | 1.192 | -0.169 | 1000 | 16 | 0.19 | 0.06 | 26.0475 | -0.27931 | 0.10549 | 1 | -11.2741 | 0.63834 | 0.06973 | 0 | 348.2014 | 2.2492 | 0.2895 | -1 | 1 | 2 | 1/2 | 3.1234 | 2.7654 | 0.16436 | 0.16986 | 0.092145 | 0.09189 | 16265.7 | 24362.8 | 22746.9 | 30074.2 | 33887.5 | 34030 | 43048.4 | 42834.6 | 1.9668 | 1.8031 | 0.08031 | 0 | 23.6997 | 999.9 | 38.231 | 33.586 | 19.7209 | 63.6173 | 33.8862 | 1 | 0.10707 | 2.8484 | 20.2053 | 5.2276 | 11.962 | 4.9664 | 3.2945 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8628 | 1.8643 | 1.8662 | 1.8632 | 1.8669 | 1.8637 | 1.8655 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 1.187 | -0.1433 | 0.60485 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.067606 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1.5 | 1.6 | 2.1814 | 2.572 | 1.3477 | 2.2595 | 1.5503 | 2.456 | 37.7228 | 15.9358 | 18 | 501.568 | 473.245 | 20.8582 | 28.5708 | 29.9999 | 28.5681 | 28.5817 | 43.6673 | 23.4095 | 34.4859 | 20.8466 | 1000 | 16.3613 | 101.64 | 97.2664
10 | 1791605661 | 1138.9 | 20261010 13:14:21 | 13:14:21 | 5 | 1791605658 | 0.0016307 | 1.6307 | 26.8521 | 1188.586 | 779.5558 | 78.9812 | 120.4223 | 0.11329 | 3.0298 | 0.11099 | 0.069571 | 241.7387 | 25.7894 | 25.0283 | 3.1851 | 55.0885 | 1.7327 | 3.1452 | 1.4524 | -71.9117 | -34.4583 | -2.4039 | 132.9649 | 0 | 0 | 1 | 0 | 53869.4832 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2224 | 26.8521 | #DIV/0! | 0.021291 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.014 | 1261.2224 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791605658 | 1188.586 | 1200.102 | 17.1016 | 16.4605 | 1186.898 | 17.2431 | 500.0042 | 101.2156 | 0.10002 | 24.8174 | 25.0283 | 999.9 | 0 | 0 | 9991.744 | 0 | 7.6384 | -11.5162 | 1209.266 | 1220.186 | 0.64111 | 1200.102 | 16.4605 | 1.7309 | 1.6661 | 15.1768 | 14.5837 | 1500.014 | 0.97301 | 0.026993 | 0 | 348.0472 | 5.0006 | 5378.54 | 15439.38 | 40.812 | 41.5 | 41.125 | 41.187 | 42.312 | 1454.654 | 40.354 | 0 | 1791605661.9 | 0 | 348.1151 | -1.0138 | 5.5338 | 5378.1704 | 15 | 1791605620 | 13:13:40 | 1791605620 | 1791605604 | 50 | 0.381 | 0.003 | 1.694 | -0.16 | 1200 | 16 | 0.23 | 0.1 | 26.8241 | -0.56305 | 0.20623 | 1 | -11.5231 | 0.32463 | 0.080518 | 1 | 348.0182 | 1.7769 | 0.27386 | -1 | 2 | 2 | 2/2 | 3.1234 | 2.7653 | 0.18419 | 0.19014 | 0.091908 | 0.092379 | 15879.2 | 23767.3 | 22746.2 | 30074 | 33896.9 | 34012.8 | 43047.3 | 42834.4 | 1.9668 | 1.8036 | 0.086389 | 0 | 23.6183 | 999.9 | 38.255 | 33.586 | 19.7344 | 63.1773 | 34.4471 | 1 | 0.10604 | 2.656 | 20.2091 | 5.2342 | 11.962 | 4.9691 | 3.2953 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8628 | 1.8643 | 1.8661 | 1.8632 | 1.8669 | 1.8636 | 1.8655 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 1.68 | -0.1417 | 0.9878 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.064448 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 0.7 | 0.9 | 2.5256 | 2.561 | 1.3464 | 2.2583 | 1.5503 | 2.5317 | 37.6263 | 15.9358 | 18 | 501.577 | 473.591 | 21.0249 | 28.5655 | 30.0005 | 28.5656 | 28.5817 | 50.5395 | 23.2357 | 34.4859 | 21.0012 | 1200 | 16.408 | 101.637 | 97.266
11 | 1791605782 | 1259.9 | 20261010 13:16:22 | 13:16:22 | 5 | 1791605779 | 0.0010794 | 1.0794 | 26.0637 | 1488.918 | 890.2829 | 90.1985 | 150.8488 | 0.073941 | 3.0314 | 0.072954 | 0.045684 | 241.7363 | 25.8302 | 25.0214 | 3.1837 | 55.0378 | 1.721 | 3.1269 | 1.4627 | -47.602 | -49.3169 | -3.4367 | 141.3806 | 0 | 0 | 1 | 0 | 53939.5285 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2105 | 26.0637 | #DIV/0! | 0.020666 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500 | 1261.2105 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791605779 | 1488.918 | 1499.984 | 16.9866 | 16.5623 | 1486.588 | 17.127 | 500.1062 | 101.2142 | 0.10018 | 24.7196 | 25.0214 | 999.9 | 0 | 0 | 10002.01 | 0 | 7.6384 | -11.0604 | 1514.65 | 1525.244 | 0.42429 | 1499.984 | 16.5623 | 1.7193 | 1.6763 | 15.0717 | 14.6791 | 1500 | 0.97301 | 0.026993 | 0 | 348.636 | 5.0006 | 5387.092 | 15439.26 | 40.812 | 41.5124 | 41.125 | 41.187 | 42.312 | 1454.642 | 40.35 | 0 | 1791605782.5 | 0 | 348.6453 | -0.89422 | -2.1012 | 5386.7692 | 15 | 1791605729 | 13:15:29 | 1791605729 | 1791605719 | 51 | 0.285 | 0.004 | 2.354 | -0.153 | 1500 | 16 | 0.31 | 0.15 | 25.8081 | 0.7849 | 0.20984 | 0 | -10.9798 | -0.36014 | 0.084508 | 1 | 348.8148 | -2.6256 | 0.37172 | -1 | 1 | 2 | 1/2 | 3.1236 | 2.7655 | 0.21062 | 0.21707 | 0.09146 | 0.09279 | 15363.6 | 22975.8 | 22744.6 | 30072.8 | 33913.9 | 33998.1 | 43045 | 42832.9 | 1.9671 | 1.8047 | 0.089444 | 0 | 23.5667 | 999.9 | 38.31 | 33.546 | 19.7164 | 63.5573 | 34.387 | 1 | 0.10739 | 2.6221 | 20.2099 | 5.2339 | 11.962 | 4.9688 | 3.2952 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8628 | 1.8643 | 1.8661 | 1.8631 | 1.8669 | 1.8636 | 1.8655 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 2.34 | -0.1406 | 1.2735 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.060336 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 0.9 | 1.1 | 3.0164 | 2.522 | 1.3464 | 2.2583 | 1.5503 | 2.7393 | 37.554 | 15.9358 | 18 | 501.834 | 474.421 | 20.8133 | 28.5802 | 30 | 28.5754 | 28.5914 | 60.3773 | 22.9025 | 34.4859 | 20.8068 | 1500 | 16.553 | 101.631 | 97.2624
12 | 1791605923 | 1400.9 | 20261010 13:18:43 | 13:18:43 | 5 | 1791605919.5 | 0.00063676 | 0.63676 | 23.5279 | 1790.155 | 882.3673 | 89.3957 | 181.3668 | 0.04326 | 3.0323 | 0.04292 | 0.026855 | 241.7383 | 25.8616 | 24.9899 | 3.1778 | 54.9786 | 1.7109 | 3.112 | 1.4668 | -28.0813 | -57.2683 | -3.9875 | 152.4013 | 0 | 0 | 1 | 0 | 53980.0092 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2128 | 23.5279 | #DIV/0! | 0.018655 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.0017 | 1261.2128 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791605919.5 | 1790.155 | 1800.02 | 16.8875 | 16.6371 | 1787.305 | 17.0275 | 500.1078 | 101.2135 | 0.099968 | 24.6396 | 24.9899 | 999.9 | 0 | 0 | 10007.1033 | 0 | 7.6384 | -9.865 | 1820.905 | 1830.475 | 0.25036 | 1800.02 | 16.6371 | 1.7092 | 1.6839 | 14.9806 | 14.7488 | 1500.0017 | 0.97299 | 0.02701 | 0 | 351.4287 | 5.0006 | 5430.67 | 15439.2 | 40.812 | 41.562 | 41.1767 | 41.187 | 42.312 | 1454.6217 | 40.38 | 0 | 1791605923.5 | 0 | 351.4207 | 1.3725 | 37.3085 | 5428.4756 | 15 | 1791605845 | 13:17:25 | 1791605845 | 1791605832 | 52 | -0.48 | 0.003 | 2.606 | -0.147 | 1800 | 17 | 0.17 | 0.17 | 23.6138 | -0.48484 | 0.21416 | 1 | -9.8956 | 0.31418 | 0.093587 | 1 | 351.3054 | 0.98072 | 0.18246 | -1 | 2 | 2 | 2/2 | 3.1235 | 2.7653 | 0.234 | 0.24083 | 0.091078 | 0.093081 | 14907.4 | 22276.7 | 22743.3 | 30070.3 | 33927.9 | 33986.2 | 43042.3 | 42829.8 | 1.9668 | 1.8055 | 0.091575 | 0 | 23.5167 | 999.9 | 38.408 | 33.516 | 19.7344 | 63.1974 | 34.2027 | 1 | 0.10994 | 2.6243 | 20.2101 | 5.2291 | 11.962 | 4.9686 | 3.2951 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8628 | 1.8643 | 1.8661 | 1.8631 | 1.8669 | 1.8636 | 1.8655 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 2.85 | -0.14 | 1.0687 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.057467 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1.3 | 1.5 | 3.4815 | 2.5012 | 1.3464 | 2.2583 | 1.5503 | 2.7271 | 37.4819 | 15.9095 | 18 | 501.84 | 475.202 | 20.7374 | 28.6095 | 30.0001 | 28.5997 | 28.6133 | 69.6868 | 22.6442 | 34.4859 | 20.744 | 1800 | 16.6847 | 101.625 | 97.2549

## Remarks
File opened | 2026-10-10 12:22:21
Console s/n | 68C-812349
Console ver | Bluestem v.2.1.13
Scripts ver | 2024.01 2.1.13, Apr 2024
Head s/n | 68H-982339
Head ver | 1.4.23
Head cal | {"flowbzero": "0.27399", "h2oaspan1": "1.0301", "co2bspanconc2": "1516", "co2bspanconc1": "437.6", "h2oazero": "1.14957", "ssa_ref": "32366.8", "co2bspan2a": "0.0952815", "ssb_ref": "37478.9", "tazero": "0.0951138", "co2aspan1": "0.99333", "co2azero": "1.16194", "h2obspan1": "0.995823", "co2aspanconc2": "1516", "h2obspanconc1": "21.96", "h2obspan2": "0", "h2oaspanconc1": "21.96", "tbzero": "0.145187", "chamberpressurezero": "2.61687", "co2bzero": "1.02053", "h2oaspanconc2": "0", "co2aspan2a": "0.0929659", "oxygen": "21", "h2obzero": "1.13925", "co2bspan2b": "0.0947811", "co2bspan2": "0.00898303", "co2aspan2": "0.0108874", "h2obspan2a": "0.112101", "flowmeterzero": "2.5072", "flowazero": "0.316", "co2bspan1": "0.993892", "h2obspan2b": "0.111633", "co2aspan2b": "0.0924399", "h2obspanconc2": "0", "h2oaspan2b": "0.111609", "h2oaspan2a": "0.108347", "h2oaspan2": "0", "co2aspanconc1": "437.6"}
Factory cal date | 04 Oct 2022
CO2 rangematch | Tue Sep 15 09:35
H2O rangematch | Tue Sep 15 09:41
Chamber type | 6800-01A
Chamber s/n | MPF-282040
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-282040
Flr. Version | 1.4.23
12:22:21 | Stability Definition: A (GasEx): Slp<0.6 Per=20 ΔCO2 (Meas2): Slp<0.5 Per=20 F (FlrLS): Per=20