## Measurements
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 2 cm² | 0.572 | 0.38727 | -0.018706 | 0 | -0.0073739 | 1 | 2 | 96.9
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.8 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.1911 | 0.1512 | 0.161 | 0.2262 | 0.1575 | 0.1596 | 0.2175
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 4.38209 210.944 349.831 586.709 869.356 1077.05 1247.6 1358.57 | 0.620429 237.749 373.713 581.984 811.989 1001.17 1203.08 1400.83 | 0
SysObs | SysObs | SysObs | SysObs | SysObs | SysObs | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Leak | Leak | Leak | Leak | Leak | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrStats | FlrStats | FlrStats | FlrStats | FlrStats | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | averaging | TIME | E | Emm | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Leak | LeakPct | CorrFact | CorrFactPct | Fan | DarkAdaptedID | Qmax_d | Fo | Fm | Fv/Fm | A_dark | LightAdaptedID | Qmax | Fs | Fm' | PhiPS2 | PS2/1 | Qabs_fs | A_fs | ETR | PhiCO2 | NPQ | alt._Fo' | DarkPulseID | Fmin | Fo' | Fv'/Fm' | qP | qN | qP_Fo | qN_Fo | qL | 1-qL | ID | P1_dur | P1_Fmax | T@P1_Fmax | Q@P1_Fmax | P1_PredF | P1_ΔF | P2_dur | P2_ramp | P2_int | P2_int_se | P2_slp | P2_slp_se | P2_R2 | P2_dQdt | P3_dur | P3_Fmax | T@P3_Fmax | Q@P3_Fmax | P3_PredF | P3_ΔF | ID | Dur | DCo | InitSlope | Fo | F1 | T@F1 | T@HIR | F2 | T@F2 | DCmax | T@DCmax | PhiPS2_dc | Qin | Qabs | alpha | convert | S | K | Geometry | Custom | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | ΔCO2 | CO2_s_d | CO2_r_d | ΔH2O | CO2_b | H2O_b | e_s | e_r | Td_s | Td_r | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | F_avg | dF/dt | dF_dc/dt | F_dc_avg | period | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | A:MN | A:SLP | A:SD | A:OK | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | F:MN | F:SLP | F:SD | F:OK | Stable | Total | State | Vflow | VPchamber | abs_c_a | abs_c_b | abs_h_a | abs_h_b | Wc_s | Wc_r | Wco_s | Wco_r | Ww_s | Ww_r | Wwo_s | Wwo_r | Flow_s_v | Flow_r_v | Tleaf_mv | Tleaf2_mv | Tleaf_j | Tleaf2_j | Console_RH | Console_T | Console_H2O | Fan_% | Flow_% | Pump | Tchp_pwm | Txchg_pwm | diag_20v | diag_5_4v | diag_12v | diag_5va | diag_3_3vf | AccH2O_des | AccH2O_hum | CO2_hrs | AccCO2_soda | ADC_CH1 | ADC_CH2 | ADC_CH3 | ADC_CH4 | ADC_CH5 | ADC_CH6 | ADC_CH7 | ADC_CH8 | DAC_1 | DAC_2 | DAC_3 | DAC_4 | GPIO | GPIO_dir | excit_5v | power_12v | power_5v | ch1_pullup | AuxPower | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | CO2_f | CO2_f_s | Pump_f | Pump_f_s | Pump_p | Pump_p_s | Tboard | V_system | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s | s | mol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol s⁻¹ | % |  | % | µmol s⁻¹ | [5 empty] | µmol m⁻² s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol µmol⁻¹ | [13 empty] | ms |  | ms | µmol m⁻² s⁻¹ |  |  | ms | % |  |  | centimol m⁻² s⁻¹ | centimol m⁻² s⁻¹ |  | mol m⁻² s⁻² | ms |  | ms | µmol m⁻² s⁻¹ |  |  |  | ms |  | s⁻¹ |  |  | ms | ms |  | ms |  | ms |  | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | mol m⁻² s⁻¹ | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | kPa | kPa | °C | °C | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  |  | min⁻¹ | min⁻¹ |  | s | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ min⁻¹ | µmol m⁻² s⁻¹ |  | µmol mol⁻¹ | µmol mol⁻¹ min⁻¹ | µmol mol⁻¹ |  |  | min⁻¹ | [5 empty] | V | V | [12 empty] | V | V | mV | mV | °C | °C | % | °C | mmol mol⁻¹ | % | % |  | V | V | V | V | V | V | V | mg | mg | hrs | mg | [18 empty] | V | % | % | µmol/mol | mmol/mol | µmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min | V | V | V | V | V | V | °C | V |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | % | bar: ADC_CH1 to DAC_4
1 | 1791612487 | 0 | 20261010 15:08:07 | 15:08:07 | 5 | 1791612483.5 | 0.0044729 | 4.4729 | 19.9043 | 391.3427 | 284.1141 | 28.7574 | 39.6108 | 0.33634 | 3.0315 | 0.3169 | 0.19971 | 241.736 | 25.4958 | 24.9696 | 3.1739 | 55.188 | 1.7802 | 3.2257 | 1.3937 | -197.2541 | 44.435 | 3.1038 | 92.0207 | 0 | 0 | 1 | 0 | 53844.8129 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2066 | 19.9043 | #DIV/0! | 0.015782 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.995 | 1261.2066 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791612483.5 | 391.3427 | 400.0033 | 17.588 | 15.8306 | 390.5307 | 17.723 | 500.0717 | 101.1178 | 0.099948 | 25.2414 | 24.9696 | 999.9 | 0 | 0 | 10011.8833 | 0 | 6.9837 | -8.6605 | 398.349 | 406.4375 | 1.7574 | 400.0033 | 15.8306 | 1.7785 | 1.6008 | 15.5987 | 13.9661 | 1499.995 | 0.973 | 0.026998 | 0 | 363.502 | 5.0006 | 5620.9483 | 15439.1833 | 41.187 | 41.9267 | 41.562 | 41.562 | 42.7185 | 1454.635 | 40.36 | 0 | 1791612488.1 | 0 | 363.5046 | 0.65197 | 6.4068 | 5620.5485 | 15 | 1791612433 | 15:07:13 | 1791612433 | 1791612419 | 68 | 0.008 | -0.002 | 0.817 | -0.176 | 400 | 16 | 0.32 | 0.03 | 19.9376 | 0.52894 | 0.099316 | 1 | -8.6703 | -0.19188 | 0.043042 | 1 | 363.4248 | 0.94921 | 0.20564 | -1 | 2 | 2 | 2/2 | 3.1231 | 2.7653 | 0.086099 | 0.089843 | 0.093564 | 0.089695 | 17776.9 | 26697.4 | 22732.3 | 30059.4 | 33808.6 | 34095.2 | 43022.3 | 42819.3 | 1.9642 | 1.7944 | 0.054963 | 0 | 24.0773 | 999.9 | 38.866 | 33.475 | 19.943 | 62.9934 | 34.4471 | 1 | 0.12546 | 2.3073 | 20.1421 | 5.2339 | 11.962 | 4.9676 | 3.2953 | 9999 | 9999 | 999.9 | 9999 | 4.9697 | 1.8641 | 1.8656 | 1.8674 | 1.8644 | 1.8681 | 1.8648 | 1.8668 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.812 | -0.1355 | 0.41847 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.070472 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 0.9 | 1.1 | 1.0522 | 2.5684 | 1.3477 | 2.2607 | 1.5503 | 2.4377 | 39.5166 | 23.9649 | 18 | 502.248 | 469.574 | 21.5964 | 28.8479 | 29.9999 | 28.837 | 28.8502 | 21.0751 | 27.681 | 35.2063 | 21.6178 | 400 | 15.8223 | 101.577 | 97.2264
2 | 1791612608 | 121 | 20261010 15:10:08 | 15:10:08 | 5 | 1791612605 | 0.0045551 | 4.5551 | 14.8455 | 293.5466 | 214.5081 | 21.7109 | 29.7106 | 0.34123 | 3.0297 | 0.32123 | 0.20247 | 241.7263 | 25.5118 | 24.9965 | 3.179 | 55.0281 | 1.7789 | 3.2328 | 1.4001 | -200.8803 | 45.9956 | 3.2157 | 90.0573 | 0 | 0 | 1 | 0 | 53781.7345 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1554 | 14.8455 | #DIV/0! | 0.011771 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.934 | 1261.1554 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791612605 | 293.5466 | 300.0188 | 17.5762 | 15.7865 | 292.9068 | 17.713 | 500.0668 | 101.1124 | 0.10001 | 25.2781 | 24.9965 | 999.9 | 0 | 0 | 10001.494 | 0 | 6.9837 | -6.4723 | 298.7982 | 304.831 | 1.7898 | 300.0188 | 15.7865 | 1.7772 | 1.5962 | 15.5875 | 13.9222 | 1499.934 | 0.973 | 0.026999 | 0 | 362.3504 | 5.0006 | 5601.046 | 15438.56 | 41.187 | 41.937 | 41.562 | 41.562 | 42.7248 | 1454.574 | 40.36 | 0 | 1791612608.7 | 0 | 362.3162 | -0.21462 | -2.6015 | 5601.0888 | 15 | 1791612555 | 15:09:15 | 1791612555 | 1791612549 | 69 | -0.111 | -0.001 | 0.644 | -0.179 | 300 | 16 | 0.29 | 0.04 | 14.8432 | 0.16474 | 0.058622 | 1 | -6.4705 | -0.059357 | 0.02301 | 1 | 362.376 | -0.84857 | 0.22248 | -1 | 2 | 2 | 2/2 | 3.1234 | 2.765 | 0.068588 | 0.071651 | 0.093537 | 0.0895 | 18117.7 | 27231.8 | 22732.4 | 30060.3 | 33808.4 | 34102.3 | 43022 | 42820.6 | 1.9642 | 1.7937 | 0.055969 | 0 | 24.0813 | 999.9 | 38.597 | 33.536 | 19.8743 | 63.1634 | 33.8542 | 1 | 0.12558 | 2.4477 | 20.1401 | 5.2345 | 11.962 | 4.9688 | 3.2954 | 9999 | 9999 | 999.9 | 9999 | 4.9697 | 1.8641 | 1.8656 | 1.8674 | 1.8644 | 1.8681 | 1.8649 | 1.8668 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.639 | -0.137 | 0.30704 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.071954 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 0.9 | 1 | 0.84473 | 2.561 | 1.3464 | 2.2595 | 1.5503 | 2.7429 | 39.5666 | 23.9737 | 18 | 502.239 | 469.113 | 21.7092 | 28.8503 | 30.0005 | 28.8395 | 28.8527 | 16.9383 | 27.4264 | 34.461 | 21.7066 | 300 | 15.8018 | 101.577 | 97.2292
3 | 1791612729 | 242 | 20261010 15:12:09 | 15:12:09 | 5 | 1791612726 | 0.0044747 | 4.4747 | 8.8338 | 196.0776 | 148.0029 | 14.9802 | 19.8461 | 0.33643 | 3.0317 | 0.31698 | 0.19977 | 241.7381 | 25.4921 | 24.9904 | 3.1779 | 55.3174 | 1.7841 | 3.2251 | 1.3938 | -197.336 | 40.499 | 2.8289 | 87.73 | 0 | 0 | 1 | 0 | 53853.0525 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2175 | 8.8338 | #DIV/0! | 0.0070042 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.008 | 1261.2175 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791612726 | 196.0776 | 199.9612 | 17.6263 | 15.8683 | 195.6144 | 17.7643 | 500.1156 | 101.1154 | 0.099984 | 25.2382 | 24.9904 | 999.9 | 0 | 0 | 10013.62 | 0 | 6.9837 | -3.8836 | 199.5958 | 203.1852 | 1.7579 | 199.9612 | 15.8683 | 1.7823 | 1.6045 | 15.6323 | 14.0024 | 1500.008 | 0.973 | 0.026998 | 0 | 362.5992 | 5.0006 | 5605.602 | 15439.32 | 41.187 | 41.937 | 41.562 | 41.562 | 42.6996 | 1454.648 | 40.36 | 0 | 1791612729.9 | 0 | 362.649 | -0.037231 | 10.1831 | 5604.7808 | 15 | 1791612678 | 15:11:18 | 1791612678 | 1791612670 | 70 | -0.094 | -0.003 | 0.467 | -0.182 | 200 | 16 | 0.17 | 0.04 | 9.0039 | -0.19943 | 0.089272 | 1 | -3.9494 | 0.18024 | 0.043821 | 1 | 362.665 | -0.38218 | 0.17848 | -1 | 2 | 2 | 2/2 | 3.1231 | 2.7654 | 0.048791 | 0.050973 | 0.093786 | 0.08985 | 18504.1 | 27839.4 | 22734 | 30061.3 | 33799.5 | 34089.2 | 43024.4 | 42822.5 | 1.9645 | 1.7936 | 0.055131 | 0 | 24.0744 | 999.9 | 38.371 | 33.586 | 19.8125 | 63.2135 | 34.4471 | 1 | 0.12444 | 2.1645 | 20.1433 | 5.2341 | 11.9622 | 4.9676 | 3.2953 | 9999 | 9999 | 999.9 | 9999 | 4.9697 | 1.8641 | 1.8656 | 1.8674 | 1.8644 | 1.8681 | 1.8649 | 1.8668 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.463 | -0.138 | 0.21293 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.074613 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 0.8 | 1 | 0.6311 | 2.5854 | 1.3477 | 2.2607 | 1.5503 | 2.456 | 39.6167 | 23.9649 | 18 | 502.343 | 468.998 | 21.3883 | 28.8355 | 29.9998 | 28.8296 | 28.8453 | 12.6493 | 26.1819 | 34.0892 | 21.5604 | 200 | 15.831 | 101.583 | 97.233
4 | 1791612850 | 363 | 20261010 15:14:10 | 15:14:10 | 5 | 1791612846.5 | 0.0047252 | 4.7252 | 2.6446 | 98.7475 | 84.1396 | 8.5163 | 9.9948 | 0.35573 | 3.0299 | 0.33405 | 0.21062 | 241.7302 | 25.4567 | 24.9909 | 3.1779 | 55.1408 | 1.7813 | 3.2304 | 1.3967 | -208.3815 | 44.9263 | 3.1405 | 81.4154 | 0 | 0 | 1 | 0 | 53790.8504 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1758 | 2.6446 | #DIV/0! | 0.0020969 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.9583 | 1261.1758 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791612846.5 | 98.7475 | 99.9917 | 17.5989 | 15.7424 | 98.6577 | 17.7393 | 500.0947 | 101.1157 | 0.10012 | 25.2659 | 24.9909 | 999.9 | 0 | 0 | 10002.5 | 0 | 6.9837 | -1.2443 | 100.5165 | 101.591 | 1.8565 | 99.9917 | 15.7424 | 1.7795 | 1.5918 | 15.6081 | 13.8797 | 1499.9583 | 0.973 | 0.026999 | 0 | 364.0442 | 5.0006 | 5623.9067 | 15438.8 | 41.187 | 41.9267 | 41.562 | 41.562 | 42.708 | 1454.5983 | 40.36 | 0 | 1791612851.1 | 0 | 364.0581 | 0.067538 | 6.2108 | 5623.212 | 15 | 1791612798 | 15:13:18 | 1791612798 | 1791612791 | 71 | -0.265 | -0.002 | 0.091 | -0.183 | 100 | 16 | 0.22 | 0.03 | 2.6457 | -0.26197 | 0.10316 | 1 | -1.2475 | 0.20595 | 0.040862 | 1 | 364.0639 | 0.063331 | 0.20678 | -1 | 2 | 2 | 2/2 | 3.1231 | 2.7653 | 0.026135 | 0.027177 | 0.093666 | 0.08924 | 18944.8 | 28537.5 | 22733.8 | 30061.3 | 33802.1 | 34110.5 | 43023.7 | 42822.5 | 1.9642 | 1.7928 | 0.054739 | 0 | 24.0793 | 999.9 | 38.139 | 33.637 | 19.7504 | 63.0835 | 34.2628 | 1 | 0.12369 | 2.3912 | 20.1409 | 5.2294 | 11.9623 | 4.9691 | 3.2954 | 9999 | 9999 | 999.9 | 9999 | 4.9697 | 1.8641 | 1.8656 | 1.8674 | 1.8644 | 1.8681 | 1.8649 | 1.8668 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.09 | -0.1405 | -0.052154 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.076286 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 0.9 | 1 | 0.41016 | 2.5989 | 1.3464 | 2.2607 | 1.5503 | 2.4414 | 39.6669 | 23.9649 | 18 | 502.143 | 468.355 | 21.6222 | 28.8306 | 30 | 28.8247 | 28.8404 | 8.2286 | 26.6209 | 33.4892 | 21.6433 | 100 | 15.6907 | 101.582 | 97.2331
5 | 1791612971 | 484 | 20261010 15:16:11 | 15:16:11 | 5 | 1791612968 | 0.0049936 | 4.9936 | -0.75453 | 50.1775 | 52.4134 | 5.305 | 5.0787 | 0.37769 | 3.0309 | 0.35335 | 0.2229 | 241.7279 | 25.4057 | 24.9872 | 3.1773 | 55.1058 | 1.7819 | 3.2337 | 1.3953 | -220.2169 | 48.2727 | 3.3735 | 73.1573 | 0 | 0 | 1 | 0 | 53819.8129 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1638 | -0.75453 | #DIV/0! | -0.00059828 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.944 | 1261.1638 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791612968 | 50.1775 | 49.9759 | 17.6054 | 15.643 | 50.1332 | 17.7444 | 499.9608 | 101.1152 | 0.099849 | 25.2827 | 24.9872 | 999.9 | 0 | 0 | 10008.75 | 0 | 6.9291 | 0.20161 | 51.0768 | 50.7701 | 1.9624 | 49.9759 | 15.643 | 1.7802 | 1.5817 | 15.6138 | 13.7821 | 1499.944 | 0.973 | 0.026999 | 0 | 366.751 | 5.0006 | 5662.402 | 15438.64 | 41.187 | 41.9122 | 41.562 | 41.562 | 42.687 | 1454.584 | 40.36 | 0 | 1791612971.7 | 0 | 366.8949 | -0.57193 | -9.9805 | 5663.3742 | 15 | 1791612920 | 15:15:20 | 1791612920 | 1791612915 | 72 | 0.02 | 0.001 | 0.044 | -0.183 | 50 | 16 | 0.33 | 0.02 | -0.73514 | -0.20461 | 0.086625 | 1 | 0.19468 | 0.058243 | 0.03363 | 1 | 366.849 | -0.17283 | 0.21541 | -1 | 2 | 2 | 2/2 | 3.1233 | 2.765 | 0.013629 | 0.01399 | 0.093663 | 0.088866 | 19188 | 28924.3 | 22733.7 | 30061.2 | 33801.6 | 34123.7 | 43023.8 | 42822.5 | 1.9644 | 1.7922 | 0.055678 | 0 | 24.0717 | 999.9 | 37.981 | 33.697 | 19.733 | 63.1935 | 33.7861 | 1 | 0.12266 | 2.1513 | 20.1443 | 5.2306 | 11.962 | 4.9676 | 3.2952 | 9999 | 9999 | 999.9 | 9999 | 4.9697 | 1.8641 | 1.8656 | 1.8674 | 1.8643 | 1.8681 | 1.8648 | 1.8668 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.044 | -0.1393 | -0.03203 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.075043 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 0.8 | 0.9 | 0.29785 | 2.6099 | 1.3464 | 2.2607 | 1.5503 | 2.4597 | 39.7171 | 23.9649 | 18 | 502.237 | 467.956 | 21.7892 | 28.8281 | 30 | 28.8247 | 28.838 | 5.9884 | 27.1818 | 33.0262 | 21.7918 | 50 | 15.6546 | 101.582 | 97.233
6 | 1791613105 | 618 | 20261010 15:18:25 | 15:18:25 | 5 | 1791613102 | 0.0051104 | 5.1104 | 19.2796 | 391.4428 | 298.9841 | 30.2623 | 39.6206 | 0.38614 | 3.0295 | 0.36073 | 0.2276 | 241.7276 | 25.4323 | 25.0044 | 3.1805 | 54.9169 | 1.7818 | 3.2445 | 1.3988 | -225.368 | 54.6061 | 3.8193 | 74.785 | 0 | 0 | 1 | 0 | 53764.2455 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1621 | 19.2796 | #DIV/0! | 0.015287 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.942 | 1261.1621 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791613102 | 391.4428 | 399.954 | 17.6033 | 15.5954 | 390.5004 | 17.7364 | 500.0474 | 101.1168 | 0.10015 | 25.3387 | 25.0044 | 999.9 | 0 | 0 | 9999.77 | 0 | 6.9291 | -8.5111 | 398.457 | 406.29 | 2.008 | 399.954 | 15.5954 | 1.78 | 1.577 | 15.6122 | 13.7354 | 1499.942 | 0.973 | 0.026999 | 0 | 354.6794 | 5.0006 | 5487.686 | 15438.62 | 41.187 | 41.9122 | 41.5 | 41.562 | 42.687 | 1454.582 | 40.36 | 0 | 1791613106.1 | 0 | 354.3579 | 5.2979 | 74.5262 | 5482.6196 | 15 | 1791613040 | 15:17:20 | 1791613040 | 1791613039 | 73 | 0.58 | 0.006 | 0.947 | -0.178 | 400 | 16 | 0.25 | 0.06 | 19.3086 | 0.29536 | 0.12589 | 1 | -8.5227 | -0.12135 | 0.050991 | 1 | 353.9449 | 4.5675 | 0.48426 | -1 | 2 | 2 | 2/2 | 3.1232 | 2.765 | 0.086085 | 0.089851 | 0.093632 | 0.088737 | 17777.8 | 26698.9 | 22733 | 30061.4 | 33806.3 | 34133.5 | 43022.8 | 42822.1 | 1.9646 | 1.7926 | 0.054941 | 0 | 24.1009 | 999.9 | 37.853 | 33.768 | 19.7459 | 63.2935 | 33.7981 | 1 | 0.12381 | 2.3762 | 20.1401 | 5.2296 | 11.9622 | 4.9676 | 3.2947 | 9999 | 9999 | 999.9 | 9999 | 4.9697 | 1.8641 | 1.8656 | 1.8674 | 1.8644 | 1.8681 | 1.8648 | 1.8668 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.942 | -0.1334 | 0.5483 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.068872 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1.1 | 1.1 | 1.0522 | 2.5928 | 1.3477 | 2.2607 | 1.5503 | 2.4707 | 39.7925 | 23.9649 | 18 | 502.342 | 468.231 | 21.8092 | 28.8256 | 30 | 28.8223 | 28.838 | 21.069 | 27.37 | 32.4699 | 21.8132 | 400 | 15.62 | 101.579 | 97.2327
7 | 1791613226 | 739 | 20261010 15:20:26 | 15:20:26 | 5 | 1791613222.5 | 0.0051094 | 5.1094 | 20.4408 | 391.0255 | 293.7247 | 29.7291 | 39.5773 | 0.38695 | 3.0308 | 0.36145 | 0.22806 | 241.7366 | 25.433 | 25.0112 | 3.1818 | 55.0512 | 1.7862 | 3.2445 | 1.3956 | -225.3263 | 53.5882 | 3.7466 | 73.7452 | 0 | 0 | 1 | 0 | 53804.7272 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2094 | 20.4408 | #DIV/0! | 0.016207 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.9983 | 1261.2094 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791613222.5 | 391.0255 | 400.0007 | 17.6474 | 15.6397 | 390.1238 | 17.7792 | 500.0187 | 101.1142 | 0.099899 | 25.3392 | 25.0112 | 999.9 | 0 | 0 | 10007.9083 | 0 | 6.8746 | -8.9753 | 398.05 | 406.3562 | 2.0076 | 400.0007 | 15.6397 | 1.7844 | 1.5814 | 15.6508 | 13.7787 | 1499.9983 | 0.973 | 0.026998 | 0 | 359.5158 | 5.0006 | 5559.5767 | 15439.2333 | 41.1767 | 41.875 | 41.5 | 41.5207 | 42.687 | 1454.6383 | 40.36 | 0 | 1791613226.7 | 0 | 359.4956 | 0.433 | 3.8292 | 5559.3304 | 15 | 1791613166 | 15:19:26 | 1791613166 | 1791613163 | 74 | -0.04 | 0 | 0.907 | -0.18 | 400 | 16 | 0.17 | 0.05 | 20.3811 | 0.3519 | 0.10009 | 1 | -8.9535 | -0.14835 | 0.038906 | 1 | 359.4826 | 0.29561 | 0.20329 | -1 | 2 | 2 | 2/2 | 3.1233 | 2.7652 | 0.08602 | 0.089845 | 0.093824 | 0.088916 | 17778.8 | 26698.5 | 22732.6 | 30060.7 | 33798.9 | 34126.2 | 43022.7 | 42821.5 | 1.9646 | 1.7921 | 0.054333 | 0 | 24.1198 | 999.9 | 37.675 | 33.828 | 19.7168 | 63.2835 | 33.75 | 1 | 0.12456 | 2.5001 | 20.1394 | 5.2339 | 11.9625 | 4.9692 | 3.2952 | 9999 | 9999 | 999.9 | 9999 | 4.9697 | 1.8641 | 1.8656 | 1.8674 | 1.8644 | 1.8681 | 1.8649 | 1.8668 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.901 | -0.1319 | 0.50819 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.068823 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1 | 1.1 | 1.0522 | 2.5915 | 1.3464 | 2.2595 | 1.5503 | 2.5977 | 39.8428 | 23.9649 | 18 | 502.395 | 467.892 | 21.6961 | 28.8281 | 30.0001 | 28.8247 | 28.8404 | 21.0637 | 26.7971 | 31.9546 | 21.6909 | 400 | 15.6577 | 101.578 | 97.2309
8 | 1791613347.1 | 860.1 | 20261010 15:22:27 | 15:22:27 | 5 | 1791613344.1 | 0.0050133 | 5.0133 | 26.2421 | 688.1404 | 557.2345 | 56.3996 | 69.649 | 0.38024 | 3.0287 | 0.35557 | 0.22431 | 241.7324 | 25.4539 | 24.9921 | 3.1782 | 55.0613 | 1.7861 | 3.2439 | 1.392 | -221.0851 | 56.1199 | 3.9259 | 80.6931 | 0 | 0 | 1 | 0 | 53739.5617 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1873 | 26.2421 | #DIV/0! | 0.020807 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.972 | 1261.1873 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791613344.1 | 688.1404 | 700.0178 | 17.6471 | 15.6771 | 687.1122 | 17.7759 | 499.9744 | 101.1134 | 0.099995 | 25.3358 | 24.9921 | 999.9 | 0 | 0 | 9995.23 | 0 | 6.8746 | -11.8773 | 700.5022 | 711.1668 | 1.97 | 700.0178 | 15.6771 | 1.7844 | 1.5852 | 15.6505 | 13.8154 | 1499.972 | 0.973 | 0.026999 | 0 | 353.561 | 5.0006 | 5469.372 | 15438.96 | 41.187 | 41.875 | 41.5124 | 41.5496 | 42.687 | 1454.612 | 40.36 | 0 | 1791613347.9 | 0 | 353.4996 | -0.29531 | -14.9385 | 5470.4888 | 15 | 1791613288 | 15:21:28 | 1791613285 | 1791613288 | 75 | 0.023 | 0.003 | 1.031 | -0.175 | 700 | 16 | 0.11 | 0.03 | 26.0616 | 0.39637 | 0.12018 | 1 | -11.8122 | -0.24899 | 0.054035 | 1 | 353.7576 | -3.7385 | 0.48468 | -1 | 2 | 2 | 2/2 | 3.1234 | 2.7652 | 0.12942 | 0.13436 | 0.093775 | 0.089063 | 16932.9 | 25390.1 | 22730.6 | 30058.1 | 33801.4 | 34121.2 | 43020.1 | 42818.3 | 1.9646 | 1.792 | 0.053402 | 0 | 24.1195 | 999.9 | 37.59 | 33.878 | 19.7299 | 63.3853 | 33.734 | 1 | 0.12578 | 2.3344 | 20.1418 | 5.2336 | 11.9625 | 4.9676 | 3.2955 | 9999 | 9999 | 999.9 | 9999 | 4.9697 | 1.8641 | 1.8656 | 1.8674 | 1.8644 | 1.8681 | 1.8649 | 1.8668 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 1.028 | -0.1292 | 0.53149 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.065707 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1 | 1 | 1.6345 | 2.5842 | 1.3477 | 2.2595 | 1.5503 | 2.439 | 39.8932 | 23.9649 | 18 | 502.5 | 467.924 | 21.7965 | 28.8463 | 30.0001 | 28.837 | 28.8522 | 32.7233 | 26.8302 | 31.4559 | 21.8024 | 700 | 15.6528 | 101.571 | 97.2232
9 | 1791613497.1 | 1010.1 | 20261010 15:24:57 | 15:24:57 | 5 | 1791613493.6 | 0.0045959 | 4.5959 | 27.4959 | 987.0947 | 830.9285 | 84.0976 | 99.903 | 0.34187 | 3.0285 | 0.32178 | 0.20282 | 241.7323 | 25.5294 | 25.0407 | 3.1874 | 54.8874 | 1.7773 | 3.2381 | 1.4101 | -202.6794 | 43.2938 | 3.0292 | 85.3759 | 0 | 0 | 1 | 0 | 53738.2869 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.187 | 27.4959 | #DIV/0! | 0.021802 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.9717 | 1261.187 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791613493.6 | 987.0947 | 999.9062 | 17.5609 | 15.755 | 986.0887 | 17.6906 | 500.0587 | 101.1092 | 0.099986 | 25.3059 | 25.0407 | 999.9 | 0 | 0 | 9994.375 | 0 | 6.8746 | -12.8114 | 1004.74 | 1015.9133 | 1.8059 | 999.9062 | 15.755 | 1.7756 | 1.593 | 15.5733 | 13.891 | 1499.9717 | 0.973 | 0.026998 | 0 | 353.8418 | 5.0006 | 5477.7483 | 15438.9167 | 41.187 | 41.875 | 41.5103 | 41.562 | 42.687 | 1454.6117 | 40.36 | 0 | 1791613497.9 | 0 | 353.804 | 2.3314 | 30.1654 | 5476.2124 | 15 | 1791613411.1 | 15:23:31 | 1791613411.1 | 1791613403.1 | 76 | -0.107 | 0.001 | 1.012 | -0.173 | 1000 | 16 | 0.16 | 0.05 | 27.5858 | 0.12654 | 0.23334 | 1 | -12.8753 | 0.28438 | 0.092661 | 1 | 353.6822 | 0.92865 | 0.20482 | -1 | 2 | 2 | 2/2 | 3.1231 | 2.7652 | 0.16394 | 0.16958 | 0.093497 | 0.089378 | 16261.1 | 24357.8 | 22730.3 | 30059.2 | 33813.8 | 34113.2 | 43019.6 | 42820.1 | 1.9649 | 1.7918 | 0.053775 | 0 | 24.1381 | 999.9 | 37.437 | 33.939 | 19.7156 | 63.2353 | 34.4671 | 1 | 0.12769 | 2.8316 | 20.134 | 5.2344 | 11.9622 | 4.9691 | 3.2955 | 9999 | 9999 | 999.9 | 9999 | 4.9697 | 1.8641 | 1.8656 | 1.8674 | 1.8644 | 1.8681 | 1.8648 | 1.8668 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 1.006 | -0.1297 | 0.42474 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.064344 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1.4 | 1.6 | 2.1753 | 2.5574 | 1.3464 | 2.2607 | 1.5503 | 2.6526 | 39.9437 | 23.9649 | 18 | 502.746 | 467.867 | 21.4113 | 28.8577 | 30.0002 | 28.8419 | 28.8576 | 43.5624 | 26.2557 | 30.9136 | 21.3737 | 1000 | 15.8259 | 101.57 | 97.227
10 | 1791613642.1 | 1155.1 | 20261010 15:27:22 | 15:27:22 | 5 | 1791613638.6 | 0.0040922 | 4.0922 | 28.3633 | 1186.6767 | 1006.2586 | 101.844 | 120.1042 | 0.30524 | 3.0291 | 0.28912 | 0.18208 | 241.7355 | 25.595 | 24.9699 | 3.174 | 55.0625 | 1.7765 | 3.2263 | 1.3975 | -180.4681 | 44.819 | 3.1331 | 109.2196 | 0 | 0 | 1 | 0 | 53769.4189 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2038 | 28.3633 | #DIV/0! | 0.022489 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.9917 | 1261.2038 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791613638.6 | 1186.6767 | 1199.965 | 17.5523 | 15.9441 | 1185.0567 | 17.6777 | 499.9795 | 101.1105 | 0.10007 | 25.2444 | 24.9699 | 999.9 | 0 | 0 | 9998.125 | 0 | 6.82 | -13.2893 | 1207.875 | 1219.4067 | 1.6082 | 1199.965 | 15.9441 | 1.7747 | 1.6121 | 15.5659 | 14.0751 | 1499.9917 | 0.973 | 0.026998 | 0 | 355.4725 | 5.0006 | 5497.675 | 15439.1333 | 41.187 | 41.9163 | 41.562 | 41.562 | 42.6975 | 1454.6317 | 40.36 | 0 | 1791613643.1 | 0 | 355.2133 | 2.3429 | 29.4162 | 5495.794 | 15 | 1791613572.1 | 15:26:12 | 1791613572.1 | 1791613557.1 | 77 | 0.498 | 0.005 | 1.63 | -0.165 | 1200 | 16 | 0.44 | 0.03 | 28.4237 | 0.55093 | 0.13879 | 1 | -13.3185 | -0.069 | 0.055401 | 1 | 355.0387 | 3.0719 | 0.35087 | -1 | 2 | 2 | 2/2 | 3.1235 | 2.7653 | 0.18374 | 0.18982 | 0.093408 | 0.090151 | 15876.2 | 23764.2 | 22730.7 | 30059.4 | 33818.9 | 34085.5 | 43020.2 | 42820.1 | 1.965 | 1.7924 | 0.052974 | 0 | 24.1111 | 999.9 | 37.309 | 34.009 | 19.7259 | 63.0453 | 33.75 | 1 | 0.12552 | 2.4182 | 20.1408 | 5.2338 | 11.9625 | 4.969 | 3.2954 | 9999 | 9999 | 999.9 | 9999 | 4.9697 | 1.8641 | 1.8656 | 1.8674 | 1.8644 | 1.8681 | 1.8649 | 1.8668 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 1.61 | -0.1256 | 0.92361 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.059609 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1.2 | 1.4 | 2.5183 | 2.5476 | 1.3464 | 2.2595 | 1.5503 | 2.7368 | 39.9942 | 23.9737 | 18 | 502.83 | 468.25 | 21.5488 | 28.8602 | 30 | 28.8444 | 28.8582 | 50.4177 | 25.2624 | 30.8071 | 21.569 | 1200 | 15.9142 | 101.572 | 97.2273
11 | 1791613790.1 | 1303.1 | 20261010 15:29:50 | 15:29:50 | 5 | 1791613787.1 | 0.0034419 | 3.4419 | 28.2233 | 1486.622 | 1269.047 | 128.4383 | 150.4587 | 0.25198 | 3.0305 | 0.24089 | 0.15151 | 241.7343 | 25.6857 | 24.9871 | 3.1772 | 54.9921 | 1.7665 | 3.2123 | 1.4108 | -151.7875 | 30.0582 | 2.0997 | 122.1048 | 0 | 0 | 1 | 0 | 53824.7194 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1974 | 28.2233 | #DIV/0! | 0.022378 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.984 | 1261.1974 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791613787.1 | 1486.622 | 1499.956 | 17.454 | 16.1015 | 1484.492 | 17.5807 | 500.0766 | 101.1084 | 0.10005 | 25.1711 | 24.9871 | 999.9 | 0 | 0 | 10006.5 | 0 | 6.82 | -13.3325 | 1513.034 | 1524.506 | 1.3525 | 1499.956 | 16.1015 | 1.7647 | 1.628 | 15.478 | 14.2264 | 1499.984 | 0.973 | 0.026998 | 0 | 356.9678 | 5.0006 | 5520.472 | 15439.06 | 41.187 | 41.937 | 41.5496 | 41.562 | 42.687 | 1454.624 | 40.36 | 0 | 1791613791.3 | 0 | 356.6544 | 3.0442 | 42.0571 | 5517.3973 | 15 | 1791613713.1 | 15:28:33 | 1791613713.1 | 1791613706.1 | 78 | 0.153 | 0.001 | 2.157 | -0.163 | 1500 | 16 | 0.2 | 0.05 | 28.5395 | -0.26854 | 0.41509 | 1 | -13.4781 | 0.35579 | 0.16803 | 1 | 356.2896 | 4.091 | 0.46489 | -1 | 2 | 2 | 2/2 | 3.1234 | 2.7653 | 0.21012 | 0.21671 | 0.093092 | 0.090777 | 15361.3 | 22973.1 | 22728.2 | 30056.6 | 33829.4 | 34061 | 43016.1 | 42816.6 | 1.9646 | 1.7925 | 0.056244 | 0 | 24.0559 | 999.9 | 37.218 | 34.07 | 19.7441 | 63.1853 | 33.9864 | 1 | 0.12753 | 2.3388 | 20.1421 | 5.2338 | 11.962 | 4.9686 | 3.2955 | 9999 | 9999 | 999.9 | 9999 | 4.9697 | 1.8641 | 1.8656 | 1.8674 | 1.8645 | 1.8681 | 1.8649 | 1.8668 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 2.14 | -0.1265 | 1.076 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.058355 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1.3 | 1.4 | 3.009 | 2.5354 | 1.3464 | 2.2595 | 1.5503 | 2.7173 | 40.0447 | 23.9649 | 18 | 502.717 | 468.5 | 21.3266 | 28.8824 | 29.9993 | 28.864 | 28.8772 | 60.2247 | 24.5021 | 30.6299 | 21.3451 | 1500 | 16.1351 | 101.561 | 97.2189
12 | 1791613911.1 | 1424.1 | 20261010 15:31:51 | 15:31:51 | 5 | 1791613907.6 | 0.0030744 | 3.0744 | 27.1192 | 1787.0217 | 1546.5131 | 156.5233 | 180.8652 | 0.22196 | 3.0288 | 0.2133 | 0.13406 | 241.7384 | 25.7142 | 25.0348 | 3.1863 | 55.1001 | 1.7632 | 3.1999 | 1.4231 | -135.5817 | 11.7161 | 0.8188 | 118.6916 | 0 | 0 | 1 | 0 | 53786.0998 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2192 | 27.1192 | #DIV/0! | 0.021502 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.01 | 1261.2192 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791613907.6 | 1787.0217 | 1800.0667 | 17.4208 | 16.2125 | 1784.1783 | 17.5457 | 500.0108 | 101.1103 | 0.1001 | 25.1066 | 25.0348 | 999.9 | 0 | 0 | 9996.5583 | 0 | 6.82 | -13.0413 | 1818.7067 | 1829.7283 | 1.2083 | 1800.0667 | 16.2125 | 1.7614 | 1.6393 | 15.4486 | 14.3328 | 1500.01 | 0.973 | 0.026997 | 0 | 357.738 | 5.0006 | 5535.7367 | 15439.3333 | 41.187 | 41.937 | 41.562 | 41.562 | 42.687 | 1454.65 | 40.36 | 0 | 1791613911.9 | 0 | 357.9675 | -2.4198 | -29.9069 | 5537.7764 | 15 | 1791613873.1 | 15:31:13 | 1791613713.1 | 1791613854.1 | 79 | 0.153 | 0.003 | 2.157 | -0.153 | 1500 | 16 | 0.2 | 0.06 | 27.0583 | -0.31661 | 0.21156 | 1 | -13.0171 | -0.10891 | 0.077831 | 1 | 358.1683 | -2.7103 | 0.30017 | -1 | 2 | 2 | 2/2 | 3.1233 | 2.7651 | 0.23344 | 0.24047 | 0.092848 | 0.091215 | 14907 | 22275.3 | 22727.4 | 30055.4 | 33839.1 | 34044.7 | 43014.7 | 42814.7 | 1.9643 | 1.7924 | 0.062421 | 0 | 24.0064 | 999.9 | 37.163 | 34.12 | 19.7696 | 63.3254 | 33.9704 | 1 | 0.13141 | 2.9638 | 20.1319 | 5.2341 | 11.9625 | 4.9678 | 3.2955 | 9999 | 9999 | 999.9 | 9999 | 4.9697 | 1.8641 | 1.8656 | 1.8674 | 1.8644 | 1.8681 | 1.8649 | 1.8668 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 2.85 | -0.1254 | 1.076 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.055578 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 3.3 | 0.9 | 3.4729 | 2.5024 | 1.3477 | 2.2607 | 1.5503 | 2.7185 | 40.0953 | 23.9649 | 18 | 502.66 | 468.541 | 21.1327 | 28.8997 | 30.0003 | 28.8812 | 28.892 | 69.5194 | 24.1624 | 30.6299 | 21.1203 | 1800 | 16.2342 | 101.558 | 97.2149

## Remarks
File opened | 2026-10-10 14:29:48
Console s/n | 68C-812349
Console ver | Bluestem v.2.1.13
Scripts ver | 2024.01 2.1.13, Apr 2024
Head s/n | 68H-982339
Head ver | 1.4.23
Head cal | {"flowbzero": "0.27399", "h2oaspan1": "1.0301", "co2bspanconc2": "1516", "co2bspanconc1": "437.6", "h2oazero": "1.14957", "ssa_ref": "32366.8", "co2bspan2a": "0.0952815", "ssb_ref": "37478.9", "tazero": "0.0951138", "co2aspan1": "0.99333", "co2azero": "1.16194", "h2obspan1": "0.995823", "co2aspanconc2": "1516", "h2obspanconc1": "21.96", "h2obspan2": "0", "h2oaspanconc1": "21.96", "tbzero": "0.145187", "chamberpressurezero": "2.61687", "co2bzero": "1.02053", "h2oaspanconc2": "0", "co2aspan2a": "0.0929659", "oxygen": "21", "h2obzero": "1.13925", "co2bspan2b": "0.0947811", "co2bspan2": "0.00898303", "co2aspan2": "0.0108874", "h2obspan2a": "0.112101", "flowmeterzero": "2.5072", "flowazero": "0.316", "co2bspan1": "0.993892", "h2obspan2b": "0.111633", "co2aspan2b": "0.0924399", "h2obspanconc2": "0", "h2oaspan2b": "0.111609", "h2oaspan2a": "0.108347", "h2oaspan2": "0", "co2aspanconc1": "437.6"}
Factory cal date | 04 Oct 2022
CO2 rangematch | Tue Sep 15 09:35
H2O rangematch | Tue Sep 15 09:41
Chamber type | 6800-01A
Chamber s/n | MPF-282040
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-282040
Flr. Version | 1.4.23
14:29:48 | Stability Definition: A (GasEx): Slp<0.6 Per=20 ΔCO2 (Meas2): Slp<0.5 Per=20 F (FlrLS): Per=20