## Measurements
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 2 cm² | 0.572 | 0.38727 | -0.018706 | 0 | -0.0073739 | 1 | 2 | 96.9
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.8 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.1911 | 0.1512 | 0.161 | 0.2262 | 0.1575 | 0.1596 | 0.2175
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 4.38209 210.944 349.831 586.709 869.356 1077.05 1247.6 1358.57 | 0.620429 237.749 373.713 581.984 811.989 1001.17 1203.08 1400.83 | 0
SysObs | SysObs | SysObs | SysObs | SysObs | SysObs | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Leak | Leak | Leak | Leak | Leak | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | Meas2 | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrStats | FlrStats | FlrStats | FlrStats | FlrStats | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Raw | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Status2 | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | Auxiliary | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | averaging | TIME | E | Emm | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Leak | LeakPct | CorrFact | CorrFactPct | Fan | DarkAdaptedID | Qmax_d | Fo | Fm | Fv/Fm | A_dark | LightAdaptedID | Qmax | Fs | Fm' | PhiPS2 | PS2/1 | Qabs_fs | A_fs | ETR | PhiCO2 | NPQ | alt._Fo' | DarkPulseID | Fmin | Fo' | Fv'/Fm' | qP | qN | qP_Fo | qN_Fo | qL | 1-qL | ID | P1_dur | P1_Fmax | T@P1_Fmax | Q@P1_Fmax | P1_PredF | P1_ΔF | P2_dur | P2_ramp | P2_int | P2_int_se | P2_slp | P2_slp_se | P2_R2 | P2_dQdt | P3_dur | P3_Fmax | T@P3_Fmax | Q@P3_Fmax | P3_PredF | P3_ΔF | ID | Dur | DCo | InitSlope | Fo | F1 | T@F1 | T@HIR | F2 | T@F2 | DCmax | T@DCmax | PhiPS2_dc | Qin | Qabs | alpha | convert | S | K | Geometry | Custom | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | ΔCO2 | CO2_s_d | CO2_r_d | ΔH2O | CO2_b | H2O_b | e_s | e_r | Td_s | Td_r | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | F_avg | dF/dt | dF_dc/dt | F_dc_avg | period | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | A:MN | A:SLP | A:SD | A:OK | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | F:MN | F:SLP | F:SD | F:OK | Stable | Total | State | Vflow | VPchamber | abs_c_a | abs_c_b | abs_h_a | abs_h_b | Wc_s | Wc_r | Wco_s | Wco_r | Ww_s | Ww_r | Wwo_s | Wwo_r | Flow_s_v | Flow_r_v | Tleaf_mv | Tleaf2_mv | Tleaf_j | Tleaf2_j | Console_RH | Console_T | Console_H2O | Fan_% | Flow_% | Pump | Tchp_pwm | Txchg_pwm | diag_20v | diag_5_4v | diag_12v | diag_5va | diag_3_3vf | AccH2O_des | AccH2O_hum | CO2_hrs | AccCO2_soda | ADC_CH1 | ADC_CH2 | ADC_CH3 | ADC_CH4 | ADC_CH5 | ADC_CH6 | ADC_CH7 | ADC_CH8 | DAC_1 | DAC_2 | DAC_3 | DAC_4 | GPIO | GPIO_dir | excit_5v | power_12v | power_5v | ch1_pullup | AuxPower | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | CO2_f | CO2_f_s | Pump_f | Pump_f_s | Pump_p | Pump_p_s | Tboard | V_system | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s | s | mol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol s⁻¹ | % |  | % | µmol s⁻¹ | [5 empty] | µmol m⁻² s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol µmol⁻¹ | [13 empty] | ms |  | ms | µmol m⁻² s⁻¹ |  |  | ms | % |  |  | centimol m⁻² s⁻¹ | centimol m⁻² s⁻¹ |  | mol m⁻² s⁻² | ms |  | ms | µmol m⁻² s⁻¹ |  |  |  | ms |  | s⁻¹ |  |  | ms | ms |  | ms |  | ms |  | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | mol m⁻² s⁻¹ | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | kPa | kPa | °C | °C | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  |  | min⁻¹ | min⁻¹ |  | s | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ min⁻¹ | µmol m⁻² s⁻¹ |  | µmol mol⁻¹ | µmol mol⁻¹ min⁻¹ | µmol mol⁻¹ |  |  | min⁻¹ | [5 empty] | V | V | [12 empty] | V | V | mV | mV | °C | °C | % | °C | mmol mol⁻¹ | % | % |  | V | V | V | V | V | V | V | mg | mg | hrs | mg | [18 empty] | V | % | % | µmol/mol | mmol/mol | µmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min | V | V | V | V | V | V | °C | V |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | % | bar: ADC_CH1 to DAC_4
1 | 1791616777.1 | 0 | 20261010 16:19:37 | 16:19:37 | 5 | 1791616774.1 | 0.0050275 | 5.0275 | 22.3382 | 390.2984 | 282.7598 | 28.6167 | 39.5001 | 0.37869 | 3.0294 | 0.35422 | 0.22346 | 241.7317 | 25.365 | 24.998 | 3.1793 | 55.0923 | 1.7781 | 3.2275 | 1.4012 | -221.712 | 41.2189 | 2.8817 | 64.1203 | 0 | 0 | 1 | 0 | 53777.4497 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1839 | 22.3382 | #DIV/0! | 0.017712 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.968 | 1261.1839 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791616774.1 | 390.2984 | 400.0168 | 17.5691 | 15.5938 | 389.3268 | 17.6986 | 500.0916 | 101.1048 | 0.10008 | 25.2504 | 24.998 | 999.9 | 0 | 0 | 10000.48 | 0 | 6.4556 | -9.7185 | 397.2782 | 406.3536 | 1.9753 | 400.0168 | 15.5938 | 1.7763 | 1.5766 | 15.58 | 13.7321 | 1499.968 | 0.973 | 0.026999 | 0 | 348.2948 | 5.0006 | 5382.446 | 15438.9 | 40.687 | 41.375 | 41 | 41.062 | 42.25 | 1454.608 | 40.36 | 0 | 1791616778.1 | 0 | 348.4063 | -0.81788 | -16.2178 | 5383.9265 | 15 | 1791616720.1 | 16:18:40 | 1791616717.1 | 1791616720.1 | 81 | -0.003 | 0 | 0.977 | -0.175 | 400 | 16 | 0.3 | 0.05 | 22.3582 | 0.12484 | 0.091196 | 1 | -9.738 | -0.02782 | 0.037349 | 1 | 348.4473 | -0.22576 | 0.15438 | -1 | 2 | 2 | 2/2 | 3.1236 | 2.7654 | 0.086036 | 0.09 | 0.093674 | 0.088869 | 17801.1 | 26730.2 | 22758.8 | 30099.2 | 33836.9 | 34167.1 | 43066 | 42871.2 | 1.9724 | 1.803 | 0.064395 | 0 | 23.9459 | 999.9 | 35.966 | 34.11 | 19.1233 | 63.1165 | 33.8502 | 1 | 0.070818 | 1.9785 | 20.2185 | 5.2336 | 11.962 | 4.9691 | 3.2952 | 9999 | 9999 | 999.9 | 9999 | 4.9687 | 1.8629 | 1.8644 | 1.8663 | 1.8633 | 1.8669 | 1.8637 | 1.8656 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.971 | -0.1295 | 0.57851 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.064244 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1 | 0.9 | 1.0522 | 2.5647 | 1.3464 | 2.2595 | 1.5503 | 2.7527 | 38.6487 | 16.2422 | 18 | 501.001 | 469.077 | 21.8348 | 28.1315 | 30 | 28.0994 | 28.1106 | 21.0763 | 23.9556 | 30.576 | 21.8429 | 400 | 15.5803 | 101.686 | 97.3487
2 | 1791616898.1 | 121 | 20261010 16:21:38 | 16:21:38 | 5 | 1791616895.1 | 0.0050994 | 5.0994 | 16.5887 | 292.7954 | 213.8831 | 21.6467 | 29.6333 | 0.38433 | 3.0285 | 0.35914 | 0.22659 | 241.7378 | 25.3243 | 24.9908 | 3.1779 | 55.1038 | 1.7761 | 3.2231 | 1.4019 | -224.8835 | 38.6984 | 2.7059 | 58.2585 | 0 | 0 | 1 | 0 | 53752.4302 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2158 | 16.5887 | #DIV/0! | 0.013153 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.006 | 1261.2158 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791616895.1 | 292.7954 | 300.0258 | 17.5486 | 15.5453 | 292.0654 | 17.6799 | 500.161 | 101.108 | 0.10017 | 25.2278 | 24.9908 | 999.9 | 0 | 0 | 9994.51 | 0 | 6.4927 | -7.2306 | 298.0252 | 304.7638 | 2.0033 | 300.0258 | 15.5453 | 1.7743 | 1.5717 | 15.5622 | 13.6846 | 1500.006 | 0.973 | 0.026998 | 0 | 344.2606 | 5.0006 | 5321.956 | 15439.28 | 40.687 | 41.375 | 41 | 41.062 | 42.25 | 1454.646 | 40.36 | 0 | 1791616899.3 | 0 | 344.4481 | 0.12154 | -6.7323 | 5322.29 | 15 | 1791616843.1 | 16:20:43 | 1791616843.1 | 1791616841.1 | 82 | -0.181 | -0.001 | 0.735 | -0.177 | 300 | 16 | 0.39 | 0.03 | 16.5152 | 0.47078 | 0.082944 | 1 | -7.2051 | -0.14022 | 0.032137 | 1 | 344.4604 | -0.61552 | 0.16528 | -1 | 2 | 2 | 2/2 | 3.1236 | 2.7653 | 0.068566 | 0.071784 | 0.093592 | 0.088667 | 18141.2 | 27264.8 | 22758.6 | 30098.6 | 33838.1 | 34173.1 | 43064.8 | 42870.7 | 1.9722 | 1.8027 | 0.063106 | 0 | 23.947 | 999.9 | 35.93 | 34.08 | 19.0726 | 63.2865 | 33.8542 | 1 | 0.072759 | 2.0063 | 20.2185 | 5.2291 | 11.962 | 4.9692 | 3.2953 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8628 | 1.8643 | 1.8661 | 1.8631 | 1.8668 | 1.8636 | 1.8655 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.73 | -0.1315 | 0.39785 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.065621 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 0.9 | 0.9 | 0.84595 | 2.5696 | 1.3464 | 2.2583 | 1.5503 | 2.6611 | 38.4034 | 16.1897 | 18 | 501.077 | 469.007 | 21.7446 | 28.1542 | 30 | 28.1225 | 28.1321 | 16.9356 | 23.9651 | 30.4657 | 21.7801 | 300 | 15.5714 | 101.684 | 97.3472
3 | 1791617019.1 | 242 | 20261010 16:23:39 | 16:23:39 | 5 | 1791617016.1 | 0.0051008 | 5.1008 | 9.5488 | 195.789 | 149.8223 | 15.1631 | 19.8153 | 0.38491 | 3.0282 | 0.35964 | 0.22691 | 241.7368 | 25.31 | 24.973 | 3.1746 | 55.0932 | 1.7743 | 3.2205 | 1.4003 | -224.9453 | 39.3252 | 2.7495 | 58.8663 | 0 | 0 | 1 | 0 | 53746.8192 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2108 | 9.5488 | #DIV/0! | 0.0075712 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500 | 1261.2108 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791617016.1 | 195.789 | 200.0076 | 17.5309 | 15.5265 | 195.204 | 17.6657 | 500.0478 | 101.1072 | 0.10009 | 25.2139 | 24.973 | 999.9 | 0 | 0 | 9993.02 | 0 | 6.4381 | -4.2185 | 199.2828 | 203.162 | 2.0044 | 200.0076 | 15.5265 | 1.7725 | 1.5698 | 15.5463 | 13.6659 | 1500 | 0.973 | 0.026998 | 0 | 344.216 | 5.0006 | 5318.408 | 15439.22 | 40.687 | 41.375 | 41 | 41.062 | 42.25 | 1454.64 | 40.36 | 0 | 1791617019.9 | 0 | 344.2783 | -0.56646 | -13.0185 | 5319.55 | 15 | 1791616968.1 | 16:22:48 | 1791616968.1 | 1791616960.1 | 83 | -0.062 | -0.003 | 0.589 | -0.181 | 200 | 16 | 0.32 | 0.03 | 9.6114 | -0.18409 | 0.11867 | 1 | -4.2483 | 0.12256 | 0.049625 | 1 | 344.3193 | -0.97837 | 0.21676 | -1 | 2 | 2 | 2/2 | 3.1235 | 2.7651 | 0.048795 | 0.051071 | 0.093515 | 0.088589 | 18526.3 | 27872.2 | 22758.6 | 30097.4 | 33839.6 | 34173.5 | 43064.5 | 42869.5 | 1.9721 | 1.8028 | 0.064038 | 0 | 23.9198 | 999.9 | 35.954 | 34.039 | 19.0408 | 63.0665 | 34.1146 | 1 | 0.073415 | 1.9889 | 20.219 | 5.2324 | 11.962 | 4.9679 | 3.2951 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8628 | 1.8643 | 1.8661 | 1.8631 | 1.8668 | 1.8636 | 1.8655 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.585 | -0.1351 | 0.33546 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.068724 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 0.8 | 1 | 0.62988 | 2.5903 | 1.3477 | 2.2583 | 1.5503 | 2.428 | 38.208 | 16.1459 | 18 | 501.144 | 469.26 | 21.8173 | 28.1662 | 30.0001 | 28.1392 | 28.1511 | 12.6319 | 23.9746 | 30.3852 | 21.8234 | 200 | 15.531 | 101.683 | 97.344
4 | 1791617140.1 | 363 | 20261010 16:25:40 | 16:25:40 | 5 | 1791617137.1 | 0.0051556 | 5.1556 | 2.7499 | 98.6994 | 84.6403 | 8.5662 | 9.989 | 0.38904 | 3.0289 | 0.36326 | 0.22921 | 241.7372 | 25.32 | 24.9933 | 3.1784 | 55.1062 | 1.7772 | 3.225 | 1.4012 | -227.3641 | 39.9128 | 2.7905 | 57.0763 | 0 | 0 | 1 | 0 | 53765.2635 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2125 | 2.7499 | #DIV/0! | 0.0021804 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.002 | 1261.2125 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791617137.1 | 98.6994 | 100.0029 | 17.56 | 15.534 | 98.5198 | 17.697 | 500.0114 | 101.1066 | 0.10013 | 25.2378 | 24.9933 | 999.9 | 0 | 0 | 9997.49 | 0 | 6.4381 | -1.3035 | 100.4634 | 101.581 | 2.026 | 100.0029 | 15.534 | 1.7754 | 1.5706 | 15.5721 | 13.6732 | 1500.002 | 0.973 | 0.026998 | 0 | 348.9624 | 5.0006 | 5385.108 | 15439.28 | 40.6996 | 41.375 | 41.0124 | 41.062 | 42.25 | 1454.642 | 40.36 | 0 | 1791617141.1 | 0 | 348.7808 | 1.3015 | 9.0608 | 5384.6528 | 15 | 1791617083.1 | 16:24:43 | 1791617083.1 | 1791617081.1 | 84 | -0.297 | -0.003 | 0.181 | -0.184 | 100 | 16 | 0.3 | 0.03 | 2.701 | -0.021834 | 0.08624 | 1 | -1.291 | 0.028216 | 0.036409 | 1 | 348.7709 | 0.52142 | 0.1793 | -1 | 2 | 2 | 2/2 | 3.1233 | 2.7651 | 0.026156 | 0.027238 | 0.093705 | 0.088615 | 18966 | 28571.4 | 22757.1 | 30096.4 | 33829.1 | 34170.2 | 43062.1 | 42868.5 | 1.9718 | 1.8026 | 0.065155 | 0 | 23.9258 | 999.9 | 35.966 | 33.999 | 19.006 | 63.4465 | 34.2628 | 1 | 0.075102 | 2.0524 | 20.2183 | 5.2335 | 11.962 | 4.9691 | 3.2951 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8628 | 1.8643 | 1.8661 | 1.8631 | 1.8668 | 1.8636 | 1.8654 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.18 | -0.1367 | 0.037974 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.071786 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 0.9 | 1 | 0.40894 | 2.5854 | 1.3464 | 2.2595 | 1.5503 | 2.738 | 38.0134 | 16.1371 | 18 | 501.18 | 469.293 | 21.828 | 28.1878 | 30 | 28.1614 | 28.1726 | 8.2009 | 23.7738 | 30.3065 | 21.8307 | 100 | 15.5 | 101.677 | 97.3413
5 | 1791617261.1 | 484 | 20261010 16:27:41 | 16:27:41 | 5 | 1791617257.6 | 0.0053989 | 5.3989 | -1.0312 | 50.2739 | 53.4149 | 5.4059 | 5.088 | 0.40705 | 3.0285 | 0.37891 | 0.23919 | 241.7342 | 25.2563 | 24.9939 | 3.1785 | 54.9458 | 1.7718 | 3.2246 | 1.4068 | -238.0909 | 39.4279 | 2.757 | 45.8282 | 0 | 0 | 1 | 0 | 53753.0293 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1968 | -1.0312 | #DIV/0! | -0.00081763 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.9833 | 1261.1968 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791617257.6 | 50.2739 | 49.9699 | 17.5066 | 15.3846 | 50.1484 | 17.644 | 499.9328 | 101.106 | 0.099986 | 25.2354 | 24.9939 | 999.9 | 0 | 0 | 9995.0983 | 0 | 6.3322 | 0.30394 | 51.1696 | 50.7507 | 2.122 | 49.9699 | 15.3846 | 1.77 | 1.5555 | 15.5245 | 13.5247 | 1499.9833 | 0.973 | 0.026999 | 0 | 353.651 | 5.0006 | 5454.1317 | 15439.0667 | 40.729 | 41.375 | 41.031 | 41.062 | 42.25 | 1454.6233 | 40.36 | 0 | 1791617262.3 | 0 | 353.6348 | 0.53 | 14.6277 | 5453.3908 | 15 | 1791617203.1 | 16:26:43 | 1791617202.1 | 1791617203.1 | 85 | 0.011 | 0.001 | 0.125 | -0.183 | 50 | 16 | 0.18 | 0.03 | -0.94502 | -0.45814 | 0.071039 | 1 | 0.27109 | 0.23687 | 0.029952 | 1 | 353.5957 | 0.24212 | 0.17508 | -1 | 2 | 2 | 2/2 | 3.1234 | 2.7653 | 0.013661 | 0.014008 | 0.093459 | 0.087987 | 19208.9 | 28957.9 | 22756.6 | 30094.2 | 33837.2 | 34190.8 | 43061.2 | 42865.8 | 1.9716 | 1.8023 | 0.064522 | 0 | 23.9299 | 999.9 | 36.009 | 33.969 | 18.9972 | 63.2565 | 34.2949 | 1 | 0.077142 | 1.9622 | 20.22 | 5.2327 | 11.962 | 4.9684 | 3.2951 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8627 | 1.8643 | 1.8661 | 1.8631 | 1.8668 | 1.8636 | 1.8655 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.125 | -0.1373 | 0.049079 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.0707 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1 | 1 | 0.29663 | 2.5903 | 1.3464 | 2.2583 | 1.5503 | 2.7051 | 37.8921 | 16.1109 | 18 | 501.272 | 469.351 | 21.8582 | 28.2119 | 30.0002 | 28.1883 | 28.1989 | 5.9553 | 24.3837 | 30.1005 | 21.8643 | 50 | 15.4562 | 101.675 | 97.3348
6 | 1791617392.1 | 615 | 20261010 16:29:52 | 16:29:52 | 5 | 1791617389.1 | 0.0054759 | 5.4759 | 20.9774 | 390.737 | 297.1105 | 30.0702 | 39.546 | 0.41605 | 3.031 | 0.38673 | 0.24417 | 241.7365 | 25.3087 | 24.9939 | 3.1785 | 54.9831 | 1.7806 | 3.2384 | 1.3979 | -241.4874 | 51.2086 | 3.5791 | 55.0368 | 0 | 0 | 1 | 0 | 53817.3609 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2091 | 20.9774 | #DIV/0! | 0.016633 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.998 | 1261.2091 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791617389.1 | 390.737 | 399.9838 | 17.5931 | 15.4412 | 389.7098 | 17.7222 | 500.0016 | 101.109 | 0.099748 | 25.3073 | 24.9939 | 999.9 | 0 | 0 | 10009.776 | 0 | 6.3835 | -9.2468 | 397.7342 | 406.257 | 2.1518 | 399.9838 | 15.4412 | 1.7788 | 1.5613 | 15.6019 | 13.5816 | 1499.998 | 0.973 | 0.026998 | 0 | 340.479 | 5.0006 | 5267.346 | 15439.22 | 40.75 | 41.4246 | 41.062 | 41.1124 | 42.312 | 1454.638 | 40.36 | 0 | 1791617393.1 | 0 | 340.1821 | 4.9818 | 88.5923 | 5261.1188 | 15 | 1791617331.1 | 16:28:51 | 1791617321.1 | 1791617331.1 | 86 | 0.585 | 0.006 | 1.032 | -0.179 | 400 | 15 | 0.08 | 0.03 | 20.9214 | 0.46072 | 0.12295 | 1 | -9.2395 | -0.050102 | 0.041161 | 1 | 339.7014 | 6.5105 | 0.67479 | -1 | 2 | 2 | 2/2 | 3.1234 | 2.7653 | 0.086075 | 0.089982 | 0.09371 | 0.08823 | 17796.8 | 26725.2 | 22754.7 | 30093.2 | 33830.4 | 34185.4 | 43059.2 | 42863.9 | 1.9713 | 1.8037 | 0.061691 | 0 | 23.9736 | 999.9 | 36.033 | 33.929 | 18.9648 | 63.3265 | 33.5897 | 1 | 0.078717 | 1.8999 | 20.2205 | 5.2336 | 11.962 | 4.9689 | 3.2953 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8627 | 1.8642 | 1.8661 | 1.8631 | 1.8668 | 1.8635 | 1.8655 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 1.027 | -0.1294 | 0.63417 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.064537 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1.2 | 1 | 1.0535 | 2.5879 | 1.3477 | 2.2583 | 1.5503 | 2.6062 | 37.747 | 16.0846 | 18 | 501.323 | 470.578 | 22.0203 | 28.2365 | 30.0003 | 28.2158 | 28.2274 | 21.0807 | 24.1168 | 30.1087 | 22.0253 | 400 | 15.4615 | 101.669 | 97.331
7 | 1791617513.1 | 736 | 20261010 16:31:53 | 16:31:53 | 5 | 1791617510.1 | 0.0054231 | 5.4231 | 21.8674 | 390.3902 | 293.0147 | 29.6555 | 39.5107 | 0.41504 | 3.0291 | 0.38583 | 0.2436 | 241.7365 | 25.3714 | 24.9583 | 3.1718 | 54.9301 | 1.7841 | 3.2479 | 1.3877 | -239.1577 | 65.0472 | 4.5495 | 72.1756 | 0 | 0 | 1 | 0 | 53748.5585 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2091 | 21.8674 | #DIV/0! | 0.017338 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.998 | 1261.2091 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791617510.1 | 390.3902 | 399.9828 | 17.6279 | 15.4971 | 389.3796 | 17.7565 | 500.0638 | 101.1082 | 0.10006 | 25.3566 | 24.9583 | 999.9 | 0 | 0 | 9998.24 | 0 | 6.3835 | -9.5928 | 397.3954 | 406.279 | 2.1307 | 399.9828 | 15.4971 | 1.7823 | 1.5669 | 15.6326 | 13.637 | 1499.998 | 0.973 | 0.026998 | 0 | 344.0866 | 5.0006 | 5320.022 | 15439.22 | 40.75 | 41.437 | 41.062 | 41.0746 | 42.312 | 1454.638 | 40.36 | 0 | 1791617514.3 | 0 | 344.0666 | -0.022615 | 3.1408 | 5319.7484 | 15 | 1791617456.1 | 16:30:56 | 1791617456.1 | 1791617449.1 | 87 | -0.017 | 0 | 1.015 | -0.179 | 400 | 15 | 0.36 | 0.03 | 21.8377 | 0.40057 | 0.069335 | 1 | -9.5885 | -0.082896 | 0.023247 | 1 | 344.0203 | 0.55309 | 0.18957 | -1 | 2 | 2 | 2/2 | 3.1235 | 2.7653 | 0.086017 | 0.089978 | 0.093891 | 0.08845 | 17797.6 | 26724.9 | 22754.3 | 30092.8 | 33822.7 | 34176.8 | 43058.2 | 42863.5 | 1.9712 | 1.804 | 0.059046 | 0 | 23.9903 | 999.9 | 36.021 | 33.878 | 18.9067 | 63.5565 | 33.5857 | 1 | 0.079334 | 1.8686 | 20.2219 | 5.2332 | 11.962 | 4.968 | 3.2951 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8626 | 1.8642 | 1.8661 | 1.8631 | 1.8668 | 1.8635 | 1.8654 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 1.01 | -0.1285 | 0.6172 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.064967 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 0.9 | 1.1 | 1.0522 | 2.5903 | 1.3477 | 2.2583 | 1.5503 | 2.6184 | 37.6263 | 16.0671 | 18 | 501.433 | 470.929 | 21.9386 | 28.248 | 29.9999 | 28.2302 | 28.2419 | 21.0761 | 23.7379 | 30.05 | 21.9795 | 400 | 15.5094 | 101.667 | 97.3299
8 | 1791617635.1 | 858 | 20261010 16:33:55 | 16:33:55 | 5 | 1791617631.6 | 0.0051113 | 5.1113 | 29.5736 | 686.8123 | 543.502 | 55.0072 | 69.5115 | 0.38741 | 3.0275 | 0.36183 | 0.2283 | 241.7382 | 25.3997 | 25.0039 | 3.1804 | 55.1478 | 1.7858 | 3.2382 | 1.3946 | -225.4092 | 49.3386 | 3.4525 | 69.1201 | 0 | 0 | 1 | 0 | 53709.0288 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2178 | 29.5736 | #DIV/0! | 0.023448 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.0083 | 1261.2178 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791617631.6 | 686.8123 | 700.0465 | 17.6446 | 15.6361 | 685.5948 | 17.7696 | 499.98 | 101.1088 | 0.10005 | 25.3062 | 25.0039 | 999.9 | 0 | 0 | 9988.75 | 0 | 6.3835 | -13.2341 | 699.1485 | 711.1663 | 2.0085 | 700.0465 | 15.6361 | 1.784 | 1.5809 | 15.6475 | 13.7743 | 1500.0083 | 0.973 | 0.026998 | 0 | 346.8388 | 5.0006 | 5361.005 | 15439.3 | 40.75 | 41.437 | 41.062 | 41.062 | 42.2913 | 1454.6483 | 40.36 | 0 | 1791617636.1 | 0 | 346.8598 | -1.8833 | -33.9853 | 5363.5596 | 15 | 1791617573.1 | 16:32:53 | 1791617572.1 | 1791617573.1 | 88 | 0.104 | 0.003 | 1.221 | -0.175 | 700 | 16 | 0.16 | 0.04 | 29.4609 | -0.52879 | 0.19628 | 1 | -13.2035 | 0.27649 | 0.081701 | 1 | 347.0739 | -3.0948 | 0.36433 | -1 | 2 | 2 | 2/2 | 3.1233 | 2.7654 | 0.1294 | 0.13454 | 0.093939 | 0.089019 | 16952.2 | 25415.6 | 22753.6 | 30092.2 | 33823.1 | 34158.1 | 43057.7 | 42863.1 | 1.9712 | 1.8055 | 0.062548 | 0 | 23.98 | 999.9 | 36.033 | 33.818 | 18.8493 | 63.0866 | 34.2949 | 1 | 0.080539 | 2.1679 | 20.2189 | 5.2338 | 11.962 | 4.9676 | 3.2951 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8627 | 1.8642 | 1.8661 | 1.8631 | 1.8668 | 1.8636 | 1.8654 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 1.217 | -0.1249 | 0.72093 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.061707 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1.1 | 1 | 1.637 | 2.5793 | 1.3477 | 2.2583 | 1.5503 | 2.4719 | 37.53 | 16.0496 | 18 | 501.479 | 471.99 | 21.736 | 28.2503 | 30.0001 | 28.2373 | 28.2491 | 32.7705 | 22.7938 | 30.0815 | 21.7328 | 700 | 15.5965 | 101.665 | 97.3286
9 | 1791617782.1 | 1005 | 20261010 16:36:22 | 16:36:22 | 5 | 1791617779.1 | 0.0044855 | 4.4855 | 31.6393 | 985.5814 | 805.3578 | 81.5094 | 99.7496 | 0.33303 | 3.0299 | 0.31395 | 0.19784 | 241.7388 | 25.468 | 25.0252 | 3.1845 | 55.0728 | 1.7739 | 3.221 | 1.4106 | -197.8094 | 31.2814 | 2.1865 | 77.3973 | 0 | 0 | 1 | 0 | 53800.1009 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2209 | 31.6393 | #DIV/0! | 0.025086 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.012 | 1261.2209 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791617779.1 | 985.5814 | 1000.0056 | 17.527 | 15.7643 | 984.4346 | 17.6521 | 499.995 | 101.109 | 0.099903 | 25.2167 | 25.0252 | 999.9 | 0 | 0 | 10003.26 | 0 | 6.3835 | -14.4247 | 1003.164 | 1016.024 | 1.7628 | 1000.0056 | 15.7643 | 1.7721 | 1.5939 | 15.5432 | 13.9 | 1500.012 | 0.973 | 0.026997 | 0 | 345.7464 | 5.0006 | 5346.234 | 15439.34 | 40.7374 | 41.375 | 41.0496 | 41.062 | 42.25 | 1454.652 | 40.36 | 0 | 1791617783.1 | 0 | 345.6199 | 1.8442 | 21.8069 | 5345.1272 | 15 | 1791617707.1 | 16:35:07 | 1791617707.1 | 1791617695.1 | 89 | -0.156 | 0.003 | 1.153 | -0.169 | 1000 | 16 | 0.13 | 0.05 | 31.5785 | 0.48867 | 0.13491 | 1 | -14.4153 | -0.13719 | 0.046828 | 1 | 345.466 | 2.5761 | 0.32135 | -1 | 2 | 2 | 2/2 | 3.1233 | 2.7654 | 0.16398 | 0.1698 | 0.093451 | 0.089548 | 16278 | 24379.1 | 22752.4 | 30091 | 33842.4 | 34139.2 | 43055.6 | 42861.3 | 1.9712 | 1.8069 | 0.067234 | 0 | 23.9157 | 999.9 | 36.156 | 33.788 | 18.8817 | 63.1766 | 33.5777 | 1 | 0.081217 | 2.2195 | 20.2182 | 5.2296 | 11.962 | 4.9685 | 3.2954 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8626 | 1.8642 | 1.8661 | 1.8631 | 1.8668 | 1.8635 | 1.8654 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 1.146 | -0.1253 | 0.56585 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.058616 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1.2 | 1.4 | 2.1802 | 2.5562 | 1.3464 | 2.2583 | 1.5503 | 2.7185 | 37.4338 | 16.0408 | 18 | 501.511 | 473.053 | 21.6983 | 28.2557 | 30.0005 | 28.2445 | 28.2602 | 43.639 | 22.071 | 30.2976 | 21.6553 | 1000 | 15.7885 | 101.66 | 97.3245
10 | 1791617903.1 | 1126 | 20261010 16:38:23 | 16:38:23 | 5 | 1791617900.1 | 0.0037879 | 3.7879 | 31.9838 | 1185.402 | 967.4171 | 97.9106 | 119.9725 | 0.27612 | 3.0305 | 0.26287 | 0.16543 | 241.7346 | 25.5284 | 25.0174 | 3.183 | 55.0243 | 1.7602 | 3.1989 | 1.4228 | -167.0478 | 13.6816 | 0.95551 | 89.324 | 0 | 0 | 1 | 0 | 53840.0999 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.199 | 31.9838 | #DIV/0! | 0.02536 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.986 | 1261.199 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791617900.1 | 1185.402 | 1199.992 | 17.3915 | 15.9027 | 1183.544 | 17.516 | 499.987 | 101.1086 | 0.099705 | 25.1011 | 25.0174 | 999.9 | 0 | 0 | 10007.01 | 0 | 6.3822 | -14.5938 | 1206.382 | 1219.384 | 1.4889 | 1199.992 | 15.9027 | 1.7584 | 1.6079 | 15.4221 | 14.0347 | 1499.986 | 0.973 | 0.026997 | 0 | 346.29 | 5.0006 | 5355.422 | 15439.08 | 40.75 | 41.437 | 41.062 | 41.062 | 42.25 | 1454.626 | 40.36 | 0 | 1791617904.3 | 0 | 346.0245 | 3.3507 | 37.59 | 5352.7012 | 15 | 1791617838.1 | 16:37:18 | 1791617837.1 | 1791617838.1 | 90 | 0.596 | 0.004 | 1.868 | -0.162 | 1200 | 16 | 0.18 | 0.02 | 32.0779 | 0.19187 | 0.15654 | 1 | -14.6377 | 0.069221 | 0.057762 | 1 | 345.9273 | 1.3398 | 0.24843 | -1 | 2 | 2 | 2/2 | 3.1234 | 2.7654 | 0.1838 | 0.19003 | 0.092948 | 0.0901 | 15890.7 | 23783 | 22750.5 | 30088.7 | 33860.4 | 34117.7 | 43052.5 | 42858.6 | 1.9709 | 1.8078 | 0.071116 | 0 | 23.8547 | 999.9 | 36.284 | 33.707 | 18.862 | 63.6166 | 33.4856 | 1 | 0.083887 | 2.4291 | 20.2155 | 5.2347 | 11.9623 | 4.969 | 3.2954 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8626 | 1.8642 | 1.866 | 1.8631 | 1.8668 | 1.8636 | 1.8654 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 1.86 | -0.1245 | 1.162 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.054377 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1.1 | 1.1 | 2.5232 | 2.5501 | 1.3464 | 2.2583 | 1.5503 | 2.7002 | 37.3618 | 16.0321 | 18 | 501.484 | 473.843 | 21.3528 | 28.2769 | 30.0002 | 28.2613 | 28.2754 | 50.5041 | 21.7124 | 30.4765 | 21.3443 | 1200 | 15.9017 | 101.652 | 97.3179
11 | 1791618025 | 1247.9 | 20261010 16:40:25 | 16:40:25 | 5 | 1791618022 | 0.0031937 | 3.1937 | 32.5228 | 1485.044 | 1219.1194 | 123.392 | 150.3074 | 0.22963 | 3.0297 | 0.22038 | 0.13854 | 241.734 | 25.5851 | 25.0132 | 3.1822 | 55.0486 | 1.7512 | 3.1811 | 1.431 | -140.8422 | -0.89508 | -0.062499 | 99.9342 | 0 | 0 | 1 | 0 | 53830.1117 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1957 | 32.5228 | #DIV/0! | 0.025787 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.982 | 1261.1957 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791618022 | 1485.044 | 1499.946 | 17.3017 | 16.0467 | 1482.692 | 17.4268 | 500.1426 | 101.114 | 0.10008 | 25.0077 | 25.0132 | 999.9 | 0 | 0 | 10001.25 | 0 | 6.329 | -14.8984 | 1511.19 | 1524.404 | 1.255 | 1499.946 | 16.0467 | 1.7494 | 1.6225 | 15.3422 | 14.1746 | 1499.982 | 0.973 | 0.026996 | 0 | 345.9594 | 5.0006 | 5352.278 | 15439.04 | 40.687 | 41.437 | 41.0496 | 41.062 | 42.25 | 1454.622 | 40.36 | 0 | 1791618026.1 | 0 | 346.0117 | -1.2063 | -11.8957 | 5353.8188 | 15 | 1791617972 | 16:39:32 | 1791617972 | 1791617959 | 91 | 0.135 | 0.002 | 2.379 | -0.158 | 1500 | 16 | 0.14 | 0.05 | 32.5529 | -0.6008 | 0.22248 | 0 | -14.9499 | 0.51034 | 0.098244 | 0 | 346.0023 | 0.074057 | 0.19437 | -1 | 0 | 2 | 0/2 | 3.1236 | 2.7654 | 0.21023 | 0.21697 | 0.092567 | 0.09069 | 15375.7 | 22992.6 | 22750.1 | 30089.4 | 33876.2 | 34098 | 43052 | 42859.5 | 1.9709 | 1.8089 | 0.074644 | 0 | 23.7851 | 999.9 | 36.387 | 33.687 | 18.8947 | 63.5066 | 33.4014 | 1 | 0.084781 | 2.4619 | 20.2148 | 5.2338 | 11.9622 | 4.9678 | 3.2952 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8626 | 1.8642 | 1.866 | 1.8631 | 1.8668 | 1.8635 | 1.8654 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 2.35 | -0.1254 | 1.2984 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.052727 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 0.9 | 1.1 | 3.0139 | 2.5342 | 1.3464 | 2.2583 | 1.5503 | 2.7014 | 37.2899 | 16.0233 | 18 | 501.616 | 474.658 | 21.2579 | 28.2914 | 30.0002 | 28.2747 | 28.2874 | 60.3266 | 20.7974 | 30.8263 | 21.2467 | 1500 | 16.0607 | 101.65 | 97.3199
12 | 1791618157 | 1379.9 | 20261010 16:42:37 | 16:42:37 | 5 | 1791618154 | 0.0027218 | 2.7218 | 32.836 | 1784.982 | 1466.946 | 148.4817 | 180.6728 | 0.19313 | 3.0314 | 0.18654 | 0.11716 | 241.734 | 25.5994 | 25.0114 | 3.1818 | 55.0679 | 1.7409 | 3.1614 | 1.4409 | -120.0301 | -17.6763 | -1.2329 | 102.7946 | 0 | 0 | 1 | 0 | 53902.191 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1957 | 32.836 | #DIV/0! | 0.026036 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.982 | 1261.1957 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791618154 | 1784.982 | 1800.056 | 17.1996 | 16.1298 | 1782.03 | 17.3244 | 500.123 | 101.1182 | 0.10005 | 24.9033 | 25.0114 | 999.9 | 0 | 0 | 10011.12 | 0 | 6.329 | -15.0727 | 1816.22 | 1829.566 | 1.0697 | 1800.056 | 16.1298 | 1.7392 | 1.631 | 15.2507 | 14.255 | 1499.982 | 0.973 | 0.026995 | 0 | 347.013 | 5.0006 | 5364.118 | 15439.06 | 40.687 | 41.4246 | 41.062 | 41.062 | 42.25 | 1454.622 | 40.36 | 0 | 1791618158.1 | 0 | 346.6712 | 1.4424 | 9.3467 | 5363.2258 | 15 | 1791618096 | 16:41:36 | 1791618096 | 1791618084 | 92 | -0.384 | 0.003 | 2.727 | -0.151 | 1800 | 16 | 0.12 | 0.05 | 32.4879 | -0.56625 | 0.26522 | 1 | -14.9614 | 0.10447 | 0.118 | 1 | 346.5817 | 1.944 | 0.28481 | -1 | 2 | 2 | 2/2 | 3.1236 | 2.7653 | 0.23356 | 0.24075 | 0.0922 | 0.091019 | 14921.5 | 22293.9 | 22749.8 | 30088.7 | 33891.1 | 34086.3 | 43051.2 | 42858.3 | 1.9709 | 1.8102 | 0.079487 | 0 | 23.6947 | 999.9 | 36.571 | 33.616 | 18.915 | 63.1466 | 33.3614 | 1 | 0.08378 | 2.3876 | 20.2162 | 5.2291 | 11.9623 | 4.9694 | 3.2955 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8626 | 1.8642 | 1.866 | 1.8631 | 1.8667 | 1.8635 | 1.8654 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 2.96 | -0.1249 | 1.1896 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.049751 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 1 | 1.2 | 3.4778 | 2.5183 | 1.3464 | 2.2583 | 1.5503 | 2.4878 | 37.242 | 16.0058 | 18 | 501.626 | 475.61 | 21.2108 | 28.2841 | 30.0001 | 28.2741 | 28.2874 | 69.6244 | 20.7774 | 31.7178 | 21.1976 | 1800 | 16.1208 | 101.649 | 97.3174
13 | 1791618278 | 1500.9 | 20261010 16:44:38 | 16:44:38 | 5 | 1791618275 | 0.0025565 | 2.5565 | 13.4666 | 394.2202 | 263.851 | 26.7064 | 39.9021 | 0.18057 | 3.0285 | 0.17479 | 0.10975 | 241.7356 | 25.5529 | 25.0143 | 3.1824 | 55.2667 | 1.7379 | 3.1446 | 1.4444 | -112.7427 | -32.648 | -2.2783 | 94.0666 | 0 | 0 | 1 | 0 | 53828.425 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2041 | 13.4666 | #DIV/0! | 0.010678 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.992 | 1261.2041 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791618275 | 394.2202 | 400.0106 | 17.1703 | 16.1652 | 393.4702 | 17.3056 | 499.9456 | 101.118 | 0.099874 | 24.8143 | 25.0143 | 999.9 | 0 | 0 | 9993.744 | 0 | 6.329 | -5.7905 | 401.1074 | 406.5832 | 1.0052 | 400.0106 | 16.1652 | 1.7362 | 1.6346 | 15.2242 | 14.2888 | 1499.992 | 0.973 | 0.026995 | 0 | 345.072 | 5.0006 | 5332.19 | 15439.12 | 40.687 | 41.3874 | 41.0124 | 41.062 | 42.187 | 1454.632 | 40.36 | 0 | 1791618279.3 | 0 | 345.3773 | -3.5849 | -56.8718 | 5335.7608 | 15 | 1791618241 | 16:44:01 | 1791618241 | 1791618235 | 93 | -0.835 | -0.01 | 0.753 | -0.156 | 400 | 16 | 0.22 | 0.09 | 13.3518 | 0.92515 | 0.12574 | 0 | -5.7473 | -0.40501 | 0.049168 | 1 | 345.6413 | -4.2877 | 0.45767 | -1 | 1 | 2 | 1/2 | 3.1238 | 2.7656 | 0.086706 | 0.08997 | 0.092077 | 0.091159 | 17781.5 | 26722.6 | 22751 | 30090.2 | 33887.7 | 34072 | 43052.3 | 42860.1 | 1.9701 | 1.8072 | 0.084117 | 0 | 23.6245 | 999.9 | 36.87 | 33.576 | 19.0249 | 63.4366 | 33.8862 | 1 | 0.083084 | 2.41 | 20.2159 | 5.2317 | 11.9622 | 4.9675 | 3.2953 | 9999 | 9999 | 999.9 | 9999 | 4.9686 | 1.8626 | 1.8642 | 1.866 | 1.863 | 1.8667 | 1.8635 | 1.8654 | 0 | 0 | 0 | 0 | 11111111 | oooooooo | on | on | on | on | 0 | 100 | 100 | 0.75 | -0.1358 | 0.35467 | 0.0016166 | -1.896e-06 | 8.6681e-10 | -0.05976 | -0.035872 | 0.0019029 | -4.7539e-06 | 1 | 1704 | 4 | 25 | 0.6 | 0.7 | 1.0522 | 2.5598 | 1.3464 | 2.2583 | 1.5503 | 2.6428 | 37.1941 | 15.997 | 18 | 501.051 | 473.442 | 21.0915 | 28.2753 | 30.0001 | 28.271 | 28.2848 | 21.0721 | 21.5163 | 32.8889 | 21.0775 | 400 | 16.134 | 101.652 | 97.3217

## Remarks
File opened | 2026-10-10 15:37:07
Console s/n | 68C-812349
Console ver | Bluestem v.2.1.13
Scripts ver | 2024.01 2.1.13, Apr 2024
Head s/n | 68H-982339
Head ver | 1.4.23
Head cal | {"flowbzero": "0.27399", "h2oaspan1": "1.0301", "co2bspanconc2": "1516", "co2bspanconc1": "437.6", "h2oazero": "1.14957", "ssa_ref": "32366.8", "co2bspan2a": "0.0952815", "ssb_ref": "37478.9", "tazero": "0.0951138", "co2aspan1": "0.99333", "co2azero": "1.16194", "h2obspan1": "0.995823", "co2aspanconc2": "1516", "h2obspanconc1": "21.96", "h2obspan2": "0", "h2oaspanconc1": "21.96", "tbzero": "0.145187", "chamberpressurezero": "2.61687", "co2bzero": "1.02053", "h2oaspanconc2": "0", "co2aspan2a": "0.0929659", "oxygen": "21", "h2obzero": "1.13925", "co2bspan2b": "0.0947811", "co2bspan2": "0.00898303", "co2aspan2": "0.0108874", "h2obspan2a": "0.112101", "flowmeterzero": "2.5072", "flowazero": "0.316", "co2bspan1": "0.993892", "h2obspan2b": "0.111633", "co2aspan2b": "0.0924399", "h2obspanconc2": "0", "h2oaspan2b": "0.111609", "h2oaspan2a": "0.108347", "h2oaspan2": "0", "co2aspanconc1": "437.6"}
Factory cal date | 04 Oct 2022
CO2 rangematch | Tue Sep 15 09:35
H2O rangematch | Tue Sep 15 09:41
Chamber type | 6800-01A
Chamber s/n | MPF-282040
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-282040
Flr. Version | 1.4.23
15:37:07 | Stability Definition: A (GasEx): Slp<0.6 Per=20 ΔCO2 (Meas2): Slp<0.5 Per=20 F (FlrLS): Per=20