## Measurements
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 2 cm² | 0.572 | 0.38727 | -0.018706 | 0 | -0.0073739 | 1 | 2 | 96.9
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.8 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.1911 | 0.1512 | 0.161 | 0.2262 | 0.1575 | 0.1596 | 0.2175
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 4.75784 201.711 358.252 588.927 851.19 1062.43 1252.37 1365.43 | 0.181028 227.625 384.88 589.265 811.095 1001.86 1203.08 1400.96 | 0
SysObs | SysObs | SysObs | SysObs | SysObs | SysObs | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Leak | Leak | Leak | Leak | Leak | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrStats | FlrStats | FlrStats | FlrStats | FlrStats | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | averaging | TIME | E | Emm | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Leak | LeakPct | CorrFact | CorrFactPct | Fan | DarkAdaptedID | Qmax_d | Fo | Fm | Fv/Fm | A_dark | LightAdaptedID | Qmax | Fs | Fm' | PhiPS2 | PS2/1 | Qabs_fs | A_fs | ETR | PhiCO2 | NPQ | alt._Fo' | DarkPulseID | Fmin | Fo' | Fv'/Fm' | qP | qN | qP_Fo | qN_Fo | qL | 1-qL | ID | P1_dur | P1_Fmax | T@P1_Fmax | Q@P1_Fmax | P1_PredF | P1_ΔF | P2_dur | P2_ramp | P2_int | P2_int_se | P2_slp | P2_slp_se | P2_R2 | P2_dQdt | P3_dur | P3_Fmax | T@P3_Fmax | Q@P3_Fmax | P3_PredF | P3_ΔF | ID | Dur | DCo | InitSlope | Fo | F1 | T@F1 | T@HIR | F2 | T@F2 | DCmax | T@DCmax | PhiPS2_dc | Qin | Qabs | alpha | convert | S | K | Geometry | Custom | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | F_avg | dF/dt | dF_dc/dt | F_dc_avg | period | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | A:MN | A:SLP | A:SD | A:OK | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | F:MN | F:SLP | F:SD | F:OK | Stable | Total | State | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | CO2_f | CO2_f_s | Pump_f | Pump_f_s | Pump_p | Pump_p_s | Tboard | V_system | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s | s | mol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol s⁻¹ | % |  | % | µmol s⁻¹ | [5 empty] | µmol m⁻² s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol µmol⁻¹ | [13 empty] | ms |  | ms | µmol m⁻² s⁻¹ |  |  | ms | % |  |  | centimol m⁻² s⁻¹ | centimol m⁻² s⁻¹ |  | mol m⁻² s⁻² | ms |  | ms | µmol m⁻² s⁻¹ |  |  |  | ms |  | s⁻¹ |  |  | ms | ms |  | ms |  | ms |  | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | mol m⁻² s⁻¹ | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  |  | min⁻¹ | min⁻¹ |  | s | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ min⁻¹ | µmol m⁻² s⁻¹ |  | µmol mol⁻¹ | µmol mol⁻¹ min⁻¹ | µmol mol⁻¹ |  |  | min⁻¹ | [5 empty] | % | % | µmol/mol | mmol/mol | µmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min | V | V | V | V | V | V | °C | V |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | %
1 | 1791602553.1 | 0 | 20261010 12:22:33 | 12:22:33 | 5 | 1791602549.6 | 0.0055164 | 5.5164 | 24.7865 | 389.2458 | 282.0994 | 28.5883 | 39.4466 | 0.42413 | 3.0305 | 0.3937 | 0.24862 | 241.7313 | 25.3998 | 24.9894 | 3.1777 | 55.0203 | 1.7925 | 3.258 | 1.3851 | -243.2718 | 68.4889 | 4.79 | 71.7384 | 0 | 0 | 1 | 0 | 53786.0896 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1814 | 24.7865 | #DIV/0! | 0.019653 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.965 | 1261.1814 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791602549.6 | 389.2458 | 400.0185 | 17.6882 | 15.5208 | 389.792 | 17.8748 | 500.0385 | 101.2412 | 0.09998 | 25.4086 | 24.9894 | 999.9 | 0 | 0 | 9993.6333 | 0 | 8.7525 | 1499.965 | 0.973 | 0.027 | 0 | 267.3365 | 5 | 3952.175 | 14882.25 | 36.5725 | 38.1353 | 37.125 | 37.687 | 38.25 | 1454.605 | 40.36 | 0 | 1791602553.5 | 0 | 267.3548 | 0.55344 | -2.9518 | 3952.5362 | 15 | 1791602487.1 | 12:21:27 | 1791602485.1 | 1791602487.1 | 28 | 0.034 | -0.001 | -0.532 | -0.193 | 400 | 16 | 0.12 | 0.05 | 24.7187 | 0.19872 | 0.066366 | 1 | -10.7479 | -0.073356 | 0.025607 | 1 | 267.34 | -0.53514 | 0.4384 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.546 | -0.1866 | -0.95703 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.037288 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.1 | 1.1 | 1.0425 | 2.6477 | 1.6516 | 2.2766 | 1.5979 | 2.489 | 37.4338 | 23.9387 | 18 | 503.637 | 523.707 | 21.9674 | 29.1635 | 30.0001 | 29.293 | 29.3474 | 20.8364 | 20.6408 | 21.5203 | 21.9723 | 400 | 15.5534 | 98.173 | 94.7408
2 | 1791602674.1 | 121 | 20261010 12:24:34 | 12:24:34 | 5 | 1791602671.1 | 0.0054952 | 5.4952 | 18.2748 | 292.0378 | 212.4408 | 21.5281 | 29.5943 | 0.42121 | 3.03 | 0.39118 | 0.24701 | 241.7346 | 25.3871 | 25.0126 | 3.1821 | 55.1072 | 1.7935 | 3.2545 | 1.3886 | -242.338 | 61.7441 | 4.3191 | 65.4598 | 0 | 0 | 1 | 0 | 53773.493 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.199 | 18.2748 | #DIV/0! | 0.01449 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.986 | 1261.199 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791602671.1 | 292.0378 | 299.989 | 17.6979 | 15.5389 | 292.577 | 17.8825 | 500.0408 | 101.237 | 0.10012 | 25.3906 | 25.0126 | 999.9 | 0 | 0 | 9990.994 | 0 | 8.7525 | 1499.986 | 0.973 | 0.027 | 0 | 261.8828 | 5 | 3871.586 | 14882.46 | 36.562 | 38.125 | 37.125 | 37.6746 | 38.25 | 1454.626 | 40.36 | 0 | 1791602674.7 | 0 | 262.0333 | -2.0093 | -24.5573 | 3873.4923 | 15 | 1791602617.1 | 12:23:37 | 1791602612.1 | 1791602617.1 | 29 | 0.129 | 0.002 | -0.53 | -0.191 | 300 | 16 | 0.23 | 0.03 | 18.3543 | -0.062498 | 0.097523 | 1 | -7.9844 | 0.060958 | 0.038807 | 1 | 262.2034 | -2.1261 | 0.48618 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.539 | -0.1847 | -0.82801 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.035354 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1 | 0.9 | 0.8313 | 2.6514 | 1.6516 | 2.2766 | 1.5979 | 2.5537 | 37.4098 | 23.9562 | 18 | 503.829 | 523.327 | 21.8431 | 29.1786 | 30 | 29.3055 | 29.3604 | 16.6194 | 20.459 | 21.6409 | 21.8318 | 300 | 15.5515 | 98.1717 | 94.738
3 | 1791602796 | 242.9 | 20261010 12:26:36 | 12:26:36 | 5 | 1791602792.5 | 0.0055333 | 5.5333 | 11.0398 | 195.1647 | 147.0371 | 14.8997 | 19.7766 | 0.42494 | 3.03 | 0.39439 | 0.24906 | 241.7323 | 25.356 | 24.9986 | 3.1794 | 55.1516 | 1.7926 | 3.2503 | 1.3868 | -244.0203 | 60.5107 | 4.2321 | 62.4549 | 0 | 0 | 1 | 0 | 53776.3939 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.187 | 11.0398 | #DIV/0! | 0.0087535 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.9717 | 1261.187 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791602792.5 | 195.1647 | 200.012 | 17.6903 | 15.5163 | 195.6897 | 17.8757 | 500.057 | 101.2327 | 0.10009 | 25.3691 | 24.9986 | 999.9 | 0 | 0 | 9991.25 | 0 | 8.7652 | 1499.9717 | 0.973 | 0.027 | 0 | 259.0975 | 5 | 3830.89 | 14882.2833 | 36.562 | 38.125 | 37.125 | 37.6457 | 38.25 | 1454.6117 | 40.36 | 0 | 1791602796.5 | 0 | 259.137 | -1.5865 | -11.8108 | 3831.8092 | 15 | 1791602740 | 12:25:40 | 1791602733 | 1791602740 | 30 | 0.123 | -0.001 | -0.52 | -0.191 | 200 | 16 | 0.19 | 0.03 | 10.9706 | 0.31128 | 0.080132 | 1 | -4.8196 | -0.076979 | 0.03146 | 1 | 259.3044 | -2.2443 | 0.36521 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.525 | -0.1854 | -0.70476 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.036025 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.1 | 0.9 | 0.61035 | 2.6611 | 1.6516 | 2.2766 | 1.5979 | 2.5 | 37.3618 | 23.9562 | 18 | 503.721 | 523.277 | 21.8752 | 29.1936 | 30.0001 | 29.3206 | 29.375 | 12.2047 | 20.4944 | 21.6186 | 21.8689 | 200 | 15.49 | 98.1671 | 94.7371
4 | 1791602917 | 363.9 | 20261010 12:28:37 | 12:28:37 | 5 | 1791602914 | 0.0056054 | 5.6054 | 3.3173 | 98.4625 | 83.3042 | 8.4411 | 9.9771 | 0.43109 | 3.0329 | 0.39971 | 0.25245 | 241.7357 | 25.3318 | 24.9949 | 3.1787 | 55.1702 | 1.7926 | 3.2492 | 1.3861 | -247.1983 | 60.2014 | 4.2062 | 58.945 | 0 | 0 | 1 | 0 | 53869.7878 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2041 | 3.3173 | #DIV/0! | 0.0026302 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.992 | 1261.2041 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791602914 | 98.4625 | 100.0099 | 17.6906 | 15.4885 | 98.9745 | 17.8759 | 500.09 | 101.2288 | 0.10003 | 25.363 | 24.9949 | 999.9 | 0 | 0 | 10009.53 | 0 | 8.8654 | 1499.992 | 0.973 | 0.027 | 0 | 262.161 | 5 | 3872.956 | 14882.52 | 36.562 | 38.125 | 37.125 | 37.6746 | 38.2374 | 1454.63 | 40.362 | 0 | 1791602917.7 | 0 | 262.2922 | -1.7319 | 4.6408 | 3872.5788 | 15 | 1791602866 | 12:27:46 | 1791602860 | 1791602866 | 31 | 0.109 | 0 | -0.511 | -0.191 | 100 | 16 | 0.18 | 0.03 | 3.2992 | 0.16092 | 0.039296 | 1 | -1.5414 | -0.047671 | 0.014812 | 1 | 262.3147 | 0.034698 | 0.50908 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.512 | -0.1854 | -0.59562 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.035979 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 0.9 | 0.8 | 0.38208 | 2.6856 | 1.6516 | 2.2766 | 1.5979 | 2.6099 | 37.3378 | 24.0087 | 18 | 503.851 | 523.055 | 21.8828 | 29.2137 | 30.0001 | 29.3406 | 29.395 | 7.6276 | 20.7402 | 21.6927 | 21.8863 | 100 | 15.4324 | 98.1627 | 94.7328
5 | 1791603038 | 484.9 | 20261010 12:30:38 | 12:30:38 | 5 | 1791603035 | 0.0058122 | 5.8122 | -0.57164 | 50.0923 | 51.1511 | 5.1829 | 5.0756 | 0.4486 | 3.0321 | 0.41472 | 0.26203 | 241.7445 | 25.2943 | 24.9818 | 3.1762 | 55.0745 | 1.791 | 3.252 | 1.3852 | -256.3161 | 64.7091 | 4.5224 | 54.6599 | 0 | 0 | 1 | 0 | 53840.2217 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2511 | -0.57164 | #DIV/0! | -0.00045323 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.048 | 1261.2511 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791603035 | 50.0923 | 49.9801 | 17.6759 | 15.3921 | 50.6209 | 17.8625 | 499.9932 | 101.2248 | 0.10005 | 25.3776 | 24.9818 | 999.9 | 0 | 0 | 10004.724 | 0 | 8.8654 | 1500.048 | 0.973 | 0.026999 | 0 | 267.1446 | 5 | 3931.91 | 14883.04 | 36.562 | 38.125 | 37.125 | 37.6622 | 38.25 | 1454.688 | 40.36 | 0 | 1791603038.9 | 0 | 266.853 | 2.4526 | 8.2469 | 3931.2608 | 15 | 1791602981 | 12:29:41 | 1791602975 | 1791602981 | 32 | 0.026 | -0.001 | -0.529 | -0.193 | 50 | 15 | 0.22 | 0.02 | -0.54555 | 0.23938 | 0.066634 | 1 | 0.10384 | -0.07651 | 0.026427 | 1 | 266.721 | 2.1918 | 0.4652 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.529 | -0.1867 | -0.56947 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.037234 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.1 | 0.9 | 0.26855 | 2.6892 | 1.6516 | 2.2766 | 1.5979 | 2.594 | 37.2659 | 23.9912 | 18 | 503.977 | 522.63 | 21.9395 | 29.2312 | 30.0001 | 29.3581 | 29.4112 | 5.3616 | 21.0198 | 21.7696 | 21.9522 | 50 | 15.411 | 98.1586 | 94.729
6 | 1791603170 | 616.9 | 20261010 12:32:50 | 12:32:50 | 5 | 1791603167 | 0.0057434 | 5.7434 | 23.6307 | 389.6488 | 291.0186 | 29.4866 | 39.4801 | 0.44378 | 3.0342 | 0.41061 | 0.25941 | 241.7324 | 25.3861 | 24.9947 | 3.1787 | 54.9915 | 1.7962 | 3.2664 | 1.3824 | -253.2847 | 74.8153 | 5.2273 | 68.4903 | 0 | 0 | 1 | 0 | 53894.0252 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1873 | 23.6307 | #DIV/0! | 0.018737 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.972 | 1261.1873 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791603167 | 389.6488 | 399.9966 | 17.728 | 15.4712 | 390.1366 | 17.9127 | 499.9822 | 101.2224 | 0.099799 | 25.4521 | 24.9947 | 999.9 | 0 | 0 | 10018.004 | 0 | 8.8654 | 1499.972 | 0.973 | 0.027 | 0 | 258.511 | 5 | 3818.328 | 14882.32 | 36.562 | 38.125 | 37.125 | 37.687 | 38.25 | 1454.612 | 40.36 | 0 | 1791603170.9 | 0 | 257.9001 | 8.3103 | 82.9331 | 3813.0616 | 15 | 1791603107 | 12:31:47 | 1791603100 | 1791603107 | 33 | -0.329 | 0.002 | -0.474 | -0.191 | 400 | 15 | 0.17 | 0.04 | 23.4922 | 0.50984 | 0.081108 | 1 | -10.3043 | -0.17677 | 0.030977 | 1 | 257.2341 | 7.9011 | 0.85541 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.488 | -0.1848 | -0.89877 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.035555 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.2 | 1.1 | 1.0425 | 2.6672 | 1.6516 | 2.2754 | 1.5979 | 2.6135 | 37.242 | 23.9912 | 18 | 504.122 | 523.679 | 22.0929 | 29.25 | 30 | 29.3781 | 29.4326 | 20.8451 | 20.9262 | 22.0811 | 22.0976 | 400 | 15.4483 | 98.1547 | 94.7238
7 | 1791603291 | 737.9 | 20261010 12:34:51 | 12:34:51 | 5 | 1791603287.5 | 0.0056577 | 5.6577 | 24.4722 | 389.3495 | 285.916 | 28.969 | 39.4489 | 0.43584 | 3.0353 | 0.40382 | 0.25507 | 241.7384 | 25.394 | 25.0217 | 3.1838 | 55.1251 | 1.7991 | 3.2637 | 1.3846 | -249.5058 | 68.1877 | 4.7629 | 65.1832 | 0 | 0 | 1 | 0 | 53929.2852 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2192 | 24.4722 | #DIV/0! | 0.019404 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.01 | 1261.2192 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791603287.5 | 389.3495 | 400.0188 | 17.757 | 15.5342 | 389.8518 | 17.9405 | 500.0313 | 101.2203 | 0.099764 | 25.4384 | 25.0217 | 999.9 | 0 | 0 | 10024.575 | 0 | 8.8654 | 1500.01 | 0.973 | 0.026999 | 0 | 263.126 | 5 | 3892.2667 | 14882.6833 | 36.562 | 38.125 | 37.1353 | 37.687 | 38.25 | 1454.65 | 40.36 | 0 | 1791603291.5 | 0 | 263.2327 | 0.12376 | 8.1279 | 3891.6246 | 15 | 1791603229 | 12:33:49 | 1791603225 | 1791603229 | 34 | -0.014 | 0.001 | -0.488 | -0.19 | 400 | 15 | 0.18 | 0.03 | 24.462 | -0.025543 | 0.0552 | 1 | -10.6689 | 0.024916 | 0.023168 | 1 | 263.2539 | 0.72452 | 0.47832 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.503 | -0.1835 | -0.91314 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.034434 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.1 | 1 | 1.0413 | 2.6587 | 1.6516 | 2.2766 | 1.5979 | 2.5183 | 37.1941 | 23.9999 | 18 | 503.923 | 523.839 | 21.8148 | 29.2664 | 30.0003 | 29.3932 | 29.4478 | 20.843 | 20.3708 | 21.9288 | 21.812 | 400 | 15.5247 | 98.1523 | 94.7178
8 | 1791603412 | 858.9 | 20261010 12:36:52 | 12:36:52 | 5 | 1791603409 | 0.0054079 | 5.4079 | 33.1568 | 685.2478 | 534.7168 | 54.176 | 69.4274 | 0.41242 | 3.0337 | 0.38361 | 0.24218 | 241.7453 | 25.3886 | 25.0182 | 3.1831 | 55.0651 | 1.7899 | 3.2505 | 1.3932 | -238.4876 | 57.5415 | 4.0199 | 64.819 | 0 | 0 | 1 | 0 | 53893.0572 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2545 | 33.1568 | #DIV/0! | 0.026289 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.052 | 1261.2545 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791603409 | 685.2478 | 699.9924 | 17.6662 | 15.5413 | 685.2824 | 17.8535 | 500.0136 | 101.2172 | 0.099962 | 25.37 | 25.0182 | 999.9 | 0 | 0 | 10015.48 | 0 | 8.823 | 1500.052 | 0.973 | 0.026999 | 0 | 264.3164 | 5 | 3907.214 | 14883.1 | 36.562 | 38.125 | 37.125 | 37.625 | 38.25 | 1454.69 | 40.362 | 0 | 1791603412.7 | 0 | 264.5067 | -2.3395 | -45.612 | 3910.4235 | 15 | 1791603353 | 12:35:53 | 1791603347 | 1791603353 | 35 | 0.029 | -0.003 | -0.01 | -0.193 | 700 | 16 | 0.18 | 0.03 | 33.2882 | -0.52314 | 0.10469 | 1 | -14.8074 | 0.23585 | 0.044176 | 1 | 264.7077 | -3.6537 | 0.64166 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.035 | -0.1873 | -0.88383 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.037887 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.1 | 1 | 1.6296 | 2.6428 | 1.6516 | 2.2766 | 1.5979 | 2.6379 | 37.0986 | 24.0262 | 18 | 504.14 | 524.562 | 21.6098 | 29.2764 | 30.0002 | 29.4033 | 29.4579 | 32.5713 | 20.2586 | 22.0997 | 21.5915 | 700 | 15.576 | 98.1489 | 94.7199
9 | 1791603555 | 1001.9 | 20261010 12:39:15 | 12:39:15 | 5 | 1791603551.5 | 0.0049626 | 4.9626 | 34.8949 | 984.0683 | 804.9237 | 81.5513 | 99.7014 | 0.37171 | 3.031 | 0.34811 | 0.21957 | 241.7374 | 25.2926 | 25.0062 | 3.1808 | 55.1887 | 1.7718 | 3.2105 | 1.409 | -218.851 | 25.4238 | 1.7757 | 50.0859 | 0 | 0 | 1 | 0 | 53847.081 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2136 | 34.8949 | #DIV/0! | 0.027668 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.0033 | 1261.2136 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791603551.5 | 984.0683 | 999.9778 | 17.4881 | 15.538 | 983.6672 | 17.6768 | 500.0585 | 101.2155 | 0.10004 | 25.1617 | 25.0062 | 999.9 | 0 | 0 | 9999.4617 | 0 | 8.8089 | 1500.0033 | 0.973 | 0.026999 | 0 | 261.6215 | 5 | 3870.785 | 14882.6167 | 36.5517 | 38.125 | 37.125 | 37.625 | 38.187 | 1454.6433 | 40.36 | 0 | 1791603555.5 | 0 | 261.2679 | 2.7004 | 31.5152 | 3868.3962 | 15 | 1791603477 | 12:37:57 | 1791603477 | 1791603476 | 36 | -0.09 | -0.001 | 0.431 | -0.194 | 1000 | 16 | 0.12 | 0.02 | 35.0251 | -0.4644 | 0.1396 | 1 | -15.9463 | 0.11135 | 0.050459 | 1 | 261.1382 | 1.7177 | 0.50507 | -1 | 2 | 2 | 2/2 | 100 | 100 | 0.401 | -0.1888 | -0.9752 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.038502 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.3 | 1.3 | 2.1741 | 2.6453 | 1.6516 | 2.2754 | 1.5979 | 2.6001 | 37.0032 | 24.0087 | 18 | 504.084 | 525.249 | 21.0744 | 29.289 | 30.0002 | 29.4133 | 29.468 | 43.4744 | 20.4342 | 22.3165 | 21.0727 | 1000 | 15.5546 | 98.1466 | 94.7124
10 | 1791603676 | 1122.9 | 20261010 12:41:16 | 12:41:16 | 5 | 1791603673 | 0.0044646 | 4.4646 | 35.0369 | 1183.92 | 980.1523 | 99.3037 | 119.9484 | 0.32915 | 3.0315 | 0.31051 | 0.19565 | 241.7391 | 25.2849 | 25.0169 | 3.1829 | 55.3105 | 1.7617 | 3.1851 | 1.4212 | -196.8897 | 1.8795 | 0.13117 | 46.8601 | 0 | 0 | 1 | 0 | 53886.4121 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2226 | 35.0369 | #DIV/0! | 0.02778 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.014 | 1261.2226 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791603673 | 1183.92 | 1200.048 | 17.3882 | 15.6335 | 1183.114 | 17.5794 | 500.0328 | 101.2146 | 0.099992 | 25.0284 | 25.0169 | 999.9 | 0 | 0 | 10002.504 | 0 | 8.8448 | 1500.014 | 0.973 | 0.026999 | 0 | 261.1412 | 5 | 3860.304 | 14882.72 | 36.5 | 38.125 | 37.125 | 37.625 | 38.187 | 1454.654 | 40.36 | 0 | 1791603676.7 | 0 | 261.0788 | 1.285 | 0.56821 | 3860.3931 | 15 | 1791603615 | 12:40:15 | 1791603615 | 1791603611 | 37 | 0.016 | -0.002 | 0.838 | -0.196 | 1200 | 16 | 0.06 | 0.04 | 35.0021 | 0.12633 | 0.14629 | 1 | -16.0921 | -0.12825 | 0.059533 | 1 | 261.0974 | 0.64993 | 0.42499 | -1 | 2 | 2 | 2/2 | 100 | 100 | 0.8 | -0.1912 | -0.95826 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.040645 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1 | 1.1 | 2.522 | 2.644 | 1.6516 | 2.2766 | 1.5979 | 2.6379 | 36.908 | 24.0175 | 18 | 504.108 | 525.923 | 20.8206 | 29.3016 | 30 | 29.4259 | 29.4806 | 50.418 | 20.0609 | 22.2794 | 20.8227 | 1200 | 15.6019 | 98.1449 | 94.7093
11 | 1791603800 | 1246.9 | 20261010 12:43:20 | 12:43:20 | 5 | 1791603796.5 | 0.0039855 | 3.9855 | 35.1687 | 1483.5517 | 1249.2122 | 126.5702 | 150.3134 | 0.28988 | 3.0299 | 0.27531 | 0.17331 | 241.735 | 25.3082 | 24.9962 | 3.179 | 55.1975 | 1.7479 | 3.1666 | 1.4311 | -175.7596 | -10.7103 | -0.74743 | 54.5177 | 0 | 0 | 1 | 0 | 53854.1635 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.201 | 35.1687 | #DIV/0! | 0.027885 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.9883 | 1261.201 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791603796.5 | 1483.5517 | 1499.985 | 17.2509 | 15.6841 | 1482.1633 | 17.4389 | 499.9755 | 101.22 | 0.099992 | 24.9307 | 24.9962 | 999.9 | 0 | 0 | 9992.29 | 0 | 8.8325 | 1499.9883 | 0.973 | 0.026999 | 0 | 260.2257 | 5 | 3850.9417 | 14882.4667 | 36.5103 | 38.125 | 37.104 | 37.604 | 38.187 | 1454.6283 | 40.36 | 0 | 1791603800.9 | 0 | 260.4228 | -1.8468 | 2.2138 | 3850.8216 | 15 | 1791603734 | 12:42:14 | 1791603728 | 1791603734 | 38 | -0.033 | 0.004 | 1.422 | -0.192 | 1500 | 16 | 0.26 | 0.04 | 35.1158 | 0.56323 | 0.17467 | 1 | -16.4378 | 0.16214 | 0.057137 | 1 | 260.4169 | -0.3352 | 0.35429 | -1 | 2 | 2 | 2/2 | 100 | 100 | 1.39 | -0.188 | -0.99122 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.036875 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.2 | 1.1 | 3.0237 | 2.6355 | 1.6516 | 2.2754 | 1.5979 | 2.4902 | 36.8604 | 24.0087 | 18 | 504.214 | 526.675 | 20.9958 | 29.3142 | 29.9997 | 29.4409 | 29.4955 | 60.4374 | 19.6955 | 22.346 | 21.0035 | 1500 | 15.6518 | 98.1405 | 94.7033
12 | 1791603924 | 1370.9 | 20261010 12:45:24 | 12:45:24 | 5 | 1791603921 | 0.0036379 | 3.6379 | 35.5784 | 1783.204 | 1517.3506 | 153.7326 | 180.6679 | 0.26046 | 3.029 | 0.24863 | 0.15641 | 241.7394 | 25.3447 | 25.0155 | 3.1826 | 54.9954 | 1.7361 | 3.1569 | 1.4465 | -160.4316 | -22.2416 | -1.5524 | 57.5138 | 0 | 0 | 1 | 0 | 53835.419 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2242 | 35.5784 | #DIV/0! | 0.028209 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.016 | 1261.2242 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791603921 | 1783.204 | 1800.028 | 17.1357 | 15.7057 | 1781.42 | 17.3204 | 500.0654 | 101.2164 | 0.10006 | 24.8793 | 25.0155 | 999.9 | 0 | 0 | 9987.24 | 0 | 8.8654 | 1500.016 | 0.973 | 0.026999 | 0 | 260.4134 | 5 | 3854.728 | 14882.76 | 36.5 | 38.125 | 37.125 | 37.625 | 38.187 | 1454.656 | 40.36 | 0 | 1791603924.5 | 0 | 260.6288 | -1.4135 | -3.3254 | 3854.6652 | 15 | 1791603865 | 12:44:25 | 1791603865 | 1791603860 | 39 | -0.239 | 0.004 | 1.82 | -0.188 | 1800 | 16 | 0.19 | 0.05 | 35.6247 | 0.49462 | 0.20098 | 1 | -16.8596 | -0.035874 | 0.081127 | 1 | 260.5801 | -1.2146 | 0.41147 | -1 | 2 | 2 | 2/2 | 100 | 100 | 1.78 | -0.1847 | -1.2294 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.033177 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1 | 1.1 | 3.4998 | 2.6379 | 1.6516 | 2.2754 | 1.5979 | 2.5232 | 36.8129 | 24.0087 | 18 | 504.396 | 527.413 | 20.9187 | 29.3292 | 30.0001 | 29.4561 | 29.5109 | 69.9688 | 19.7066 | 22.4427 | 20.9071 | 1800 | 15.7268 | 98.1373 | 94.6977

## Remarks
File opened | 2026-10-10 11:28:22
Console s/n | 68C-812153
Console ver | Bluestem v.2.1.13
Scripts ver | 2024.01 2.1.13, Apr 2024
Head s/n | 68H-982143
Head ver | 1.4.23
Head cal | {"co2bzero": "0.953041", "co2aspan2a": "0.106022", "h2oazero": "1.03097", "chamberpressurezero": "2.71033", "h2oaspan2a": "0.0964052", "oxygen": "21", "ssb_ref": "36242.9", "co2bspan2": "-0.00857283", "co2aspanconc1": "437.6", "co2aspan2b": "0.105998", "h2obspanconc2": "0", "flowazero": "0.276", "h2obspan1": "1.01044", "h2oaspan2b": "0.0986302", "h2oaspanconc2": "0", "tazero": "0.15448", "co2bspan2b": "0.105618", "h2oaspan2": "0", "ssa_ref": "37830.5", "co2bspanconc2": "1516", "co2bspanconc1": "437.6", "co2bspan1": "1.00005", "h2obspan2a": "0.0961931", "co2bspan2a": "0.105708", "flowmeterzero": "2.483", "co2aspan2": "-0.00988168", "h2oaspanconc1": "17.96", "tbzero": "0.143742", "co2azero": "0.931334", "h2obspanconc1": "17.96", "co2aspan1": "1.00082", "h2oaspan1": "1.02308", "h2obspan2b": "0.0971974", "h2obspan2": "0", "co2aspanconc2": "1516", "h2obzero": "1.01897", "flowbzero": "0.30473"}
Factory cal date | 14 Dec 2023
CO2 rangematch | Mon Sep 14 10:06
H2O rangematch | Mon Sep 14 10:14
Chamber type | 6800-01A
Chamber s/n | MPF-742752
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-742752
Flr. Version | 1.4.23
11:28:22 | Stability Definition: F (FlrLS): Per=20 A (GasEx): Slp<0.6 Per=20 ΔCO2 (Meas2): Slp<0.5 Per=20