## Measurements
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 2 cm² | 0.572 | 0.38727 | -0.018706 | 0 | -0.0073739 | 1 | 2 | 96.9
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.8 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.1911 | 0.1512 | 0.161 | 0.2262 | 0.1575 | 0.1596 | 0.2175
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | 4.75784 201.711 358.252 588.927 851.19 1062.43 1252.37 1365.43 | 0.181028 227.625 384.88 589.265 811.095 1001.86 1203.08 1400.96 | 0
SysObs | SysObs | SysObs | SysObs | SysObs | SysObs | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Leak | Leak | Leak | Leak | Leak | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | MPF | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | FastKntcs | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrStats | FlrStats | FlrStats | FlrStats | FlrStats | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | ConStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | averaging | TIME | E | Emm | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Leak | LeakPct | CorrFact | CorrFactPct | Fan | DarkAdaptedID | Qmax_d | Fo | Fm | Fv/Fm | A_dark | LightAdaptedID | Qmax | Fs | Fm' | PhiPS2 | PS2/1 | Qabs_fs | A_fs | ETR | PhiCO2 | NPQ | alt._Fo' | DarkPulseID | Fmin | Fo' | Fv'/Fm' | qP | qN | qP_Fo | qN_Fo | qL | 1-qL | ID | P1_dur | P1_Fmax | T@P1_Fmax | Q@P1_Fmax | P1_PredF | P1_ΔF | P2_dur | P2_ramp | P2_int | P2_int_se | P2_slp | P2_slp_se | P2_R2 | P2_dQdt | P3_dur | P3_Fmax | T@P3_Fmax | Q@P3_Fmax | P3_PredF | P3_ΔF | ID | Dur | DCo | InitSlope | Fo | F1 | T@F1 | T@HIR | F2 | T@F2 | DCmax | T@DCmax | PhiPS2_dc | Qin | Qabs | alpha | convert | S | K | Geometry | Custom | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | F_avg | dF/dt | dF_dc/dt | F_dc_avg | period | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | A:MN | A:SLP | A:SD | A:OK | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | F:MN | F:SLP | F:SD | F:OK | Stable | Total | State | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | CO2_f | CO2_f_s | Pump_f | Pump_f_s | Pump_p | Pump_p_s | Tboard | V_system | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  | s | s | mol m⁻² s⁻¹ | mmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol s⁻¹ | % |  | % | µmol s⁻¹ | [5 empty] | µmol m⁻² s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol µmol⁻¹ | [13 empty] | ms |  | ms | µmol m⁻² s⁻¹ |  |  | ms | % |  |  | centimol m⁻² s⁻¹ | centimol m⁻² s⁻¹ |  | mol m⁻² s⁻² | ms |  | ms | µmol m⁻² s⁻¹ |  |  |  | ms |  | s⁻¹ |  |  | ms | ms |  | ms |  | ms |  | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | mol m⁻² s⁻¹ | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  |  | min⁻¹ | min⁻¹ |  | s | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ min⁻¹ | µmol m⁻² s⁻¹ |  | µmol mol⁻¹ | µmol mol⁻¹ min⁻¹ | µmol mol⁻¹ |  |  | min⁻¹ | [5 empty] | % | % | µmol/mol | mmol/mol | µmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min | V | V | V | V | V | V | °C | V |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | %
1 | 1791611469.1 | 0 | 20261010 14:51:09 | 14:51:09 | 5 | 1791611466.1 | 0.003772 | 3.772 | 19.7118 | 391.5206 | 264.9817 | 26.8167 | 39.6227 | 0.27635 | 3.03 | 0.26308 | 0.16556 | 241.7365 | 25.5616 | 25.0034 | 3.1803 | 55.0709 | 1.7647 | 3.2045 | 1.4156 | -166.3446 | 20.7294 | 1.4481 | 97.5694 | 0 | 0 | 1 | 0 | 53817.0847 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2091 | 19.7118 | #DIV/0! | 0.015629 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.998 | 1261.2091 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791611466.1 | 391.5206 | 399.9958 | 17.4376 | 15.9552 | 391.922 | 17.6147 | 500.0152 | 101.1022 | 0.099883 | 25.1303 | 25.0034 | 999.9 | 0 | 0 | 10004.23 | 0 | 8.1336 | 1499.998 | 0.973 | 0.026997 | 0 | 263.5764 | 5 | 3904.944 | 14882.58 | 36.875 | 38.4874 | 37.437 | 37.9496 | 38.5 | 1454.638 | 40.36 | 0 | 1791611470.1 | 0 | 263.5677 | 2.5253 | -3.0092 | 3905.1724 | 15 | 1791611410.1 | 14:50:10 | 1791611410.1 | 1791611407.1 | 56 | 0.025 | -0.002 | -0.39 | -0.181 | 400 | 16 | 0.15 | 0.05 | 19.755 | -0.58657 | 0.094406 | 1 | -8.4783 | 0.20396 | 0.035392 | 1 | 263.6351 | 0.43236 | 0.51195 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.402 | -0.1772 | -0.81531 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.026703 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1 | 1 | 1.04 | 2.6392 | 1.6516 | 2.2717 | 1.5979 | 2.6331 | 34.9674 | 15.2528 | 18 | 504.245 | 533.581 | 21.2625 | 29.4332 | 30.0001 | 29.5573 | 29.612 | 20.8058 | 24.6309 | 32.2274 | 21.262 | 400 | 15.9549 | 98.0832 | 94.6428
2 | 1791611590.1 | 121 | 20261010 14:53:10 | 14:53:10 | 5 | 1791611587.1 | 0.0037249 | 3.7249 | 14.4451 | 293.7944 | 199.8651 | 20.2257 | 29.7311 | 0.27291 | 3.027 | 0.25994 | 0.16358 | 241.7222 | 25.5674 | 24.9905 | 3.1779 | 55.0422 | 1.7631 | 3.2032 | 1.4147 | -164.2682 | 21.7603 | 1.5214 | 100.7356 | 0 | 0 | 1 | 0 | 53726.625 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1335 | 14.4451 | #DIV/0! | 0.011454 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.908 | 1261.1335 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791611587.1 | 293.7944 | 300.0106 | 17.4227 | 15.9586 | 294.2202 | 17.598 | 499.9666 | 101.097 | 0.099981 | 25.1238 | 24.9905 | 999.9 | 0 | 0 | 9987.01 | 0 | 8.4701 | 1499.908 | 0.973 | 0.026998 | 0 | 263.1272 | 5 | 3901.032 | 14881.68 | 36.875 | 38.5 | 37.4874 | 38 | 38.5 | 1454.548 | 40.36 | 0 | 1791611591.3 | 0 | 263.1269 | 0.18015 | -0.68923 | 3901.3092 | 15 | 1791611535.1 | 14:52:15 | 1791611535.1 | 1791611532.1 | 57 | 0.099 | 0.002 | -0.418 | -0.18 | 300 | 16 | 0.4 | 0.05 | 14.4319 | 0.30502 | 0.054472 | 1 | -6.2161 | -0.094851 | 0.020966 | 1 | 263.1875 | -0.25612 | 0.394 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.425 | -0.1753 | -0.71645 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.024795 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 0.9 | 1 | 0.83008 | 2.6502 | 1.6516 | 2.2717 | 1.5979 | 2.5671 | 34.9674 | 15.2265 | 18 | 504.039 | 533.239 | 21.1511 | 29.4556 | 30.0001 | 29.5772 | 29.6298 | 16.5923 | 24.3901 | 32.1091 | 21.155 | 300 | 15.9638 | 98.0768 | 94.6433
3 | 1791611711.1 | 242 | 20261010 14:55:11 | 14:55:11 | 5 | 1791611707.6 | 0.0038035 | 3.8035 | 8.5798 | 196.244 | 141.0894 | 14.2779 | 19.8594 | 0.27921 | 3.0262 | 0.26564 | 0.16719 | 241.7368 | 25.5318 | 24.9818 | 3.1762 | 55.0798 | 1.7627 | 3.2002 | 1.4136 | -167.7325 | 20.5621 | 1.4379 | 96.0043 | 0 | 0 | 1 | 0 | 53703.1721 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2108 | 8.5798 | #DIV/0! | 0.0068029 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500 | 1261.2108 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791611707.6 | 196.244 | 199.9742 | 17.4179 | 15.9232 | 196.6675 | 17.5973 | 500.0448 | 101.0973 | 0.1002 | 25.1078 | 24.9818 | 999.9 | 0 | 0 | 9981.875 | 0 | 8.4367 | 1500 | 0.973 | 0.026997 | 0 | 264.1728 | 5 | 3910.7717 | 14882.6167 | 36.875 | 38.5 | 37.5 | 38 | 38.5 | 1454.64 | 40.36 | 0 | 1791611711.9 | 0 | 264.1602 | -2.5796 | 0.93846 | 3910.9196 | 15 | 1791611655.1 | 14:54:15 | 1791611655.1 | 1791611654.1 | 58 | 0.112 | -0.004 | -0.419 | -0.184 | 200 | 16 | 0.4 | 0.04 | 8.6153 | -0.15339 | 0.033337 | 1 | -3.746 | 0.084426 | 0.013896 | 1 | 264.2023 | -0.11331 | 0.44645 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.423 | -0.1794 | -0.60405 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.028825 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 0.9 | 0.9 | 0.60913 | 2.655 | 1.6516 | 2.2717 | 1.5979 | 2.5403 | 34.9674 | 15.2003 | 18 | 504.038 | 533.084 | 21.1611 | 29.4633 | 30 | 29.5848 | 29.6374 | 12.1838 | 24.5726 | 32.0439 | 21.1786 | 200 | 15.9372 | 98.0768 | 94.6437
4 | 1791611832.1 | 363 | 20261010 14:57:12 | 14:57:12 | 5 | 1791611829.1 | 0.0038917 | 3.8917 | 2.4425 | 98.8386 | 82.482 | 8.3468 | 10.002 | 0.28566 | 3.0299 | 0.27149 | 0.1709 | 241.7439 | 25.5134 | 24.9969 | 3.1791 | 55.1058 | 1.7639 | 3.201 | 1.4151 | -171.6235 | 18.8339 | 1.3156 | 90.2698 | 0 | 0 | 1 | 0 | 53817.0485 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2478 | 2.4425 | #DIV/0! | 0.0019366 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.044 | 1261.2478 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791611829.1 | 98.8386 | 99.9694 | 17.431 | 15.9014 | 99.2139 | 17.6099 | 500.007 | 101.0958 | 0.099854 | 25.1122 | 24.9969 | 999.9 | 0 | 0 | 10004.25 | 0 | 8.4137 | 1500.044 | 0.973 | 0.026996 | 0 | 265.7226 | 5 | 3933.168 | 14883.04 | 36.875 | 38.437 | 37.437 | 37.937 | 38.5 | 1454.684 | 40.36 | 0 | 1791611833.1 | 0 | 265.9669 | 0.62602 | -8.5183 | 3933.5738 | 15 | 1791611777.1 | 14:56:17 | 1791611774.1 | 1791611777.1 | 59 | 0.145 | 0 | -0.374 | -0.183 | 100 | 16 | 0.25 | 0.05 | 2.4956 | -0.13973 | 0.058815 | 1 | -1.1493 | 0.084256 | 0.025556 | 1 | 265.986 | -1.2363 | 0.45063 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.375 | -0.1789 | -0.45917 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.028445 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1 | 0.9 | 0.38086 | 2.6746 | 1.6516 | 2.2729 | 1.5979 | 2.6269 | 34.9444 | 15.1827 | 18 | 504.094 | 533.099 | 21.2098 | 29.4531 | 30.0004 | 29.5823 | 29.6349 | 7.6148 | 24.5594 | 31.873 | 21.2083 | 100 | 15.8713 | 98.0803 | 94.6481
5 | 1791611953.1 | 484 | 20261010 14:59:13 | 14:59:13 | 5 | 1791611950.1 | 0.0040185 | 4.0185 | -0.56584 | 50.1493 | 52.1874 | 5.281 | 5.0747 | 0.29588 | 3.0281 | 0.28071 | 0.17674 | 241.7327 | 25.5091 | 24.9903 | 3.1778 | 55.035 | 1.7646 | 3.2063 | 1.4133 | -177.2166 | 24.4026 | 1.7057 | 90.6244 | 0 | 0 | 1 | 0 | 53756.2401 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.189 | -0.56584 | #DIV/0! | -0.00044866 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.974 | 1261.189 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791611950.1 | 50.1493 | 50.0036 | 17.4378 | 15.8584 | 50.6159 | 17.6144 | 500.0182 | 101.0926 | 0.10007 | 25.1398 | 24.9903 | 999.9 | 0 | 0 | 9993.76 | 0 | 8.3561 | 1499.974 | 0.973 | 0.026997 | 0 | 267.8518 | 5 | 3958.236 | 14882.34 | 36.875 | 38.5 | 37.437 | 37.9496 | 38.5 | 1454.614 | 40.36 | 0 | 1791611954.3 | 0 | 267.9476 | 0.1265 | -1.3682 | 3958.3554 | 15 | 1791611894.1 | 14:58:14 | 1791611888.1 | 1791611894.1 | 60 | -0.048 | 0.002 | -0.467 | -0.181 | 50 | 16 | 0.21 | 0.05 | -0.57076 | 0.065597 | 0.038309 | 1 | 0.14913 | -0.016117 | 0.015925 | 1 | 267.8344 | 0.47351 | 0.4523 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.467 | -0.1766 | -0.50743 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.026167 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.1 | 1 | 0.26855 | 2.7075 | 1.6516 | 2.2729 | 1.5979 | 2.4988 | 34.9444 | 15.1477 | 18 | 504.293 | 532.976 | 21.3711 | 29.4404 | 30 | 29.5746 | 29.6298 | 5.3508 | 24.6592 | 31.7218 | 21.3757 | 50 | 15.8407 | 98.0816 | 94.6513
6 | 1791612092 | 622.9 | 20261010 15:01:32 | 15:01:32 | 5 | 1791612088.5 | 0.0041199 | 4.1199 | 20.0717 | 391.3257 | 273.7286 | 27.6993 | 39.5992 | 0.30569 | 3.0283 | 0.28952 | 0.18233 | 241.7379 | 25.5492 | 24.9785 | 3.1756 | 55.0149 | 1.7708 | 3.2188 | 1.4048 | -181.6865 | 37.0412 | 2.5897 | 99.6823 | 0 | 0 | 1 | 0 | 53750.7946 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2164 | 20.0717 | #DIV/0! | 0.015915 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.0067 | 1261.2164 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791612088.5 | 391.3257 | 399.9992 | 17.4997 | 15.8806 | 391.7222 | 17.6767 | 500.0037 | 101.0925 | 0.10004 | 25.2054 | 24.9785 | 999.9 | 0 | 0 | 9995.0083 | 0 | 8.1878 | 1500.0067 | 0.973 | 0.026996 | 0 | 256.708 | 5 | 3807.5183 | 14882.6667 | 36.875 | 38.4475 | 37.437 | 37.937 | 38.5 | 1454.6467 | 40.36 | 0 | 1791612092.9 | 0 | 256.3177 | 5.5863 | 67.02 | 3803.1228 | 15 | 1791612034 | 15:00:34 | 1791612034 | 1791612022 | 61 | -0.303 | -0.001 | -0.385 | -0.182 | 400 | 16 | 0.21 | 0.03 | 19.9815 | 0.38401 | 0.078928 | 1 | -8.6472 | -0.1214 | 0.029243 | 1 | 255.9498 | 4.9285 | 0.66292 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.397 | -0.177 | -0.81022 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.026838 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1 | 1.2 | 1.04 | 2.6599 | 1.6516 | 2.2717 | 1.5979 | 2.456 | 34.9444 | 15.1215 | 18 | 504.232 | 533.653 | 21.4408 | 29.4379 | 29.9997 | 29.5746 | 29.6298 | 20.8054 | 24.431 | 31.5205 | 21.4663 | 400 | 15.8674 | 98.0794 | 94.6449
7 | 1791612213 | 743.9 | 20261010 15:03:33 | 15:03:33 | 5 | 1791612209.5 | 0.0041037 | 4.1037 | 20.5872 | 391.1122 | 270.0487 | 27.3259 | 39.5762 | 0.30379 | 3.0307 | 0.28783 | 0.18126 | 241.7323 | 25.5681 | 25.0063 | 3.1809 | 55.0479 | 1.7735 | 3.2217 | 1.4074 | -180.9748 | 35.0098 | 2.4462 | 98.2136 | 0 | 0 | 1 | 0 | 53824.5611 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.187 | 20.5872 | #DIV/0! | 0.016324 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.9717 | 1261.187 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791612209.5 | 391.1122 | 399.989 | 17.5266 | 15.9139 | 391.4707 | 17.7025 | 500.0025 | 101.089 | 0.099946 | 25.2206 | 25.0063 | 999.9 | 0 | 0 | 10010.2033 | 0 | 8.1878 | 1499.9717 | 0.973 | 0.026997 | 0 | 259.3635 | 5 | 3841.795 | 14882.3167 | 36.875 | 38.437 | 37.437 | 37.958 | 38.5 | 1454.6117 | 40.36 | 0 | 1791612214.1 | 0 | 259.2206 | -0.44877 | -9.5169 | 3842.6096 | 15 | 1791612145 | 15:02:25 | 1791612141 | 1791612145 | 62 | 0.039 | 0.001 | -0.347 | -0.181 | 400 | 16 | 0.16 | 0.04 | 20.5488 | -0.13686 | 0.082603 | 1 | -8.8655 | 0.026638 | 0.033872 | 1 | 259.261 | 0.29054 | 0.41568 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.358 | -0.1759 | -0.7716 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.025811 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.2 | 1.1 | 1.04 | 2.6636 | 1.6516 | 2.2717 | 1.5979 | 2.4622 | 34.9674 | 15.0952 | 18 | 504.312 | 533.616 | 21.3593 | 29.4506 | 30.0001 | 29.5848 | 29.6399 | 20.7988 | 24.2066 | 31.4059 | 21.3596 | 400 | 15.9102 | 98.0742 | 94.6389
8 | 1791612338 | 868.9 | 20261010 15:05:38 | 15:05:38 | 5 | 1791612334.5 | 0.0039633 | 3.9633 | 29.6661 | 687.012 | 503.5504 | 50.9529 | 69.5169 | 0.29207 | 3.0276 | 0.27727 | 0.17456 | 241.7371 | 25.5912 | 25.0051 | 3.1806 | 54.9698 | 1.7696 | 3.2193 | 1.411 | -174.7834 | 33.0993 | 2.315 | 102.368 | 0 | 0 | 1 | 0 | 53729.336 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2122 | 29.6661 | #DIV/0! | 0.023522 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.0017 | 1261.2122 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791612334.5 | 687.012 | 699.9667 | 17.4888 | 15.9313 | 686.9142 | 17.6677 | 500.0358 | 101.0873 | 0.10001 | 25.2079 | 25.0051 | 999.9 | 0 | 0 | 9991.4667 | 0 | 8.233 | 1500.0017 | 0.973 | 0.026996 | 0 | 256.719 | 5 | 3805.1283 | 14882.6167 | 36.8225 | 38.437 | 37.437 | 37.937 | 38.458 | 1454.6417 | 40.36 | 0 | 1791612338.9 | 0 | 256.4763 | 0.98892 | 1.4446 | 3805.0652 | 15 | 1791612272 | 15:04:32 | 1791612271 | 1791612272 | 63 | 0.017 | -0.003 | 0.119 | -0.184 | 700 | 16 | 0.09 | 0.04 | 29.699 | 0.27857 | 0.12914 | 1 | -12.9751 | 0.02275 | 0.051597 | 1 | 256.4039 | 0.070649 | 0.42501 | -1 | 2 | 2 | 2/2 | 100 | 100 | 0.098 | -0.179 | -0.75438 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.02877 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.1 | 1.1 | 1.626 | 2.6392 | 1.6516 | 2.2729 | 1.5979 | 2.6526 | 34.9904 | 15.0864 | 18 | 504.582 | 534.097 | 21.3987 | 29.4556 | 30.0001 | 29.5898 | 29.645 | 32.502 | 24.2464 | 31.3843 | 21.3913 | 700 | 15.9487 | 98.075 | 94.636
9 | 1791612482 | 1012.9 | 20261010 15:08:02 | 15:08:02 | 5 | 1791612478.5 | 0.0036047 | 3.6047 | 31.8427 | 985.8407 | 764.1036 | 77.3171 | 99.7539 | 0.26292 | 3.0288 | 0.25087 | 0.15783 | 241.7379 | 25.6331 | 25.0042 | 3.1805 | 54.8919 | 1.762 | 3.21 | 1.4184 | -158.9691 | 25.3292 | 1.7704 | 109.8684 | 0 | 0 | 1 | 0 | 53776.3458 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2164 | 31.8427 | #DIV/0! | 0.025248 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.0067 | 1261.2164 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791612478.5 | 985.8407 | 999.9992 | 17.4138 | 15.997 | 985.3405 | 17.5958 | 500.0015 | 101.0867 | 0.099943 | 25.1594 | 25.0042 | 999.9 | 0 | 0 | 9998.9533 | 0 | 8.2442 | 1500.0067 | 0.973 | 0.026996 | 0 | 256.0265 | 5 | 3798.1833 | 14882.6667 | 36.833 | 38.437 | 37.4267 | 37.937 | 38.5 | 1454.6467 | 40.36 | 0 | 1791612482.9 | 0 | 255.8573 | 2.2052 | 12.37 | 3797.3752 | 15 | 1791612400 | 15:06:40 | 1791612400 | 1791612394 | 64 | -0.125 | -0.003 | 0.527 | -0.186 | 1000 | 16 | 0.06 | 0.05 | 31.9509 | 0.17926 | 0.13752 | 1 | -14.2156 | 0.095788 | 0.057151 | 1 | 255.7986 | 1.8801 | 0.48983 | -1 | 2 | 2 | 2/2 | 100 | 100 | 0.501 | -0.182 | -0.87942 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.031511 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.4 | 1.5 | 2.1692 | 2.6257 | 1.6516 | 2.2717 | 1.5979 | 2.6025 | 35.0134 | 15.0514 | 18 | 504.519 | 534.715 | 21.3236 | 29.4607 | 30.0002 | 29.5952 | 29.6526 | 43.3738 | 23.6135 | 31.2479 | 21.3191 | 1000 | 16.0984 | 98.0707 | 94.6335
10 | 1791612604 | 1134.9 | 20261010 15:10:04 | 15:10:04 | 5 | 1791612600.5 | 0.0031643 | 3.1643 | 31.9508 | 1185.6617 | 929.6407 | 94.0678 | 119.9739 | 0.22848 | 3.0296 | 0.21932 | 0.13787 | 241.7387 | 25.6766 | 25.0253 | 3.1845 | 55.0578 | 1.7603 | 3.1971 | 1.4242 | -139.5462 | 10.8536 | 0.75822 | 113.8043 | 0 | 0 | 1 | 0 | 53813.5516 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2206 | 31.9508 | #DIV/0! | 0.025333 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.0117 | 1261.2206 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791612600.5 | 1185.6617 | 1199.9417 | 17.3961 | 16.1525 | 1184.7917 | 17.5772 | 500.036 | 101.0872 | 0.10013 | 25.0918 | 25.0253 | 999.9 | 0 | 0 | 10003.75 | 0 | 8.3007 | 1500.0117 | 0.973 | 0.026996 | 0 | 255.5413 | 5 | 3788.3917 | 14882.7167 | 36.812 | 38.4267 | 37.3957 | 37.937 | 38.437 | 1454.6517 | 40.36 | 0 | 1791612605.3 | 0 | 255.4192 | 0.78792 | 5.3346 | 3788.2148 | 15 | 1791612540 | 15:09:00 | 1791612540 | 1791612538 | 65 | -0.017 | 0.001 | 0.898 | -0.185 | 1200 | 16 | 0.23 | 0.05 | 32.0728 | 0.34395 | 0.15643 | 1 | -14.3425 | 0.037317 | 0.064041 | 1 | 255.4292 | -0.27523 | 0.37517 | -1 | 2 | 2 | 2/2 | 100 | 100 | 0.87 | -0.1811 | -0.89761 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.030546 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.1 | 1.1 | 2.5159 | 2.6379 | 1.6516 | 2.2729 | 1.5979 | 2.6379 | 35.0134 | 15.0251 | 18 | 504.5 | 535.178 | 21.0896 | 29.4657 | 30.0001 | 29.6025 | 29.6577 | 50.3012 | 23.2831 | 31.2714 | 21.0776 | 1200 | 16.144 | 98.069 | 94.6333
11 | 1791612725 | 1255.9 | 20261010 15:12:05 | 15:12:05 | 5 | 1791612722 | 0.002767 | 2.767 | 32.1726 | 1485.538 | 1186.4937 | 120.0567 | 150.3159 | 0.19786 | 3.0308 | 0.19095 | 0.11995 | 241.7343 | 25.6856 | 24.9968 | 3.1791 | 54.9894 | 1.7486 | 3.1798 | 1.4305 | -122.0231 | 0.64379 | 0.04493 | 120.3999 | 0 | 0 | 1 | 0 | 53867.0386 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1974 | 32.1726 | #DIV/0! | 0.02551 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.984 | 1261.1974 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791612722 | 1485.538 | 1500.052 | 17.2807 | 16.1929 | 1484.064 | 17.4609 | 499.9722 | 101.0862 | 0.099947 | 25.0008 | 24.9968 | 999.9 | 0 | 0 | 10011.03 | 0 | 8.2442 | 1499.984 | 0.973 | 0.026996 | 0 | 255.801 | 5 | 3792.228 | 14882.44 | 36.812 | 38.3874 | 37.375 | 37.9246 | 38.437 | 1454.624 | 40.36 | 0 | 1791612725.9 | 0 | 255.7517 | -0.28332 | -32.8068 | 3795.1523 | 15 | 1791612660 | 15:11:00 | 1791612660 | 1791612659 | 66 | -0.009 | 0.001 | 1.506 | -0.184 | 1500 | 16 | 0.12 | 0.09 | 31.9211 | 0.77902 | 0.18681 | 0 | -14.4512 | -0.097588 | 0.070933 | 1 | 255.828 | -1.822 | 0.486 | -1 | 1 | 2 | 1/2 | 100 | 100 | 1.48 | -0.1803 | -0.9076 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.029249 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.1 | 1.1 | 3.0164 | 2.6306 | 1.6516 | 2.2717 | 1.5979 | 2.4768 | 35.0134 | 14.9901 | 18 | 504.551 | 535.824 | 20.8738 | 29.4683 | 30 | 29.605 | 29.6602 | 60.2902 | 23.322 | 31.5717 | 20.8781 | 1500 | 16.2461 | 98.0679 | 94.6336
12 | 1791612846 | 1376.9 | 20261010 15:14:06 | 15:14:06 | 5 | 1791612842.5 | 0.0023203 | 2.3203 | 32.2714 | 1785.4617 | 1423.8654 | 144.0753 | 180.6638 | 0.16335 | 3.0304 | 0.15861 | 0.099544 | 241.7329 | 25.7219 | 25.0239 | 3.1842 | 54.9694 | 1.74 | 3.1653 | 1.4443 | -102.325 | -16.2937 | -1.137 | 121.9772 | 0 | 0 | 1 | 0 | 53865.8681 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.1898 | 32.2714 | #DIV/0! | 0.025588 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1499.975 | 1261.1898 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791612842.5 | 1785.4617 | 1800.0267 | 17.1957 | 16.2836 | 1783.5083 | 17.374 | 500.0227 | 101.086 | 0.10002 | 24.9242 | 25.0239 | 999.9 | 0 | 0 | 10008.1417 | 0 | 8.1972 | 1499.975 | 0.973 | 0.026996 | 0 | 256.9657 | 5 | 3811.4833 | 14882.35 | 36.812 | 38.4267 | 37.375 | 37.937 | 38.437 | 1454.615 | 40.36 | 0 | 1791612847.1 | 0 | 256.9821 | 0.11169 | 9.9764 | 3810.9112 | 15 | 1791612788 | 15:13:08 | 1791612788 | 1791612785 | 67 | -0.153 | 0.002 | 1.986 | -0.181 | 1800 | 16 | 0.17 | 0.07 | 32.2065 | 0.088843 | 0.26662 | 1 | -14.5787 | 0.19378 | 0.10614 | 1 | 256.9819 | 0.089672 | 0.38811 | -1 | 2 | 2 | 2/2 | 100 | 100 | 1.95 | -0.1782 | -1.0627 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.026865 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1 | 1 | 3.4924 | 2.6355 | 1.6516 | 2.2717 | 1.5979 | 2.5305 | 35.0134 | 14.9638 | 18 | 504.85 | 536.117 | 20.7861 | 29.4705 | 30.0003 | 29.6101 | 29.6653 | 69.7975 | 22.7556 | 31.381 | 20.7591 | 1800 | 16.3524 | 98.0669 | 94.6282
13 | 1791612971 | 1501.9 | 20261010 15:16:11 | 15:16:11 | 5 | 1791612967.5 | 0.0019269 | 1.9269 | 12.996 | 394.4543 | 229.5035 | 23.2225 | 39.9133 | 0.13467 | 3.0314 | 0.13144 | 0.082431 | 241.74 | 25.6845 | 25.003 | 3.1802 | 55.1917 | 1.7328 | 3.1397 | 1.4474 | -84.9757 | -35.1779 | -2.4521 | 119.1344 | 0 | 0 | 1 | 0 | 53922.7851 | - | - | 0 | 0 | #DIV/0! | 0 | - | - | 0 | 0 | #DIV/0! | 0.5 | 1261.2276 | 12.996 | #DIV/0! | 0.010304 | #DIV/0! | #DIV/0! | - | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [34 empty] | 1500.02 | 1261.2276 | 0.84081 | 0.16116 | 2 | 0.5 | 0: Broadleaf | 2 | 1791612967.5 | 394.4543 | 399.9568 | 17.1252 | 16.3676 | 395.0063 | 17.2993 | 499.9925 | 101.0862 | 0.099841 | 24.7877 | 25.003 | 999.9 | 0 | 0 | 10014.3667 | 0 | 8.1878 | 1500.02 | 0.973 | 0.026996 | 0 | 260.091 | 5 | 3849.67 | 14882.8 | 36.812 | 38.375 | 37.375 | 37.906 | 38.3853 | 1454.66 | 40.36 | 0 | 1791612971.9 | 0 | 260.2602 | -4.1539 | -56.7576 | 3853.6108 | 15 | 1791612909 | 15:15:09 | 1791612904 | 1791612909 | 68 | 0.093 | 0.004 | -0.545 | -0.176 | 399 | 16 | 0.12 | 0.14 | 12.9783 | 0.37374 | 0.053437 | 1 | -5.498 | -0.12133 | 0.020101 | 1 | 260.5626 | -4.1761 | 0.58327 | -1 | 2 | 2 | 2/2 | 100 | 100 | -0.552 | -0.1741 | -0.96983 | 0.00076836 | 7.9313e-07 | -1.5433e-10 | -0.022463 | -0.021578 | 0.00077135 | -1.7684e-06 | 4 | 2093 | 1 | 31 | 1.1 | 1 | 1.0388 | 2.6306 | 1.6516 | 2.2717 | 1.5979 | 2.6477 | 35.0134 | 14.9463 | 18 | 504.052 | 533.719 | 20.6179 | 29.481 | 30.0005 | 29.6152 | 29.6729 | 20.7826 | 22.3722 | 31.4445 | 20.5999 | 400 | 16.375 | 98.0652 | 94.6242

## Remarks
File opened | 2026-10-10 14:05:12
Console s/n | 68C-812153
Console ver | Bluestem v.2.1.13
Scripts ver | 2024.01 2.1.13, Apr 2024
Head s/n | 68H-982143
Head ver | 1.4.23
Head cal | {"co2bzero": "0.953041", "co2aspan2a": "0.106022", "h2oazero": "1.03097", "chamberpressurezero": "2.71033", "h2oaspan2a": "0.0964052", "oxygen": "21", "ssb_ref": "36242.9", "co2bspan2": "-0.00857283", "co2aspanconc1": "437.6", "co2aspan2b": "0.105998", "h2obspanconc2": "0", "flowazero": "0.276", "h2obspan1": "1.01044", "h2oaspan2b": "0.0986302", "h2oaspanconc2": "0", "tazero": "0.15448", "co2bspan2b": "0.105618", "h2oaspan2": "0", "ssa_ref": "37830.5", "co2bspanconc2": "1516", "co2bspanconc1": "437.6", "co2bspan1": "1.00005", "h2obspan2a": "0.0961931", "co2bspan2a": "0.105708", "flowmeterzero": "2.483", "co2aspan2": "-0.00988168", "h2oaspanconc1": "17.96", "tbzero": "0.143742", "co2azero": "0.931334", "h2obspanconc1": "17.96", "co2aspan1": "1.00082", "h2oaspan1": "1.02308", "h2obspan2b": "0.0971974", "h2obspan2": "0", "co2aspanconc2": "1516", "h2obzero": "1.01897", "flowbzero": "0.30473"}
Factory cal date | 14 Dec 2023
CO2 rangematch | Mon Sep 14 10:06
H2O rangematch | Mon Sep 14 10:14
Chamber type | 6800-01A
Chamber s/n | MPF-742752
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-742752
Flr. Version | 1.4.23
14:05:12 | Stability Definition: F (FlrLS): Per=20 A (GasEx): Slp<0.6 Per=20 ΔCO2 (Meas2): Slp<0.5 Per=20